## Sheet1
Work Order
Exported On: 06/11/2026 01:38 PM
Properties: All
Units: All
Tenants: All
Vendors: All
Assigned User: All
Created By: All
Priority: All
From Inspection: All
Current Estimate Approval Status: All
Current Work Order Status: New, Estimate Requested, Estimated, Assigned, Scheduled, Waiting, Work Done, Ready to Bill, Completed, Canceled, and Completed No Need To Bill
Work Order Type: Unit Turn, Resident, and Internal
Unit Turn Category: All
Status Date: Created On 01/01/2022 - 12/31/2022
Property | Priority | Work Order Type | Home Warranty Expiration | Work Order Number | Job Description | Instructions | Status | Vendor | Unit | Primary Resident | Created At | Estimate Req On | Estimated On | Estimate Amount | Estimate Approval Status | Estimate Approved On | Estimate Approval Last Requested On | Scheduled Start | Scheduled End | Work Done On | Completed On | Amount | Invoice | Unit Turn ID | Recurring | Work Order Issue
P-1 5110 Fall Forest - 5110 Fall Forest Sugar Land, TX 77479
P-1 5110 Fall Forest - 5110 Fall Forest Sugar Land, TX 77479 | Normal | Internal |  | 1025-1 | Dishwasher stopped working |  | Completed |  |  | Gazal, Naomi | 2022-03-30 | [9 empty] | 2023-06-02 | 0 |  |  | No
P-1 5110 Fall Forest - 5110 Fall Forest Sugar Land, TX 77479 | Normal | Internal |  | 1030-1 | Fence need fixing |  | Completed |  |  | Gazal, Naomi | 2022-04-10 | [9 empty] | 2022-06-14 | 0 |  |  | No
P-1 5110 Fall Forest - 5110 Fall Forest Sugar Land, TX 77479 | Normal | Internal |  | 1136-1 | Air-conditioned making loud noises, squealing and stopped working. The fan is running but the compressor is not | Air-conditioned making loud noises, squealing and stopped working. The fan is running but the compressor is not | Completed |  |  | Gazal, Naomi | 2022-11-10 | [9 empty] | 2023-04-24 | 0 |  |  | No
P-1 5110 Fall Forest - 5110 Fall Forest Sugar Land, TX 77479 | Normal | Internal |  | 1174-1 | The kitchen drawer in the island is broken and will need repaired or replaced. |  | Canceled |  |  | Gazal, Naomi | 2022-12-28 | [10 empty] | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P0 2726 Crestbrook Ct - 2726 Crestbrook Sugar Land, TX 77479
P0 2726 Crestbrook Ct - 2726 Crestbrook Sugar Land, TX 77479 | Normal | Internal |  | 1053-1 | Dead tree in front- please remove,grind below surface and sod over |  | Completed |  |  | Gilder, Julia | 2022-05-12 | [9 empty] | 2022-06-10 | 0 |  |  | No
P0 2726 Crestbrook Ct - 2726 Crestbrook Sugar Land, TX 77479 | Normal | Internal |  | 1076-1 | water pipe busted outside |  | Completed No Need To Bill |  |  | Gilder, Julia | 2022-06-26 | [9 empty] | 2025-03-10 | 0 |  |  | No | General Leak
P0 2726 Crestbrook Ct - 2726 Crestbrook Sugar Land, TX 77479 | Normal | Internal |  | 1139-1 | Leak outside on the side of the house . |  | Completed No Need To Bill |  |  | Gilder, Julia | 2022-11-16 | [9 empty] | 2025-03-10 | 0 |  |  | No | General Leak
[14 empty] | 0 | [7 empty] | 0
P110 Teal Run Meadows - 3942 Teal Run Meadows Dr Fresno, TX 77545
P110 Teal Run Meadows - 3942 Teal Run Meadows Dr Fresno, TX 77545 | Normal | Internal |  | 1118-1 | AC not working well. Thermostat is set to 70F but the temperature in the house is 80F |  | Completed |  |  | Williams, Jazmine J. | 2022-09-20 | [9 empty] | 2022-09-20 | 0 |  |  | No
P110 Teal Run Meadows - 3942 Teal Run Meadows Dr Fresno, TX 77545 | Normal | Internal |  | 1129-1 | HOA Replace broken/damaged fence Clean mildew/mold on back of the home Please remove items on the side of the home. |  | Completed |  |  | Williams, Jazmine J. | 2022-10-27 | [9 empty] | 2024-01-01 | 0 |  |  | No
P110 Teal Run Meadows - 3942 Teal Run Meadows Dr Fresno, TX 77545 | Normal | Internal |  | 984-1 | 1. One of the leaks in one of the other bedrooms is back 2. Issue with the hot water heater |  | Completed |  |  | Williams, Jazmine J. | 2022-01-17 | [9 empty] | 2022-06-14 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P111 8114 Vista Del Sol - 8114 Vista Del Sol Dr Houston, TX 77083
P111 8114 Vista Del Sol - 8114 Vista Del Sol Dr Houston, TX 77083 | Normal | Resident |  | 1023-1 | Everytime we've used the dishwasher, water fills both sides of the sink. When we try to hand wash, the sink overflows within 10 sec of the water being on. It drains when the disposal is turned off. But the water comes right back. Also haven't had ceiling repaired yet |  | Completed |  |  | Wood, Derik | 2022-03-27 | [9 empty] | 2024-04-02 | 0 |  |  | No
P111 8114 Vista Del Sol - 8114 Vista Del Sol Dr Houston, TX 77083 | Normal | Resident |  | 1084-1 | Ac not cooling at night maybe. It was 80 outside but 84 inside |  | Completed |  |  | Wood, Derik | 2022-07-09 | [9 empty] | 2022-08-03 | 0 |  |  | No
P111 8114 Vista Del Sol - 8114 Vista Del Sol Dr Houston, TX 77083 | Normal | Resident |  | 1120-1 | Multiple sides of fences falling down and holes |  | Completed No Need To Bill |  |  | Wood, Derik | 2022-10-03 | [9 empty] | 2025-03-10 | 0 |  |  | No | Fence/Gate
P111 8114 Vista Del Sol - 8114 Vista Del Sol Dr Houston, TX 77083 | Normal | Resident |  | 1140-1 | Fence on neighbor side falling according to neighbor. Have yet to receive a call from the previous request |  | Completed No Need To Bill |  |  | Wood, Derik | 2022-11-18 | [9 empty] | 2025-03-10 | 0 |  |  | No | Fence/Gate
P111 8114 Vista Del Sol - 8114 Vista Del Sol Dr Houston, TX 77083 | Normal | Resident |  | 1141-1 | Sink is clogged again |  | Completed No Need To Bill |  |  | Wood, Derik | 2022-11-20 | [9 empty] | 2025-03-10 | 0 |  |  | No | Sink Damage
P111 8114 Vista Del Sol - 8114 Vista Del Sol Dr Houston, TX 77083 | Normal | Resident |  | 977-1 | Dishwasher not working Bottom trim coming off in multiple places Needs repainting in multiple places |  | Completed |  |  | Wood, Derik | 2022-01-03 | [9 empty] | 2022-08-17 | 0 |  |  | No
P111 8114 Vista Del Sol - 8114 Vista Del Sol Dr Houston, TX 77083 | Normal | Resident |  | 977-2 | Bottom trim coming off in multiple places Needs repainting in multiple places | Bottom trim coming off in multiple places Needs repainting in multiple places | Completed |  |  | Wood, Derik | 2022-08-17 | [9 empty] | 2025-03-19 | 0 |  |  | No
P111 8114 Vista Del Sol - 8114 Vista Del Sol Dr Houston, TX 77083 | Normal | Resident |  | 978-1 | Heater doesn't work. Won't come on |  | Completed |  |  | Wood, Derik | 2022-01-04 | [9 empty] | 2022-06-14 | 0 |  |  | No
P111 8114 Vista Del Sol - 8114 Vista Del Sol Dr Houston, TX 77083 | Normal | Resident |  | 981-1 | Guess bathroom toilet leaking after flushing |  | Completed |  |  | Wood, Derik | 2022-01-10 | [9 empty] | 2022-06-14 | 0 |  |  | No
P111 8114 Vista Del Sol - 8114 Vista Del Sol Dr Houston, TX 77083 | Normal | Resident |  | 982-1 | Found hole in kitchen window Paint peeling km ceiling and found two holes |  | Completed |  |  | Wood, Derik | 2022-01-10 | [9 empty] | 2023-06-01 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P112 Kirkwood - 11674 S Kirkwood Rd Stafford, TX 77477
P112 Kirkwood - 11674 S Kirkwood Rd Stafford, TX 77477 | Normal | Internal |  | 1051-1 | 11674 S Kirkwood Rd Stafford, TX 77477 Make Ready repair Code:2830 Make Ready 1. Fix garage door- 250 2. Flooring first floor up to 4K 1050 sqft ($1.75 material and $1,75 labor per sqft. ) 3. swap Light fixtures 4. Master new carpet 5. Fix mold in master closet -paint over 6. Replace AC register rusted in upstairs bathroom & another one clean/replace 7. Missing light bulbs 8. Change AC filter, smog alarm batteries , and check all door stops |  | Completed |  |  |  | 2022-05-10 | [9 empty] | 2022-07-26 | 0 |  |  | No
P112 Kirkwood - 11674 S Kirkwood Rd Stafford, TX 77477 | Normal | Internal |  | 1104-1 | Garbage disposal is not working |  | Completed |  |  | Bella Chavez, Anna | 2022-08-15 | [9 empty] | 2022-10-21 | 0 |  |  | No
P112 Kirkwood - 11674 S Kirkwood Rd Stafford, TX 77477 | Normal | Internal |  | 1125-1 | 2nd bathroom is leaking where the bathtub is located. I was cooking and saw the water drip from the kitchen cabinet |  | Completed |  |  | Bella Chavez, Anna | 2022-10-21 | [9 empty] | 2024-04-05 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P116 15826 Bazelbriar - 15826 Bazelbriar Ln Missouri City, TX 77489
P116 15826 Bazelbriar - 15826 Bazelbriar Ln Missouri City, TX 77489 | Normal | Internal |  | 1050-1 | HOA request please make sure your address is visible on the house |  | Canceled |  |  | Kratz, Jeffrey | 2022-05-10 | [10 empty] | 0 |  |  | No
P116 15826 Bazelbriar - 15826 Bazelbriar Ln Missouri City, TX 77489 | Normal | Internal |  | 1074-1 | Ac not cooling |  | Completed |  |  | Kratz, Jeffrey | 2022-06-20 | [9 empty] | 2022-06-20 | 0 |  |  | No
P116 15826 Bazelbriar - 15826 Bazelbriar Ln Missouri City, TX 77489 | Normal | Internal |  | 1086-1 | The Air Conditioner just made a loud noise and then shut off and it is not coming back on. | The Air Conditioner just made a loud noise and then shut off and it is not coming back on. | Completed |  |  | Kratz, Jeffrey | 2022-07-14 | [9 empty] | 2022-07-16 | 0 |  |  | No
P116 15826 Bazelbriar - 15826 Bazelbriar Ln Missouri City, TX 77489 | Normal | Internal |  | 1121-1 | Dishwasher stopped working | Dishwasher stopped working | Completed |  |  | Kratz, Jeffrey | 2022-10-12 | [9 empty] | 2022-10-20 | 0 |  |  | No
P116 15826 Bazelbriar - 15826 Bazelbriar Ln Missouri City, TX 77489 | Normal | Internal |  | 1150-1 | Code:1947 Make Ready Property dd not have electricity , so I do not know if appliances work or missing bulbs 1. Heavy trash was left outside 2. Fence in the backyard one side with a neighbor is bent and the pickets look older, the second side is bent and needs new posts. a few ugly patches to replace. 3. Siding and soffits need work 4. Garage ceiling is peeling, marks of old leak, sheetrock work not completed (it was just put there need paint) 5. Painting: Bedroom 3 need paint dirt on walls Master bedroom has some touch up that does not look good (blue) shhetock damage in bedroom closet 6. Kitchen under sink damaged wood 7. Replace smog alarm batteries, check door stops, check AC filter, light bulbs 8. AC registered need cleaning |  | Completed |  |  | Kratz, Jeffrey | 2022-12-03 | [9 empty] | 2023-02-10 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P120 5911 Camron Point - 5911 Camron Point Katy, TX 77449
P120 5911 Camron Point - 5911 Camron Point Katy, TX 77449 | Normal | Internal |  | 1167-1 | Busted pipes . Tenant turned off the water. ceiling collapsed in master bathroom and one closet. Carpet is wet in one bedroom and 2 closets. Heavey trash in both sides of the house from installation of the fence . (old fence wood) |  | Completed |  |  | Stewart, Shameeka | 2022-12-24 | [9 empty] | 2024-04-10 | 0 |  |  | No
P120 5911 Camron Point - 5911 Camron Point Katy, TX 77449 | Normal | Internal |  | 1167-2 |  |  | Completed |  |  | Stewart, Shameeka | 2022-12-29 | [9 empty] | 2024-04-10 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P122 16307 Edgemont - 16307 Edgemont Houston, TX 77053
P122 16307 Edgemont - 16307 Edgemont Houston, TX 77053 | Normal | Internal |  | 1003-1 | Good morning I’ve recently discovered there are rats in our garage there are several holes in the sheet rock they have chewed through to get access in and out of the garage I saw them Friday night running back into the holes. Asked for pest control , need to close holes in garage. |  | Completed |  |  | Brown, Anthony | 2022-02-21 | [9 empty] | 2022-02-28 | 0 |  |  | No
P122 16307 Edgemont - 16307 Edgemont Houston, TX 77053 | Normal | Internal |  | 1005-1 | Leak in garage ceiling |  | Completed |  |  | Brown, Anthony | 2022-02-25 | [9 empty] | 2022-02-27 | 0 |  |  | No
P122 16307 Edgemont - 16307 Edgemont Houston, TX 77053 | Normal | Internal |  | 1016-1 | Ac is not working again not heat no cold |  | Completed |  |  | Brown, Anthony | 2022-03-21 | [9 empty] | 2022-06-14 | 0 |  |  | No
P122 16307 Edgemont - 16307 Edgemont Houston, TX 77053 | Normal | Internal |  | 1034-1 | The A/C unit isn’t working the thermostat is working but the unit won’t come on |  | Completed |  |  | Brown, Anthony | 2022-04-23 | [9 empty] | 2024-03-22 | 0 |  |  | No
P122 16307 Edgemont - 16307 Edgemont Houston, TX 77053 | Normal | Internal |  | 1137-1 | Heater is not working. |  | Completed |  |  | Brown, Anthony | 2022-11-12 | [9 empty] | 2024-03-22 | 0 |  |  | No
P122 16307 Edgemont - 16307 Edgemont Houston, TX 77053 | Normal | Internal |  | 1137-2 | Heater does not stop heating. Thermostat is set to 70F an temperature at the house is 77F |  | Completed |  |  | Brown, Anthony | 2022-12-03 | [9 empty] | 2024-03-22 | 0 |  |  | No
P122 16307 Edgemont - 16307 Edgemont Houston, TX 77053 | Normal | Internal |  | 1152-1 | Property insurance requesting : trim back vegetation away from touching risk and roof |  | Completed No Need To Bill |  |  | Brown, Anthony | 2022-12-09 | [9 empty] | 2025-03-10 | 0 |  |  | No | Landscaping
P122 16307 Edgemont - 16307 Edgemont Houston, TX 77053 | Normal | Internal |  | 1171-1 | 1. Mold in kids closet & master closet 2. Light fixtures need fixing 3. Garage opener has wires that in the way - asking to remove it 4. Garage walls & ceiling has holes, 5. closet door in children’s room - door unhinged and stained 6. Sheetrock in bedroom - patch next to ceiling 7. Sheetrock in kids bedroom is detached 8. Sofis next to master bedroom Is this list of WO is complete? |  | Completed |  |  | Brown, Anthony | 2022-12-28 | [9 empty] | 2023-03-17 | 0 |  |  | No
P122 16307 Edgemont - 16307 Edgemont Houston, TX 77053 | Normal | Internal |  | 993-1 | "1. Master bathroom sink leaking and slow drainage 2. they loose hot water to soon. (After about 10 min they get cold water) 3. Closets doors off track 4. Missing a shelf in the kitchen pantry |  | Completed |  |  | Brown, Anthony | 2022-02-04 | [9 empty] | 2022-02-21 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P129 4606 Wheatstone - 4606 Wheatstone Ct Richmond, TX 77469
P129 4606 Wheatstone - 4606 Wheatstone Ct Richmond, TX 77469 | Normal | Internal |  | 1102-1 | Something is leaking in the attic above the master bedroom and now the drywall looks like it is cracking on the ceiling with water marks. | something is leaking in the attic above the master bedroom and now the drywall looks like it is cracking on the ceiling with water marks. | Canceled |  |  | Guel, Danielle N. | 2022-08-11 | [10 empty] | 0 |  |  | No
P129 4606 Wheatstone - 4606 Wheatstone Ct Richmond, TX 77469 | Normal | Internal |  | 1102-2 | Need new insulation and to fix the ceiling |  | Canceled |  |  | Guel, Danielle N. | 2022-08-12 | [10 empty] | 0 |  |  | No
P129 4606 Wheatstone - 4606 Wheatstone Ct Richmond, TX 77469 | Normal | Internal |  | 1161-1 | Heater does not work |  | Completed |  |  | Guel, Danielle N. | 2022-12-22 | [9 empty] | 2022-12-23 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P130 2114 Waterfall Dr - 2114 Waterfall Missouri City, TX 77489
P130 2114 Waterfall Dr - 2114 Waterfall Missouri City, TX 77489 | Normal | Internal |  | 1007-1 | Heavy trash on the side of the house need to be removed. HOA violation. |  | Completed No Need To Bill |  |  |  | 2022-02-25 | [9 empty] | 2025-03-07 | 0 |  |  | No
P130 2114 Waterfall Dr - 2114 Waterfall Missouri City, TX 77489 | Normal | Internal |  | 1014-1 | 1. green trash & old fence parts on the side of the house - need to put on trash day or take away-done 2. Property need maid cleaning (oven,ceiling fans, need new dripping pans & spiral for stove, cabinets, fridge....garage floor,-done 3. Kitchen sink is not usable because when you put water on it falls under the sink 4. . Outdoor faucet is leaking 5. The water heater has a tag saying do not use? Was it fixed/checked? 6. Gate to the backyard is detached. (It fell when I tried to open it. 7. Wood siding next to the door into the garage need paint 8. Wood siding in entrance to the house is damaged and outside ceiling has green stain - need to clean/paint it |  | Completed No Need To Bill |  |  |  | 2022-03-17 | [9 empty] | 2025-03-07 | 0 |  |  | No | Other Maintenance - Not Listed
P130 2114 Waterfall Dr - 2114 Waterfall Missouri City, TX 77489 | Normal | Internal |  | 1128-1 | AC keeps heating the house- it is too hot , thermostat is not working Dishwasher is not working - is it connected? It made a noise when I tried turning it on and then quit. 1. Need to replace blinds : Kitchen - 5 , living room 1, upstairs 2 2. banister is loose (next to the stairs) 3. The crack in the floors is getting wider 4. AC filter cover is off (I think it is damaged and also there are 2 small filters instead of one) 5. Kitchen cabinets - drawer cover is off (was put above the oven) 5. Door to garage does not close (house shifted) 6. Garage needs sheetrock work 7. Fence: gate is off, few pickets in the backyard need replacement, the new fence area is not stable enough. 8. Paint: Entrance wooden side need fixing and paint New front door Window sill next to front door Door from the kitchen to the garage side Under kitchen sink Above oven , shelve is stained Consider painting /staining kitchen cabinets 9. Plumbing : Kids bathroom toilet handle needs replacement Water heater has a note saying caution, do not use. 10.Carpet is not stretched well upstairs 11. Trampoline in the backyard |  | Completed |  |  |  | 2022-10-26 | [9 empty] | 2023-01-12 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P131 5110 Shadowridge - 5110 Shadowridge Houston, TX 77053
P131 5110 Shadowridge - 5110 Shadowridge Houston, TX 77053 | Normal | Internal |  | 1151-1 | 1. The water is coming up in both bathtubs when the toilet is flushed in the guest restroom and when the washer machine is going. 2. The oven almost caught fire due to the bake element |  | Completed |  |  | Hawkins, Lucinda | 2022-12-06 | [9 empty] | 2024-04-10 | 0 |  |  | No
P131 5110 Shadowridge - 5110 Shadowridge Houston, TX 77053 | Normal | Internal |  | 1153-1 | remove tree debris from roof and gutters . trim back vegetation away from touching risk and roof |  | Completed No Need To Bill |  |  | Hawkins, Lucinda | 2022-12-09 | [9 empty] | 2025-03-10 | 0 |  |  | No | Landscaping - Trees
P131 5110 Shadowridge - 5110 Shadowridge Houston, TX 77053 | Normal | Internal |  | 989-1 | Sewage baching up. Not draining water from house correctly |  | Completed |  |  | Hawkins, Lucinda | 2022-01-26 | [9 empty] | 2022-06-14 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P133 2311 Edgedale - 2311 Edgedale Missouri City, TX 77489
P133 2311 Edgedale - 2311 Edgedale Missouri City, TX 77489 | Normal | Internal |  | 1028-1 | Water leak outside |  | Completed No Need To Bill |  |  | Rogers, Torah | 2022-04-08 | [9 empty] | 2025-03-07 | 0 |  |  | No | General Leak
P133 2311 Edgedale - 2311 Edgedale Missouri City, TX 77489 | Normal | Resident |  | 1031-1 | The AC is not cooling. t was turned on to 76 for cooling, but the are didn't get cold. The unit was run for about 30 minutes. filter was just changed last week. I have dogs so please let me know when service is scheduled so I can be home. |  | Completed |  |  | Rogers, Torah | 2022-04-13 | [9 empty] | 2022-04-22 | 0 |  |  | No
P133 2311 Edgedale - 2311 Edgedale Missouri City, TX 77489 | Normal | Internal |  | 1078-1 | 1. Roof, rotting wood on the trim 2. Fence leaning neighbor want to fix &splits cost |  | Completed |  |  | Rogers, Torah | 2022-06-27 | [9 empty] | 2022-08-22 | 0 |  |  | No
P133 2311 Edgedale - 2311 Edgedale Missouri City, TX 77489 | Normal | Internal |  | 1079-1 | HOA violation, need to submit request for permit for paint: 1. Repair/Replace deteriorated wood/sliding/trim on home. 2.Repair or replace broken/missing fence pickets (including moving propping board) 3. Paint home |  | Completed |  |  | Rogers, Torah | 2022-06-28 | [8 empty] | 2024-08-26 | 2024-08-26 | 0 |  |  | No
P133 2311 Edgedale - 2311 Edgedale Missouri City, TX 77489 | Normal | Resident |  | 1156-1 | I came home today and found the mailbox on the ground. It appears the support has rotted and needs to be replaced. |  | Completed |  |  | Rogers, Torah | 2022-12-13 | [8 empty] | 2024-08-26 | 2024-08-26 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P134 722 Stephanie - 722 Stephanie Dr Missouri City, TX 77489
P134 722 Stephanie - 722 Stephanie Dr Missouri City, TX 77489 | Normal | Internal |  | 1035-1 | Leak in bathrooms shower |  | Completed |  |  | Green, Charles | 2022-04-25 | [9 empty] | 2023-05-12 | 0 |  |  | No
P134 722 Stephanie - 722 Stephanie Dr Missouri City, TX 77489 | Normal | Internal |  | 996-1 | No hot water Leak under the sink messed up the cabinets |  | Completed |  |  | Green, Charles | 2022-02-04 | [9 empty] | 2023-01-31 | 0 |  |  | No
P134 722 Stephanie - 722 Stephanie Dr Missouri City, TX 77489 | Normal | Internal |  | 997-1 | Kitchen counters cause a cut in tenant hand. It's lifting up like a pyramid in the middle |  | Completed |  |  | Green, Charles | 2022-02-11 | [9 empty] | 2022-04-07 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P138 3110 Indians Wells Ct - 3110 Indian Wells Ct Missouri City, TX 77459
P138 3110 Indians Wells Ct - 3110 Indian Wells Ct Missouri City, TX 77459 | Normal | Internal |  | 1064-1 | When water runs in the kitchen something starts leaking from underneath the floor. |  | Completed |  |  | Etienne, Gwendolyn | 2022-06-06 | [9 empty] | 2024-04-04 | 0 |  |  | No
P138 3110 Indians Wells Ct - 3110 Indian Wells Ct Missouri City, TX 77459 | Normal | Internal |  | 1082-1 | Issue with few electrical circuits in the house. Tenant tried resetting breakers but no help |  | Completed |  |  | Etienne, Gwendolyn | 2022-07-05 | [9 empty] | 2022-07-23 | 0 |  |  | No
P138 3110 Indians Wells Ct - 3110 Indian Wells Ct Missouri City, TX 77459 | Normal | Internal |  | 1158-1 | The heater is not working |  | Completed |  |  | Etienne, Gwendolyn | 2022-12-16 | [9 empty] | 2023-01-01 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P139 7611 Trexler - 7611 Trexler St Sugar Land, TX 77479
P139 7611 Trexler - 7611 Trexler St Sugar Land, TX 77479 | Normal | Internal |  | 1142-1 | 1. toilet downstairs, keeps filling and handle need replacement 2. upstairs toilet handle does not work well 3. Edan's toilet need to check 4. Meshi toilet not working well. 5. Guest bathroom faucet is leaking at its base Kitchen faucet handle fell of (no screw |  | Completed No Need To Bill |  |  |  | 2022-11-20 | [9 empty] | 2025-03-10 | 0 |  |  | No | Other Maintenance - Not Listed
P140 Tara (6834) - 6834 Tara Dr Richmond, TX 77469
P140 Tara (6834) - 6834 Tara Dr Richmond, TX 77469 | Normal | Internal |  | 1038-1 | According to the water company we have a bad house leak at the property . They left a sticker on the door. |  | Completed |  |  |  | 2022-04-28 | [9 empty] | 2022-05-02 | 0 |  |  | No
P140 Tara (6834) - 6834 Tara Dr Richmond, TX 77469 | Normal | Internal |  | 998-1 | Dishwasher is not working |  | Completed |  |  | Wise, Kiana | 2022-02-14 | [8 empty] | 2024-08-07 | 2024-08-07 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P141 2526 Valley Forest - 2526 Valley Forest Missouri City, TX 77489
P141 2526 Valley Forest - 2526 Valley Forest Missouri City, TX 77489 | Normal | Internal |  | 1015-1 | Leaking faucet in the bathroom Roof above garage need fixing Rotten wood outside on the side of the house next to the master bedroom sliding door In the backyard, kitchen window part of the wood is loose. Missing a toilet paper holder There is a toilet cover in the garage that need to replace the stained one Master bedroom ceiling has peeled paint , need to patch and paint it Bedroom closet door knob is loose - AC vent behind door in the hall is stained- paint or replace cover Bathroom need grout work House cabinets in the kitchen and bathroom are not in good shape. Also doors need a lock. (They stay open) One door in the kitchen cabinet is cracked- Wood filler? Missing bulbs(Thin decorative ) and fluorescent (Fluorescent in bathroom) |  | Completed No Need To Bill |  |  |  | 2022-03-17 | [9 empty] | 2025-03-07 | 0 |  |  | No | Other Maintenance - Not Listed
P141 2526 Valley Forest - 2526 Valley Forest Missouri City, TX 77489 | Normal | Internal |  | 1033-1 | ! At first our toilets were not flushing properly and we thought it was because we had changed the water to our name. ( maybe they disconnected and connected again, not sure) This morning the tub water won't drain and the toilets are leaking. Now I have 3 rooms filled with waste water. wastewater also coming out from an unused tub. |  | Completed No Need To Bill |  |  | Gomez Jr., Miguel | 2022-04-21 | [9 empty] | 2025-03-07 | 0 |  |  | No | Drain/Pipe Clog
P141 2526 Valley Forest - 2526 Valley Forest Missouri City, TX 77489 | Normal | Internal |  | 1044-1 | 1.AC stopped blowing cold air. 2. Light fixture in the second bathroom is broken since move in, need replacement. |  | Completed |  |  | Gomez Jr., Miguel | 2022-05-07 | [9 empty] | 2022-08-17 | 0 |  |  | No
P141 2526 Valley Forest - 2526 Valley Forest Missouri City, TX 77489 | Normal | Internal |  | 1066-1 | put new washer & dryer , when testing water came out through kitchen sink and then came out the washer drain.I had to open the drain next to the house to let the water drain out before it started to smell. |  | Completed |  |  | Gomez Jr., Miguel | 2022-06-07 | [9 empty] | 2022-06-08 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P142 Rosebud Hollow - 7011 Rosebud Hollow Richmond, TX 77469
P142 Rosebud Hollow - 7011 Rosebud Hollow Richmond, TX 77469 | Normal | Resident |  | 1060-1 | Kitchen sink/garbage disposal broken/ leaking. Not sure if | Appliance Repair/Plumbing | Completed No Need To Bill |  |  | Boldt, Brianna | 2022-05-30 | [9 empty] | 2025-03-10 | 0 |  |  | No | Other Maintenance - Not Listed
P142 Rosebud Hollow - 7011 Rosebud Hollow Richmond, TX 77469 | Normal | Resident |  | 1071-1 | Garbage disposal now will not turn on when switch is flipped. Breaker still works because the switch next to it still will turn dishwasher on and off |  | Completed No Need To Bill |  |  | Boldt, Brianna | 2022-06-09 | [9 empty] | 2025-03-10 | 0 |  |  | No | Other Maintenance - Not Listed
P142 Rosebud Hollow - 7011 Rosebud Hollow Richmond, TX 77469 | Normal | Resident |  | 1083-1 | Garbage disposal still broken. Been over a month since request was made. Also air conditioner won’t turn on. It’s not that it’s running and so hot it can’t cool down. The fan to it doesn’t turn on at all. House is registering at 85 degrees. |  | Completed |  |  | Boldt, Brianna | 2022-07-08 | [9 empty] | 2024-04-11 | 0 |  |  | No
P142 Rosebud Hollow - 7011 Rosebud Hollow Richmond, TX 77469 | Normal | Internal |  | 1085-1 | AC stopped working |  | Completed |  |  | Boldt, Brianna | 2022-07-09 | [9 empty] | 2024-04-11 | 0 |  |  | No
P142 Rosebud Hollow - 7011 Rosebud Hollow Richmond, TX 77469 | Normal | Resident |  | 1091-1 | Air conditioner still not working. Tech has come out and worked on this. It took over a week to complete and it’s still not right. He said there was a leak in something. Next week it’s going to be over 100 degrees and this house doesn’t have screens in the windows so I can’t even open windows to try to cool the house down. I need this to be fixed immediately. |  | Completed |  |  | Boldt, Brianna | 2022-07-17 | [9 empty] | 2024-04-11 | 0 |  |  | No
P142 Rosebud Hollow - 7011 Rosebud Hollow Richmond, TX 77469 | Normal | Resident |  | 1117-1 | Garbage disposal in kitchen is still not working. Put in multiple requests since 5/30/22. Toilet in master bath is leaking. I have caulked it twice and it is still leaking from the front. Light fixtures are broken. One in hall way had glass smashed by a/c tech. The one above front door (interior) had the plastic piece inside rot out. Fixture was taken down for safety but still have open wires hanging down. |  | Completed No Need To Bill |  |  | Boldt, Brianna | 2022-09-15 | [9 empty] | 2025-03-10 | 0 |  |  | No | Other Maintenance - Not Listed
P142 Rosebud Hollow - 7011 Rosebud Hollow Richmond, TX 77469 | Normal | Resident |  | 1131-1 | Ceiling is leaking in master bedroom. There was already water damage to the corner of the ceiling that has been there for the last 5 years that has never been repaired. I have requested it be fixed several times over the years but after being ignored for so long I stopped requesting. Now there is water coming through in other places. This is directly above my bed where the light fixture is. This could be dangerous and lead to possible electric shock along with damage to my mattress. This needs to be fixed asap, both the structure outside and the ceiling inside. |  | Completed |  |  | Boldt, Brianna | 2022-10-28 | [9 empty] | 2024-04-11 | 0 |  |  | No
P142 Rosebud Hollow - 7011 Rosebud Hollow Richmond, TX 77469 | Normal | Internal |  | 1132-1 | Roof leak in master bedroom. (above tenant bed) |  | Canceled |  |  | Boldt, Brianna | 2022-10-28 | [10 empty] | 0 |  |  | No
P142 Rosebud Hollow - 7011 Rosebud Hollow Richmond, TX 77469 | Normal | Resident |  | 1133-1 | 1. My ceiling in the master bedroom is leaking. It is currently starting to come through at the light fixture and onto my bed. This is in addition to the water damage in the corner of the house that you have known about. fix/replace light fixures toilet makes noise master bathroom fix roof replace ceilling fan powerwas side & front | My ceiling in the master bedroom is leaking. It is currently starting to come through at the light fixture and onto my bed. Fix ceiling master bedroom water damage in the corner of the house. fix/replace light fixtures toilet makes noise master bathroom fix roof replace ceiling fan powerwash side & front | Completed No Need To Bill |  |  | Boldt, Brianna | 2022-11-01 | [9 empty] | 2025-03-10 | 0 |  |  | No | Other Maintenance - Not Listed
P142 Rosebud Hollow - 7011 Rosebud Hollow Richmond, TX 77469 | Normal | Resident |  | 1133-2 | Tenant saying she saw more mold in the bedroom after the roof repair |  | Completed No Need To Bill |  |  | Boldt, Brianna | 2022-11-29 | [9 empty] | 2025-03-10 | 0 |  |  | No | Mold/Mildew
[14 empty] | 0 | [7 empty] | 0
P143 6009 Arthington - 6009 Arthington St Houston, TX 77053
P143 6009 Arthington - 6009 Arthington St Houston, TX 77053 | Normal | Internal |  | 1164-1 | Busted pipe |  | Completed No Need To Bill |  |  | Jegede, Kathy | 2022-12-23 | [9 empty] | 2025-03-10 | 0 |  |  | No | Pipe Leak
P144 Ridge Turn Dr - 5207 Ridge Turn Dr Houston, TX 77053
P144 Ridge Turn Dr - 5207 Ridge Turn Dr Houston, TX 77053 | Normal | Internal |  | 1011-1 | 5207 Ridge Turn dr Houston Make Ready Code:1947 There was no electricity in the house 1. Property needs powerwash 2. property need detail cleaning (need new black dripping pans) and AC registers need cleaning or replacing 3. Replace 2 AC filters and replace smog alarm batteries & few door stops, few electric switch covers 4. Bathroom 2 sink damaged tiles are off 5. Property need painting all walls (few areas need sheetrock to fix: Hall , master bedroom behind the door, ) and few doors & garage(also need some sheetrock work in some of the walls Replace broken blinds- bedroom 2 living room , 6. Living room back door does not lock- need arm lock 7. Garage door is off track - 8. Fence- 2 sides need some pickets and its bent (neighbor's dog got into our property yard |  | Completed No Need To Bill |  |  | Solis, Maria Guadalupe | 2022-03-17 | [9 empty] | 2025-03-07 | 0 |  |  | No
P144 Ridge Turn Dr - 5207 Ridge Turn Dr Houston, TX 77053 | Normal | Internal |  | 1077-1 | A pipe burst in the garage today ..some of the ceiling came down and the wall in the living room has a bubble.. |  | Completed |  |  | Galvan, Jose Luis JR | 2022-06-26 | [9 empty] | 2024-04-11 | 0 |  |  | No
P144 Ridge Turn Dr - 5207 Ridge Turn Dr Houston, TX 77053 | Normal | Internal |  | 1094-1 | Some cracks that are coming up on the hall way restroom |  | Completed |  |  | Galvan, Jose Luis JR | 2022-07-20 | [8 empty] | 2024-06-21 | 2024-06-21 | 0 |  |  | No
P144 Ridge Turn Dr - 5207 Ridge Turn Dr Houston, TX 77053 | Normal | Internal |  | 1116-1 | The restroom y’all need to send someone to fix this and the hole in the garage too.. |  | Completed |  |  | Galvan, Jose Luis JR | 2022-09-13 | [9 empty] | 2024-04-11 | 0 |  |  | No
P144 Ridge Turn Dr - 5207 Ridge Turn Dr Houston, TX 77053 | Normal | Internal |  | 1166-1 | Someone knocked down the mail bx |  | Canceled |  |  | Galvan, Jose Luis JR | 2022-12-24 | [10 empty] | 0 |  |  | No
P144 Ridge Turn Dr - 5207 Ridge Turn Dr Houston, TX 77053 | Normal | Internal |  | 1173-1 | Someone run into front yard and knocked down the mailbox. |  | Canceled |  |  | Galvan, Jose Luis JR | 2022-12-28 | [10 empty] | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P145 Sunflower Creek (4515) - 4515 Sunflower Creek Ln Richmond, TX 77469
P145 Sunflower Creek (4515) - 4515 Sunflower Creek Ln Richmond, TX 77469 | Normal | Internal |  | 1021-1 | The hall floor started to warp. |  | Completed |  |  | Tock , Brent William | 2022-03-24 | [9 empty] | 2024-04-10 | 0 |  |  | No
P147 Wallingford - 2315 Wallingford Dr Missouri City, TX 77459
P147 Wallingford - 2315 Wallingford Dr Missouri City, TX 77459 | Normal | Internal |  | 1072-1 | AC is not cooling enough (thermostat is set at 67 but not cooling lower than 74) New unit. |  | Completed |  |  | Zamora, Danny | 2022-06-14 | [9 empty] | 2022-06-14 | 0 |  |  | No
P147 Wallingford - 2315 Wallingford Dr Missouri City, TX 77459 | Normal | Internal |  | 976-1 | Heater is not turning On (AC runs fine) |  | Completed |  |  | Zamora, Danny | 2022-01-03 | [9 empty] | 2022-06-14 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P148 15930 Willmore - 15930 Willmore Ln Missouri City, TX 77489
P148 15930 Willmore - 15930 Willmore Ln Missouri City, TX 77489 | Normal | Internal |  | 1017-1 | Mailbox was blown over by the wind. Can't put it back. need someone to do that. |  | Completed |  |  | Daniel, Arsenio | 2022-03-22 | [9 empty] | 2024-03-26 | 0 |  |  | No
P148 15930 Willmore - 15930 Willmore Ln Missouri City, TX 77489 | Normal | Internal |  | 1100-1 | AC not cooling well , runs for a long time to cool |  | Completed |  |  | Daniel, Arsenio | 2022-08-03 | [9 empty] | 2022-08-09 | 0 |  |  | No
P148 15930 Willmore - 15930 Willmore Ln Missouri City, TX 77489 | Normal | Internal |  | 1170-1 | Busted pipe in the garage |  | Completed |  |  | Daniel, Arsenio | 2022-12-25 | [9 empty] | 2023-01-10 | 0 |  |  | No
P148 15930 Willmore - 15930 Willmore Ln Missouri City, TX 77489 | Normal | Internal |  | 994-1 | No water in the house |  | Canceled |  |  | Daniel, Arsenio | 2022-02-04 | [10 empty] | 0 |  |  | No
P148 15930 Willmore - 15930 Willmore Ln Missouri City, TX 77489 | Normal | Internal |  | 995-1 | There is no water inside the house. (Temp outside 29F) |  | Completed |  |  | Daniel, Arsenio | 2022-02-04 | [9 empty] | 2022-06-14 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P149 6930 Tara - 6930 Tara Dr Richmond, TX 77469
P149 6930 Tara - 6930 Tara Dr Richmond, TX 77469 | Normal | Internal |  | 1149-1 | Several shingles have been torn off the roof (no leaks observed) (noticed while cleaning after a storm) | Several shingles have been torn off the roof (no leaks observed) (noticed while cleaning after a storm) | Completed No Need To Bill |  |  | Marchante, Moses C. | 2022-12-01 | [9 empty] | 2025-03-10 | 0 |  |  | No | Roof Shingles/Tiles
P149 6930 Tara - 6930 Tara Dr Richmond, TX 77469 | Normal | Internal |  | 1172-1 | AC heater blower burnt out. |  | Completed |  |  | Marchante, Moses C. | 2022-12-28 | [9 empty] | 2022-12-30 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P150 16118 Lazy Ridge - 16118 Lazy Ridge Houston, TX 77053
P150 16118 Lazy Ridge - 16118 Lazy Ridge Houston, TX 77053 | Normal | Internal |  | 1013-1 | 16118 Lazy Ridge Houston Code:1947 3. In the back yard cleaning & paint facia $500 Replace vent fan in bathroom $50 Missing light bulbs |  | Completed |  |  |  | 2022-03-17 | [9 empty] | 2022-03-17 | 0 |  |  | No
P150 16118 Lazy Ridge - 16118 Lazy Ridge Houston, TX 77053 | Normal | Internal |  | 1065-1 | 1. Plumber left hole in the wall 2. Water has a strange smell |  | Completed |  |  | Okunola, Linda Orlean | 2022-06-06 | [9 empty] | 2022-12-12 | 0 |  |  | No
P150 16118 Lazy Ridge - 16118 Lazy Ridge Houston, TX 77053 | Normal | Internal |  | 1106-1 | Leak from the roof above the stove. |  | Completed |  |  | Okunola, Linda Orlean | 2022-08-19 | [9 empty] | 2022-08-24 | 0 |  |  | No
P150 16118 Lazy Ridge - 16118 Lazy Ridge Houston, TX 77053 | Normal | Internal |  | 1154-1 | 1. Roof leaks in several areas in the house |  | Completed |  |  | Okunola, Linda Orlean | 2022-12-12 | [9 empty] | 2023-10-25 | 0 |  |  | No
P150 16118 Lazy Ridge - 16118 Lazy Ridge Houston, TX 77053 | Normal | Internal |  | 991-1 | corner of the roof has detached |  | Completed |  |  | Sanchez, Jonnie | 2022-02-03 | [9 empty] | 2022-04-07 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P152 6927 Blue Ridge - 6927 Blue Ridge Dr Richmond, TX 77469
P152 6927 Blue Ridge - 6927 Blue Ridge Dr Richmond, TX 77469 | Normal | Internal |  | 1037-1 | Roof is mossing some shingles |  | Completed |  |  | Rhodes, Cheryl | 2022-04-26 | [9 empty] | 2023-10-25 | 0 |  |  | No
P152 6927 Blue Ridge - 6927 Blue Ridge Dr Richmond, TX 77469 | Normal | Internal |  | 1043-1 | AC isn't blowing cold air. Replaced filter. Changed batteries in thermostat. AC runs but doesn't cool. |  | Completed |  |  | Rhodes, Cheryl | 2022-05-05 | [9 empty] | 2022-05-05 | 0 |  |  | No
P152 6927 Blue Ridge - 6927 Blue Ridge Dr Richmond, TX 77469 | Normal | Internal |  | 1155-1 | Leak outside in the front of the house . (We had this WO in 2020) |  | Completed No Need To Bill |  |  | Rhodes, Cheryl | 2022-12-12 | [9 empty] | 2025-03-10 | 0 |  |  | No | General Leak
[14 empty] | 0 | [7 empty] | 0
P158 Sunflower Creek (4411) - 4411 Sunflower Creek Ln Richmond, TX 77469
P158 Sunflower Creek (4411) - 4411 Sunflower Creek Ln Richmond, TX 77469 | Normal | Internal |  | 1047-1 | Make Ready 1. Fences need fixing/replacing /power wash 2. Clean light fixtures 3. Replace toilet cover 4. Buy new dishwasher $500 2. Ants- $100 3. Front door need paint $100 4. Paint property labor $1500 +250 materials Power wash $200 5.Master bedroom had a leak- need to fix ceiling & paint $250 |  | Completed |  |  | Morris, Sherry | 2022-05-08 | [9 empty] | 2022-06-16 | 0 |  |  | No
P158 Sunflower Creek (4411) - 4411 Sunflower Creek Ln Richmond, TX 77469 | Normal | Internal |  | 1095-1 | Issue with Breaker box. There two inside of the house near the back door. Also Garbage disposal does not work |  | Completed |  |  | Williams, Jaamal | 2022-07-21 | [9 empty] | 2022-07-28 | 0 |  |  | No
P158 Sunflower Creek (4411) - 4411 Sunflower Creek Ln Richmond, TX 77469 | Normal | Internal |  | 1098-1 | 1. Leak from the ceiling at son bedroom - tenant put a bucket. 2. Garbage disposer is not working |  | Completed |  |  | Williams, Jaamal | 2022-07-27 | [9 empty] | 2022-08-20 | 0 |  |  | No
P158 Sunflower Creek (4411) - 4411 Sunflower Creek Ln Richmond, TX 77469 | Normal | Internal |  | 1098-2 | Roof leak was repaired. Ceiling need repair |  | Completed |  |  | Williams, Jaamal | 2022-08-11 | [9 empty] | 2024-04-03 | 0 |  |  | No
P158 Sunflower Creek (4411) - 4411 Sunflower Creek Ln Richmond, TX 77469 | Normal | Internal |  | 1105-1 | Oven when put on after a few minutes I heard cracking noises, when I turned to the stove I noticed the oven was bright red and sparking. I immediately turned the oven off and had to dump the cake (for my sons 5th birthday) after trying the oven a few more times and it stopped getting hot. |  | Completed |  |  | Williams, Jaamal | 2022-08-16 | [9 empty] | 2022-08-16 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P159 Calistoga (16314) - 16314 Calistoga Ct Houston, TX 77053
P159 Calistoga (16314) - 16314 Calistoga Ct Houston, TX 77053 | Normal | Internal |  | 1039-1 | No power in the garage |  | Completed |  |  | Bellville, Marika | 2022-04-29 | [9 empty] | 2024-03-29 | 0 |  |  | No
P159 Calistoga (16314) - 16314 Calistoga Ct Houston, TX 77053 | Normal | Internal |  | 1068-1 | AC is not working |  | Completed |  |  | Bellville, Marika | 2022-06-09 | [9 empty] | 2024-03-29 | 0 |  |  | No
P159 Calistoga (16314) - 16314 Calistoga Ct Houston, TX 77053 | Normal | Internal |  | 1069-1 | AC not cooling |  | Canceled |  |  | Bellville, Marika | 2022-06-09 | [10 empty] | 0 |  |  | No
P159 Calistoga (16314) - 16314 Calistoga Ct Houston, TX 77053 | Normal | Internal |  | 1130-1 | A room wall has a leak that seem to come from the bathroom (tub on the other side of the wall) |  | Completed |  |  | Bellville, Marika | 2022-10-28 | [9 empty] | 2024-03-29 | 0 |  |  | No
P159 Calistoga (16314) - 16314 Calistoga Ct Houston, TX 77053 | Normal | Internal |  | 1143-1 | No Power, Lights not working. Breakers has been flipped still no power |  | Completed |  |  | Bellville, Marika | 2022-11-23 | [8 empty] | 2024-06-21 | 2024-06-21 | 0 |  |  | No
P159 Calistoga (16314) - 16314 Calistoga Ct Houston, TX 77053 | Normal | Internal |  | 1163-1 | Kitchen sink is not draining water Busted Pipe | Kitchen sink is not draining water Busted Pipe | Completed |  |  | Bellville, Marika | 2022-12-23 | [9 empty] | 2024-03-29 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P160 7827 Iris Glen - 7827 Iris Glen Ln Richmond, TX 77407
P160 7827 Iris Glen - 7827 Iris Glen Ln Richmond, TX 77407 | Normal | Internal |  | 1027-1 | AC unit outside stopped working . |  | Completed |  |  | Diehl, Douglas Allen | 2022-04-06 | [9 empty] | 2022-08-17 | 0 |  |  | No
P161 5003 Riverwood - 5003 Riverwood Richmond, TX 77469
P161 5003 Riverwood - 5003 Riverwood Richmond, TX 77469 | Normal | Internal |  | 1009-1 | Make Ready Property need detail cleaning including AC vents and ceiling AC filter cover Tenant left some small personal belonging 1. Backyard soffits/roof need fixing 2. Missing light bulbs in living room (3) 3. Blinds- Master need 2 blinds 4. Tub is stained 5. Plugs & switches - missing cover 6. Painting: Garage Utility room one bedroom need painting Master & living room need some touch up (Blue) In the hall some ceillig sheetrock damage need patching and to close the ladder to the attic Living room need touch up Doors & their frames are stained from walls paint - touch up Bedroom paint has a line on top between ceiling & wall |  | Completed |  |  | Sanchez, Maria | 2022-03-17 | [9 empty] | 2022-03-17 | 0 |  |  | No
P161 5003 Riverwood - 5003 Riverwood Richmond, TX 77469 | Normal | Internal |  | 1040-1 | the left side valve that had the water hose on it has cracked on the home has broken and now when you turn the water on to the home it spews water out left side. |  | Completed No Need To Bill |  |  | Sanchez, Maria | 2022-04-30 | [9 empty] | 2025-03-07 | 0 |  |  | No | Pipe Leak
P161 5003 Riverwood - 5003 Riverwood Richmond, TX 77469 | Normal | Internal |  | 1134-1 | Shingle coming off - do we want to check it (No leak) |  | Completed |  |  | Guzman, Lucia Martina | 2022-11-01 | [9 empty] | 2022-11-14 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P165 McCullum (7047) - 7047 McCullum Rd Missouri City, TX 77489
P165 McCullum (7047) - 7047 McCullum Rd Missouri City, TX 77489 | Normal | Internal |  | 1024-1 | AC is not cooling the house enough. Rises up to 78F |  | Completed |  |  | Leu, Seth Michael | 2022-03-28 | [9 empty] | 2022-08-17 | 0 |  |  | No
P165 McCullum (7047) - 7047 McCullum Rd Missouri City, TX 77489 | Normal | Internal |  | 944-2 | Gap between the door to floor . door still need painting |  | Completed |  |  | Leu, Seth Michael | 2022-09-16 | [9 empty] | 2024-04-09 | 0 |  |  | No
P165 McCullum (7047) - 7047 McCullum Rd Missouri City, TX 77489 | Normal | Internal |  | 987-1 | Water heater no longer working. I checked the water heater and seen the pilot light was out. I followed the instructions on the water heater on how to reignite it and it is not working. |  | Completed |  |  | Leu, Seth Michael | 2022-01-17 | [9 empty] | 2022-06-14 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P169 7410 Frostview - 7410 Frostview Ln Missouri City, TX 77489
P169 7410 Frostview - 7410 Frostview Ln Missouri City, TX 77489 | Normal | Internal |  | 1006-1 | The pipe have bad smell in the kitchen and downstairs bathroom . |  | Completed |  |  | Arline, Tanya Michelle | 2022-02-25 | [9 empty] | 2022-08-17 | 0 |  |  | No
P169 7410 Frostview - 7410 Frostview Ln Missouri City, TX 77489 | Normal | Internal |  | 1049-1 | Water leak from smoke detectors downstairs by the French doors since 3am |  | Completed |  |  | Arline, Tanya Michelle | 2022-05-09 | [9 empty] | 2023-06-02 | 0 |  |  | No
P169 7410 Frostview - 7410 Frostview Ln Missouri City, TX 77489 | Normal | Internal |  | 1160-1 | Water is leaking downstairs by the French doors | Water is leaking downstairs by the French doors | Completed |  |  | Arline, Tanya Michelle | 2022-12-19 | [9 empty] | 2024-04-03 | 0 |  |  | No
P169 7410 Frostview - 7410 Frostview Ln Missouri City, TX 77489 | Normal | Internal |  | 1169-1 | I have the light company here and they say my meter jaws need to be replaced as soon as possible my lights keep going off they charge me every time they come out to 7410 Frostview Lane |  | Completed |  |  | Arline, Tanya Michelle | 2022-12-24 | [9 empty] | 2024-01-01 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P171 1400 Bridle Path - 1400 Bridle Path Rosenberg, TX 77471
P171 1400 Bridle Path - 1400 Bridle Path Rosenberg, TX 77471 | Normal | Internal |  | 1113-1 | Ac not working |  | Completed |  |  | McClain, Melanie | 2022-09-05 | [9 empty] | 2022-09-13 | 0 |  |  | No
P171 1400 Bridle Path - 1400 Bridle Path Rosenberg, TX 77471 | Normal | Internal |  | 1168-1 | the water heater is detached from the ceiling and there is a busted pipe on the garage that's filling the garage up with water |  | Completed |  |  | McClain, Melanie | 2022-12-24 | [9 empty] | 2024-04-09 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P172 16203 Camino Del Sol - 16203 Camino Del Sol Dr Houston, TX 77083
P172 16203 Camino Del Sol - 16203 Camino Del Sol Dr Houston, TX 77083 | Normal | Internal |  | 1058-1 | 1) Water Heater stopped working 2) Cabinets need fixing(top comes off) 3) AC Draining is filling up and drain is clogged |  | Completed |  |  | Mason, Todd | 2022-05-19 | [9 empty] | 2022-06-07 | 0 |  |  | No
P172 16203 Camino Del Sol - 16203 Camino Del Sol Dr Houston, TX 77083 | Normal | Internal |  | 1175-1 | 1. Water does not shut off in the guest bathroom tub.it being the hot water the water heater is continously running as well so my gas and water bill are rising 2. Cabinets still hanging lower . 3. Trim on the outside need replacement, HOA sent the letter to clean or paint them but the paint is the only thing holding the wood apart and now it looks as something has made a hole a small rodent now i need to search the house for pest problem but the trim not being intact we cant secure the house properly from pest. |  | Completed |  |  | Mason, Todd | 2022-12-28 | [9 empty] | 2022-12-31 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P178 1322 Magnolia Dale Dr - 1322 Magnolia Dale Dr Fresno, TX 77545
P178 1322 Magnolia Dale Dr - 1322 Magnolia Dale Dr Fresno, TX 77545 | Normal | Internal |  | 1026-1 | AC blowing air but not cooling. |  | Completed |  |  | Sasser, Crystal | 2022-04-04 | [9 empty] | 2022-05-21 | 0 |  |  | No
P178 1322 Magnolia Dale Dr - 1322 Magnolia Dale Dr Fresno, TX 77545 | Normal | Internal |  | 1099-1 | water leak from one of the water heater |  | Completed |  |  | Sasser, Crystal | 2022-08-02 | [9 empty] | 2022-08-12 | 0 |  |  | No
P178 1322 Magnolia Dale Dr - 1322 Magnolia Dale Dr Fresno, TX 77545 | Normal | Internal |  | 1144-1 | 1. The main oven is not turning on 2. Two exterior lights near the garage and porch light does not turn on |  | Completed |  |  | Sasser, Crystal | 2022-11-23 | [9 empty] | 2024-04-02 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P179 1114 Auburn View - 1114 Auburn View Ln Fresno, TX 77545
P179 1114 Auburn View - 1114 Auburn View Ln Fresno, TX 77545 | Normal | Internal |  | 1008-1 | Upstairs toilet and garbage disposal not working | Upstairs toilet and garbage disposal not working | Completed |  |  | Washington, Katrina Lavern | 2022-03-10 | [9 empty] | 2023-05-02 | 0 |  |  | No
P179 1114 Auburn View - 1114 Auburn View Ln Fresno, TX 77545 | Normal | Internal |  | 1073-1 | AC not cooling |  | Completed |  |  | Washington, Katrina Lavern | 2022-06-20 | [9 empty] | 2022-06-20 | 0 |  |  | No
P179 1114 Auburn View - 1114 Auburn View Ln Fresno, TX 77545 | Normal | Internal |  | 1138-1 | primary restroom the toilet is leaking at its base |  | Canceled |  |  | Washington, Katrina Lavern | 2022-11-14 | [10 empty] | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P180 Southgate - 1208 Southgate Rosenberg, TX 77471
P180 Southgate - 1208 Southgate Rosenberg, TX 77471 | Normal | Internal |  | 1054-1 | Ac gone out |  | Completed |  |  | Sanchez, Elizabeth | 2022-05-14 | [9 empty] | 2022-08-17 | 0 |  |  | No
P180 Southgate - 1208 Southgate Rosenberg, TX 77471 | Normal | Internal |  | 1057-1 | Leaks in garage & one room . Tenant think roof is not in good condition. Few trees brunches get to the roof, need trimming Leak in the back yard , below the kitchen window. | Structural/Maintenance | Completed No Need To Bill |  |  | Sanchez, Elizabeth | 2022-05-16 | [9 empty] | 2025-03-10 | 0 |  |  | No | Other Maintenance - Not Listed
P180 Southgate - 1208 Southgate Rosenberg, TX 77471 | Normal | Internal |  | 1115-1 | 1. hole in the ceiling in the living room. (After AC was fixed- Ac tech his leg fell through) 2. Kitchen door does not close again. (last time someone rigged it) |  | Completed No Need To Bill |  |  | Sanchez, Elizabeth | 2022-09-12 | [9 empty] | 2025-03-10 | 0 |  |  | No | Other Maintenance - Not Listed
P180 Southgate - 1208 Southgate Rosenberg, TX 77471 | Normal | Internal |  | 1115-2 | 1. kill the tree close to the house in the front 2. Trim tree in the back 3.Fix damaged pipe outside under the kitchen window 4.Fix sofists in the front of the house 5. Fix roof shingles in the front of the house. |  | Completed No Need To Bill |  |  | Sanchez, Elizabeth | 2022-11-10 | [9 empty] | 2025-03-10 | 0 |  |  | No | Other Maintenance - Not Listed
P180 Southgate - 1208 Southgate Rosenberg, TX 77471 | Normal | Internal |  | 979-1 | The toilet in the front restroom has started leaking |  | Completed |  |  | Sanchez, Elizabeth | 2022-01-07 | [9 empty] | 2023-05-12 | 0 |  |  | No
P180 Southgate - 1208 Southgate Rosenberg, TX 77471 | Normal | Internal |  | 990-1 | 1. shower head has broken off and needs to be replaced 2. mold that is in the bathroom all over the walls due to no ventilation |  | Completed |  |  | Sanchez, Elizabeth | 2022-02-02 | [9 empty] | 2025-03-19 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P181 7219 Gettysburg Dr - 7219 Gettysburg Dr Richmond, TX 77469
P181 7219 Gettysburg Dr - 7219 Gettysburg Dr Richmond, TX 77469 | Normal | Internal |  | 1020-1 | Kitchen faucet leaks when water is open high pressure |  | Completed |  |  | Garcia, Albert | 2022-03-23 | [9 empty] | 2023-05-02 | 0 |  |  | No
P181 7219 Gettysburg Dr - 7219 Gettysburg Dr Richmond, TX 77469 | Normal | Internal |  | 1059-1 | The water is backing up in the kitchen sink. They ran the garbage disposal to see if it would help but it didn't. | The water is backing up in the kitchen sink. They ran the garbage disposal to see if it would help but it didn't. | Completed |  |  | Garcia, Albert | 2022-05-27 | [9 empty] | 2024-04-04 | 0 |  |  | No
P181 7219 Gettysburg Dr - 7219 Gettysburg Dr Richmond, TX 77469 | Normal | Internal |  | 1119-1 | The shower is not working properly. It is not switching from shower head to tub, only the shower head works. | The shower is not working properly. It is not switching from shower head to tub, only the shower head works. | Completed |  |  | Garcia, Albert | 2022-09-26 | [9 empty] | 2024-04-05 | 0 |  |  | No
P181 7219 Gettysburg Dr - 7219 Gettysburg Dr Richmond, TX 77469 | Normal | Internal |  | 1145-1 | I started a load of clothes which is draining into the kitchen sinks. I checked the other drains in the house, it's only backing up into the kitchen. |  | Completed No Need To Bill |  |  | Garcia, Albert | 2022-11-23 | [9 empty] | 2025-03-10 | 0 |  |  | No | Sink Leaking
P181 7219 Gettysburg Dr - 7219 Gettysburg Dr Richmond, TX 77469 | Normal | Internal |  | 1177-1 | Lights are not working in bedrooms, wall sockets also. All the breakers outside were switched off and on. Lights still not working. |  | Completed |  |  | Garcia, Albert | 2022-12-31 | [9 empty] | 2024-04-05 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P187 2510 Windy Vale Trl - 2510 Windy Vale Trl Fresno, TX 77545
P187 2510 Windy Vale Trl - 2510 Windy Vale Trl Fresno, TX 77545 | Normal | Resident |  | 1063-1 | Need more Freon in A/C. It’s the summer time and as every summer we have to get our A/C serviced because the house is taking forever to cool down in the evening. The A/C is set to 72 through out the day and it’s been reading 75 in the house so the A/C runs all day on the highest days and at night when we turn it A/C down to 70 the temp will probably not get that cool until 2-3AM. |  | Completed No Need To Bill |  |  | Walker, Brittany | 2022-06-05 | [9 empty] | 2025-03-10 | 0 |  |  | No | Air Conditioner
P187 2510 Windy Vale Trl - 2510 Windy Vale Trl Fresno, TX 77545 | Normal | Resident |  | 1067-1 | To whom it may concern, we are needing our A/C unit maintenanced again this year. It keeps running out of freon and the coils are bad from what we were told. Freon has to be added a couple of times a year for the last few years. Our thermostat reads at a higher temperature and the unit tries to cool all day without ceasing causing us to pay much more on our bill. Please have someone add freon to our unit as soon as possible. Thanks |  | Completed No Need To Bill |  |  | Walker, Brittany | 2022-06-09 | [9 empty] | 2025-03-10 | 0 |  |  | No | Air Conditioner
P187 2510 Windy Vale Trl - 2510 Windy Vale Trl Fresno, TX 77545 | Normal | Internal |  | 1112-1 | Master bedroom toilet tank is loose and the bults inside rusty. The cover broke. |  | Completed |  |  | Roberts, Rosalind | 2022-09-01 | [9 empty] | 2022-09-01 | 0 |  |  | No
P187 2510 Windy Vale Trl - 2510 Windy Vale Trl Fresno, TX 77545 | Normal | Internal |  | 1114-1 | A toilet handle is broken |  | Completed |  |  | Roberts, Rosalind | 2022-09-07 | [9 empty] | 2022-09-07 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P29-1 1907 Avenue C #1 - 1907 Avenue C #1 Rosenberg, TX 77471
P29-1 1907 Avenue C #1 - 1907 Avenue C #1 Rosenberg, TX 77471 | Normal | Internal |  | 1022-1 | Some plugs not working correctly. Plug going to AC is not working |  | Completed |  |  | Harper, Nancy | 2022-03-25 | [9 empty] | 2024-03-25 | 0 |  |  | No
P29-2 1907 Avenue C #2 - 1907 Avenue C #2 Rosenberg, TX 77471
P29-2 1907 Avenue C #2 - 1907 Avenue C #2 Rosenberg, TX 77471 | Normal | Internal |  | 1010-1 | Code:1205 Property need pest control - Nirit 1. Trash in front of the house and on its back - need to figure out what can we trash 2. Property needs some cleaning: the oven is dirty, windows were dirty inside the house ,(I did not have materials so I just wiped some of them)and so are the blinds , faucet is covered with white lime & medicine cabinet is not clean) 3. No AC in the property. I saw AC outside under the stairs? 4. Front door - knob is rusty - replace (bad first impression) 5. Under kitchen sink mold & garbage disposer is not working (I saw smoke) 6. need new blinds (2 brown ones fell off, 1 in bedroom is broken) 7. The exhaust fan is missing a cover. & bathroom needs a door stop. 8. Light fixture and bulbs: front of the house - bulb without a cover Bathroom missing light bulbs & ceiling light is missing a bulb, and a cover Dining area light not working , is it missing a bulb? Kitchen light missing a cover Hall light fixture does not work Bedroom 2 ceiling fan is not working and not clean. ( I couldn't reach reach the string -to high) Property need smoke alarm Window in bedroom 2, has stained glass- how much will cost to replace it? Also window's are old, maybe we should do some caulking, |  | Completed No Need To Bill |  |  | Mills, Robert | 2022-03-17 | [9 empty] | 2025-03-07 | 0 |  |  | No
P41 16131 Samoa Way - 16131 Samoa Way Houston, TX 77053
P41 16131 Samoa Way - 16131 Samoa Way Houston, TX 77053 | Normal | Resident |  | 1055-1 | The garbage disposal is not working, the left side of the sink gets stopped up and the sink sprayer leaks. |  | Completed No Need To Bill |  |  | Smith, Lesley | 2022-05-15 | [9 empty] | 2025-03-07 | 0 |  |  | No | Sink Damage
P41 16131 Samoa Way - 16131 Samoa Way Houston, TX 77053 | Normal | Resident |  | 1056-1 | The toilet runs, the bathtub faucet is leaking and the bathtub knob is hard to turn on and off. |  | Completed No Need To Bill |  |  | Smith, Lesley | 2022-05-15 | [9 empty] | 2025-03-07 | 0 |  |  | No | Bathtub Leak
P41 16131 Samoa Way - 16131 Samoa Way Houston, TX 77053 | Normal | Resident |  | 1089-1 | The toilet in the main bathroom is still running and our water bill is steady rising. Please have someone to come fix the toilet ASAP. thank you. |  | Completed |  |  | Smith, Lesley | 2022-07-16 | [9 empty] | 2022-07-25 | 0 |  |  | No
P41 16131 Samoa Way - 16131 Samoa Way Houston, TX 77053 | Normal | Resident |  | 1090-1 | Pictures of toilet resubmitted |  | Canceled |  |  | Smith, Lesley | 2022-07-16 | [10 empty] | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P42 18603 N Lyford - 18603 N Lyford Katy, TX 77449
P42 18603 N Lyford - 18603 N Lyford Katy, TX 77449 | Normal | Internal |  | 1046-1 | AC not cooling well. It is set to 74 and the temperature been 79/80 most of the day. |  | Completed |  |  | Farley, Tyler | 2022-05-08 | [9 empty] | 2022-05-31 | 0 |  |  | No
P42 18603 N Lyford - 18603 N Lyford Katy, TX 77449 | Normal | Internal |  | 1062-1 | Garbage disposal is not working |  | Completed No Need To Bill |  |  | Farley, Tyler | 2022-06-01 | [9 empty] | 2025-03-10 | 0 |  |  | No | Other Maintenance - Not Listed
P42 18603 N Lyford - 18603 N Lyford Katy, TX 77449 | Normal | Internal |  | 1093-1 | The water line going from under the sink to the refrigerator is leaking and spraying water all under the sink. We have had to turn off the cold water in order to stop it. |  | Completed |  |  | Farley, Tyler | 2022-07-19 | [9 empty] | 2022-09-01 | 0 |  |  | No
P42 18603 N Lyford - 18603 N Lyford Katy, TX 77449 | Normal | Internal |  | 1124-1 | Code:2830 1. Replace AC filter (Tenant left one in the garage) smog alarm batteries, missing 3 light bulbs check door stops 2. Need to fix door frame lock area - lock does not work well 3. front of the house can use power wash 4. all bedrooms doors are damaged - Need to glue 5. Metal gate is drugging on the cement & Fence gate needs adjustment & Fence in backyard on the left side is bent - can we support it. 6. Garage has a hole in the ceiling and on the wall & has water damage stain. Inspect house ceiling/ roof for leaks 7. The Cabinet door doesn't close well in the kitchen under the sink. The medicine cabinet needs a magnet 8. stain under the sink Washer and dryer connection leaking |  | Completed No Need To Bill |  |  | Farley, Tyler | 2022-10-20 | [9 empty] | 2025-03-10 | 0 |  |  | No | Other Maintenance - Not Listed
P42 18603 N Lyford - 18603 N Lyford Katy, TX 77449 | Normal | Internal |  | 1176-1 | hot water was not coming out hot. No matter how long I let the sink and tub fauces run. For the kitchen faucet, no water came out when it was set to hot. For the toilet in the primary bathroom, it was not flushing. |  | Completed |  |  | Farley, Tyler | 2022-12-31 | [9 empty] | 2023-04-28 | 0 |  |  | No
P42 18603 N Lyford - 18603 N Lyford Katy, TX 77449 | Normal | Internal |  | 983-1 | -The igniter for the stove has stopped working. -The garbage disposal doesn't work and is leaking. -The shower in the master bedroom still leaks |  | Completed |  |  | Farley, Tyler | 2022-01-13 | [9 empty] | 2024-04-10 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P48 Lazy Ln - 2015 Lazy Lane Missouri City, TX 77489
P48 Lazy Ln - 2015 Lazy Lane Missouri City, TX 77489 | Normal | Internal |  | 1002-1 | Garage ceiling fell on tenants cars |  | Completed No Need To Bill |  |  | Lawrence, Toni N. | 2022-02-17 | [9 empty] | 2025-03-07 | 0 |  |  | No
P48 Lazy Ln - 2015 Lazy Lane Missouri City, TX 77489 | Normal | Internal |  | 1052-1 | Breaker went off taken out the power to the front porch, stove vent hood, a bedroom light and an outlet. After trying to turn it on not working |  | Canceled |  |  | Lawrence, Toni N. | 2022-05-10 | [10 empty] | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P53 21918 Pearl Lake - 21918 Pearl Lake Dr Katy, TX 77449
P53 21918 Pearl Lake - 21918 Pearl Lake Dr Katy, TX 77449 | Normal | Internal |  | 1092-1 | Board fell off from back window seat. Also there is deteriorated soffit around house |  | Completed |  |  | Williams, James | 2022-07-18 | [9 empty] | 2024-03-27 | 0 |  |  | No
P53 21918 Pearl Lake - 21918 Pearl Lake Dr Katy, TX 77449 | Normal | Internal |  | 1127-1 | 1. repair the damaged trim above garage door 2.repair/replace damaged driveway entrance |  | Completed |  |  | Williams, James | 2022-10-25 | [9 empty] | 2024-03-27 | 0 |  |  | No
P53 21918 Pearl Lake - 21918 Pearl Lake Dr Katy, TX 77449 | Normal | Internal |  | 1165-1 | 40% of outlets do not work |  | Completed |  |  | Williams, James | 2022-12-24 | [9 empty] | 2024-03-27 | 0 |  |  | No
P53 21918 Pearl Lake - 21918 Pearl Lake Dr Katy, TX 77449 | Normal | Internal |  | 985-1 | The heater in broke. The fan comes on but it’s not heating. |  | Completed |  |  | Williams, James | 2022-01-17 | [9 empty] | 2022-06-14 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P57 2126 Winged Foot - 2126 Winged Foot Missouri City, TX 77459
P57 2126 Winged Foot - 2126 Winged Foot Missouri City, TX 77459 | Normal | Internal |  | 1032-1 | The water heater is not working | The water heater is not working | Completed |  |  | Chery, Joanise | 2022-04-20 | [9 empty] | 2022-04-28 | 0 |  |  | No
P57 2126 Winged Foot - 2126 Winged Foot Missouri City, TX 77459 | Normal | Internal |  | 1088-1 | AC is not working. The unit is running but not blowing cold air |  | Completed |  |  | Chery, Joanise | 2022-07-14 | [9 empty] | 2022-07-18 | 0 |  |  | No
P57 2126 Winged Foot - 2126 Winged Foot Missouri City, TX 77459 | Normal | Internal |  | 1108-1 | New stove does not work well. |  | Completed |  |  | Chery, Joanise | 2022-08-24 | [9 empty] | 2022-08-30 | 0 |  |  | No
P57 2126 Winged Foot - 2126 Winged Foot Missouri City, TX 77459 | Normal | Internal |  | 1135-1 | Water backed up and overflowed kitchen sink when using washing machine. Tenant stated that there was slow drainage before. | Water backed up and overflowed kitchen sink when using washing machine. Tenant stated that there was slow drainage before. | Completed | Plumber, Yekutiel |  | Chery, Joanise | 2022-11-01 | [9 empty] | 2023-06-02 | 0 |  |  | No
P57 2126 Winged Foot - 2126 Winged Foot Missouri City, TX 77459 | Normal | Internal |  | 1147-1 | Water Switch for the Tub and shower is not working at Master Bathroom | Water Switch for the Tub and shower is not working at Master Bathroom | Completed |  |  | Chery, Joanise | 2022-11-30 | [9 empty] | 2024-04-10 | 0 |  |  | No
P57 2126 Winged Foot - 2126 Winged Foot Missouri City, TX 77459 | Normal | Internal |  | 988-1 | Stove and kitchen light ; stove was making a big nose yesterday without nowhere and the big light in the kitchen |  | Completed |  |  | Chery, Joanise | 2022-01-21 | [9 empty] | 2023-05-15 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P58 Beckley (7701) - 7701 Beckley St Houston, TX 77088
P58 Beckley (7701) - 7701 Beckley St Houston, TX 77088 | Normal | Internal |  | 1000-1 | 1. Identification number for each unit within 18 inch of entrance to the unit. 2. Replace all rotten /damaged siding & trim. (if more than 120 need a permit) 3. Smoke detector letter need notaries signature . They need to be upstairs & entrance to each bedroom. | NA | Completed No Need To Bill |  |  | Hogg, Joslyn | 2022-02-14 | [9 empty] | 2025-03-07 | 0 |  |  | No | Other Maintenance - Not Listed
P58 Beckley (7701) - 7701 Beckley St Houston, TX 77088 | Normal | Internal |  | 1110-1 | Wall have a big water stain . From photo it looks above the stairs. Tenant seen increase in her water bills. |  | Completed |  |  | Hogg, Joslyn | 2022-08-27 | [9 empty] | 2023-04-24 | 0 |  |  | No
P58 Beckley (7701) - 7701 Beckley St Houston, TX 77088 | Normal | Internal |  | 992-1 | Heater is not working |  | Completed |  |  | Hogg, Joslyn | 2022-02-04 | [9 empty] | 2022-06-14 | 0 |  |  | No
P58 Beckley (7701) - 7701 Beckley St Houston, TX 77088 | Normal | Internal |  | 999-1 | OP02 PERMIT REQUIRED An occupancy plumbing permit purchased under your project number shall be required. This requires a licensed responsible master plumber. The plumber will purchase the permit and will schedule an inspection after the corrections required on this report have been completed. OP08 HOSE BIBBS Install listed lead free vacuum breakers on all threaded hose bibbs on the potable water system.(UPC 603.5.7) 1. In front. OP09 BALLCOCKS Ensure ballcock in water closets are properly adjusted. Critical water level mark is to be 1 inch above top of overflow tube.(UPC 603.5.2) 1. Unit 7701. Check all units. OP68 FIXTURE DRAINS All plumbing fixtures must have waste and vent of approved materials and be installed per plumbing code requirements. (UPC 701.0) This comment is referring to: 1. Kitchen sink has flexible drain in unit 7701. Check all units. OP60 LOCATE WATER HEATER/ ACCESS We were unable to inspect the water heater on the original inspection. Provide access to the water heater for final inspection. Provide OSHA approved ladder to reach at least one foot from ceiling height if water heater is above ceiling. Additional corrections and permit may be required upon inspection. 1. Need access to water heater in closet of unit 7701 |  | Completed |  |  | Hogg, Joslyn | 2022-02-14 | [9 empty] | 2025-03-24 | 0 |  |  | No
P58 Beckley (7701) - 7701 Beckley St Houston, TX 77088 | Normal | Internal |  | 999-2 | 7709 Beckley- new tenant (replace broken mirror , hole in wall where the shower is, ceiling in living room- had a leak that was repaired need patching, broken blinds ) 7701 Beckley ST Houston Joslyn Hogg (281) 608-8945 1. 7701 Beckley upstairs bathroom needs an exhaust fan as wells to treat all the mold (Walls , bath) replace rusty light fixture above mirror. 2. Each unit needs a unit number 18 inch of the principal entrance to the unit and visible from the street. (There is a number there on the polls , but it's further than 18 inch.) 3. replace damaged rotten siding and trim (I think we fixed it last time ) ..... Right side of the building gutters are damaged. 4. Check that the property has a working smog detector . They need to be upstairs & entrance to each bedroom. 5. If possible the fence lost some screws in the corner, can the technician fix it? (Just stabilize for unit 7701 |  | Completed |  |  | Hogg, Joslyn | 2022-08-28 | [9 empty] | 2025-03-19 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P58 Beckley (7705) - 7705 Beckley St Houston, TX 77088
P58 Beckley (7705) - 7705 Beckley St Houston, TX 77088 | Normal | Internal |  | 1096-1 | Garbage disposal in my house is broken it's leaking on some wires. Also a few days ago the lights in the house were flickering |  | Completed |  |  | Starks, Clarice R. | 2022-07-22 | [8 empty] | 2024-08-07 | 2024-08-07 | 0 |  |  | No
P58 Beckley (7705) - 7705 Beckley St Houston, TX 77088 | Normal | Internal |  | 1159-1 | Water heater is not working |  | Completed |  |  | Starks, Clarice R. | 2022-12-18 | [9 empty] | 2022-12-18 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P58 Beckley (7709) - 7709 Beckley St Houston, TX 77088
P58 Beckley (7709) - 7709 Beckley St Houston, TX 77088 | Normal | Internal |  | 1012-1 | 7709 Beckley Move out Code:1947 1. No electricity in the house, need to check if appliances are working. (Fridge & Oven are new, Dishwasher was extremely dirty , not sure if it works) Cleaning Property need cleaning including ceiling vents tenant left a few personal belonging in the property - need to trash AC . There are 3 AC window units in the property need to check the AC and remove the window units Make Ready repair 1. Hole in the ceiling in the living room - need sheetrock work2. Property need wall painting 3. Back yard gate does not lock 4. Missing light bulbs 5. Few damaged blinds 6. Shower head is off in the shower 7. No toilet seat cover upstairs 8. Replace smog alarm batteries & AC filter |  | Completed No Need To Bill |  |  | Moody, Heaven U. | 2022-03-17 | [9 empty] | 2025-03-07 | 0 |  |  | No
P58 Beckley (7709) - 7709 Beckley St Houston, TX 77088 | Normal | Internal |  | 1081-1 | The upstairs second hallway restroom, when the water is turned on for the shower causes water to leak from the restroom down to the lower level to the center of the living room. If you could please see attached this is an urgent fix as we have a bucket collecting water. We just moved in yesterday 7/1/2022 |  | Completed |  |  | Kioutas, Theodosesis | 2022-07-02 | [9 empty] | 2023-04-24 | 0 |  |  | No
P58 Beckley (7709) - 7709 Beckley St Houston, TX 77088 | Normal | Internal |  | 1146-1 | The garbage disposal in the downstairs kitchen sink is not working or draining correctly. When I turn on the dishwasher to run a regular cycle the water when it begins to “dry dishes” begins to drain water into the kitchen sink. Also the upstairs master bedroom restroom door has come off the hinges due to rusted old hinges that need to be replaced. |  | Canceled |  |  | Kioutas, Theodosesis | 2022-11-30 | [10 empty] | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P61 Hickory Glen - 2010 Hickory Glen Missouri City, TX 77489
P61 Hickory Glen - 2010 Hickory Glen Missouri City, TX 77489 | Normal | Internal |  | 1045-1 | AC not working 95F at the house |  | Completed |  |  | Young, Maretta Loutrel | 2022-05-08 | [9 empty] | 2022-08-17 | 0 |  |  | No
P61 Hickory Glen - 2010 Hickory Glen Missouri City, TX 77489 | Normal | Internal |  | 1103-1 | Main toilet has completely broken as in cracked and spilled water overnight |  | Completed |  |  | Young, Maretta Loutrel | 2022-08-12 | [9 empty] | 2023-06-02 | 0 |  |  | No
P61 Hickory Glen - 2010 Hickory Glen Missouri City, TX 77489 | Normal | Internal |  | 1111-1 | There was a power outage 5 time today and the air conditioner is no longer working | There was a power outage 5 time today and the air conditioner is no longer working | Canceled |  |  | Young, Maretta Loutrel | 2022-08-31 | [10 empty] | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P62 3215 Becker Glen - 3215 Becker Glen St. Fresno, TX 77545
P62 3215 Becker Glen - 3215 Becker Glen St. Fresno, TX 77545 | Normal | Internal |  | 1001-1 | 1. AC is leaking -not working to its capacity - I requested a photo of the thermostat. 2. Fence need fixing 3. Electrical issue - no lights in the stairs 4. Lockbox was never removed |  | Completed |  |  | Salas, Carlos | 2022-02-16 | [9 empty] | 2022-08-17 | 0 |  |  | No
P62 3215 Becker Glen - 3215 Becker Glen St. Fresno, TX 77545 | Normal | Internal |  | 1019-1 | 1. 2 sinks need repair 2. garbage disposal 3. Ceiling leak 4. Fence - was not fixed 5. Big AC and big rocks were not removed |  | Completed |  |  | Salas, Carlos | 2022-03-23 | [9 empty] | 2022-08-17 | 0 |  |  | No
P62 3215 Becker Glen - 3215 Becker Glen St. Fresno, TX 77545 | Normal | Internal |  | 1123-1 | There was a storm and power went out. It was restored in the next few hours, however there is no power upstairs, Tenant has already attempted to check the breakers multiple times. | There was a storm and power went out. It was restored in the next few hours, however there is no power upstairs, Tenant has already attempted to check the breakers multiple times. | Canceled |  |  | Winn, Sameria Renelle | 2022-10-14 | [10 empty] | 0 |  |  | No
P62 3215 Becker Glen - 3215 Becker Glen St. Fresno, TX 77545 | Normal | Internal |  | 1148-1 | Ceiling is falling apart at bedroom | Ceiling is falling apart at bedroom | Completed |  |  | Winn, Sameria Renelle | 2022-12-01 | [9 empty] | 2023-04-28 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P65 15802 Kenbrook - 15802 Kenbrook Missouri City, TX 77489
P65 15802 Kenbrook - 15802 Kenbrook Missouri City, TX 77489 | Normal | Internal |  | 1018-1 | another leak in the same room & nobody came for the garage |  | Completed |  |  | Scarbrough, Jimmie Ray | 2022-03-23 | [9 empty] | 2024-03-25 | 0 |  |  | No
P65 15802 Kenbrook - 15802 Kenbrook Missouri City, TX 77489 | Normal | Internal |  | 1070-1 | AC is not working |  | Completed |  |  | Scarbrough, Jimmie Ray | 2022-06-09 | [9 empty] | 2024-03-25 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P68 2414 Ashmont Dr - 2414 Ashmont Dr Missouri City, TX 77489
P68 2414 Ashmont Dr - 2414 Ashmont Dr Missouri City, TX 77489 | Normal | Internal |  | 1004-1 | AC not cooling |  | Completed |  |  | Russell, Naazir Rashad | 2022-02-22 | [9 empty] | 2022-08-17 | 0 |  |  | No
P68 2414 Ashmont Dr - 2414 Ashmont Dr Missouri City, TX 77489 | Normal | Internal |  | 1109-1 | Make Ready 2414 Ashmont Dr Missouri City TX 77489 1. Paint all walls & fix cracks labor $400 2. Paint kitchen cabinets inside and outside & paint desk & shelves in the living room $300 labor 3. Paint partial ceiling living room & formal dining room $150 labor 4. Paint front door & back door and ___ doors $20 each Labor 5. Fix master bathroom $150 labor 7. Replace broken tiles $200 labor |  | Completed |  |  | Russell, Naazir Rashad | 2022-08-25 | [9 empty] | 2022-08-26 | 0 |  |  | No
P68 2414 Ashmont Dr - 2414 Ashmont Dr Missouri City, TX 77489 | Normal | Internal |  | 1109-2 | 1. Corner wall in the entrance needs fixing $20 2. Register AC in second floor bedroom 1 & master bathroom need paint or replace- $30 3. Under sink master paint/clean mold $10 4. Replace broken /missing light switch covers $10 5. caulk all bathrooms $10 6. burned out light bulbs $40 7. Put new batteries into smog alarm and put back on wall $40 8. Master shower closet -lower door needs hinge and paint the new piece of wood there. $20 9. Put tiles under water heater -$40 10. Bathroom upstairs leak & replace faucet& its knobs & leak from master shower $60 11. Replace glass in upstairs bathroom $20 12. Closet doors off track in the master Bedroom 13. upstairs doors paint- 4 doors first bedroom $80 14.Replace broken blinds 15. Downstair guest bathroom , the cabinet door need new hinge /or fix it 16. Rekey the house $50 (4 locks: front door, 2 back doors & garage) 17. Garage has broken fridge to remove 0 18. Powerwash $250 19. Master fix hole and finish painting, 20.Switches cover replace broken ones 21. Master cabinet paint & new hinge $10 22. Living room ceiling fan need a chain $10 23. Kitchen cabinets need magnet & wood filler for hole 24. Door knobs kitchen 3 $10 25.Put one blind upstairs 26.Remove tires $20 27.Repair property siding $400 28.Utility room door put back, and fix the back door frame wood (rotten Put one picket on the fence Door stops as needed AC filters install Guest toilet is moving Master toilet not working |  | Completed No Need To Bill |  |  | Russell, Naazir Rashad | 2022-09-10 | [9 empty] | 2025-03-10 | 0 |  |  | No | Other Maintenance - Not Listed
P68 2414 Ashmont Dr - 2414 Ashmont Dr Missouri City, TX 77489 | Normal | Internal |  | 980-1 | * Bathroom from upstairs is leaking on the downstairs. Leaking sink when water is used in the second upstairs bath * garbage disposal broken * Bathroom bed to be repaired * Waiting on a tile to replace on the kitchen |  | Completed |  |  | Russell, Naazir Rashad | 2022-01-07 | [9 empty] | 2022-08-17 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P70 2719 Spring Place - 2719 Spring Place Dr Missouri City, TX 77489
P70 2719 Spring Place - 2719 Spring Place Dr Missouri City, TX 77489 | Normal | Internal |  | 1048-1 | Garage door does not close all the way |  | Completed |  |  | Watkins, Charlene | 2022-05-08 | [9 empty] | 2022-07-04 | 0 |  |  | No
P70 2719 Spring Place - 2719 Spring Place Dr Missouri City, TX 77489 | Normal | Internal |  | 986-1 | The heater is not working |  | Completed |  |  | Watkins, Charlene | 2022-01-17 | [9 empty] | 2022-06-14 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P74 16303 Calistoga Ct - 16303 Calistoga Court Houston, TX 77053
P74 16303 Calistoga Ct - 16303 Calistoga Court Houston, TX 77053 | Normal | Internal |  | 1029-1 | Fence is falling apart in the back yard |  | Completed |  |  | Payne, Shirley | 2022-04-10 | [8 empty] | 2024-03-20 | 2025-03-27 | 0 |  |  | No
P74 16303 Calistoga Ct - 16303 Calistoga Court Houston, TX 77053 | Normal | Internal |  | 1042-1 | AC is not working properly its 74 inside |  | Completed |  |  | Payne, Shirley | 2022-05-04 | [9 empty] | 2022-08-17 | 0 |  |  | No
P74 16303 Calistoga Ct - 16303 Calistoga Court Houston, TX 77053 | Normal | Internal |  | 1101-1 | Garage ceiling is starting to fall apart |  | Completed |  |  | Payne, Shirley | 2022-08-03 | [9 empty] | 2024-04-11 | 0 |  |  | No
P74 16303 Calistoga Ct - 16303 Calistoga Court Houston, TX 77053 | Normal | Internal |  | 1107-1 | Garage door won't open unless we manually open it. The lights work on the motor. | garage door won't open unless we manually open it. The lights work on the motor. | Completed |  |  | Payne, Shirley | 2022-08-22 | [9 empty] | 2022-08-26 | 0 |  |  | No
P74 16303 Calistoga Ct - 16303 Calistoga Court Houston, TX 77053 | Normal | Internal |  | 1122-1 | The screws are rusted making the toilet loose. | The screws are rusted making the toilet loose. | Completed |  |  | Payne, Shirley | 2022-10-13 | [9 empty] | 2022-10-31 | 0 |  |  | No
P74 16303 Calistoga Ct - 16303 Calistoga Court Houston, TX 77053 | Normal | Internal |  | 1157-1 | Asking to replace the carpet in the living room . Mold in the corner . |  | Completed |  |  | Payne, Shirley | 2022-12-14 | [8 empty] | 2024-09-27 | 2024-09-27 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P77 233 Shenandoah - 233 Shenandoah Drive Richmond, TX 77469
P77 233 Shenandoah - 233 Shenandoah Drive Richmond, TX 77469 | Normal | Internal |  | 1036-1 | Dishwasher is not working ( tenant checked - its not clogged). |  | Completed |  |  | Harrison, John | 2022-04-26 | [9 empty] | 2022-06-14 | 0 |  |  | No
P77 233 Shenandoah - 233 Shenandoah Drive Richmond, TX 77469 | Normal | Internal |  | 1061-1 | Water leak in house, seems the water is coming from AC as its near Airfilter area and there seems to be some water |  | Completed No Need To Bill |  |  | Harrison, John | 2022-05-31 | [9 empty] | 2025-03-10 | 0 |  |  | No | Air Conditioner Leak
P77 233 Shenandoah - 233 Shenandoah Drive Richmond, TX 77469 | Normal | Internal |  | 1097-1 | A pipe outside is splashing water |  | Completed |  |  | Harrison, John | 2022-07-25 | [9 empty] | 2022-07-27 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P90 13823 Bay Gardens - 13823 Bay Gardens Dr Sugar Land, TX 77498
P90 13823 Bay Gardens - 13823 Bay Gardens Dr Sugar Land, TX 77498 | Normal | Internal |  | 1041-1 | 1. garbage disposal in the kitchen has stopped working 2. a leak in the guest bathroom sink. |  | Completed |  |  | Tell, David | 2022-05-04 | [9 empty] | 2022-03-10 | 0 |  |  | No
P90 13823 Bay Gardens - 13823 Bay Gardens Dr Sugar Land, TX 77498 | Normal | Internal |  | 1075-1 | Tenant discovered several kittens in the attic and believe that they got into the house through a hole in the side portion of the roof of the house. Hole in roof and in soffits. animals getting into the attic . |  | Completed No Need To Bill |  |  | Tell, David | 2022-06-20 | [9 empty] | 2025-03-10 | 0 |  |  | No | Other Maintenance - Not Listed
P90 13823 Bay Gardens - 13823 Bay Gardens Dr Sugar Land, TX 77498 | Normal | Internal |  | 1080-1 | HOA request to remove dead palm trees W might want to inspect if the property has trees reaching to the roof |  | Completed |  |  | Tell, David | 2022-07-01 | [9 empty] | 2024-04-11 | 0 |  |  | No
P90 13823 Bay Gardens - 13823 Bay Gardens Dr Sugar Land, TX 77498 | Normal | Internal |  | 1126-1 | 1)The front door jams frequently and is difficult to open. 2) Due to the foundation shifting of the house the floor in the 2nd guest bedroom has risen and has a small mound in the floor. The tile around it has begun to crack. 3) need foundation work. 4. Dishwasher not clean the dishes. |  | Completed |  |  | Tell, David | 2022-10-21 | [9 empty] | 2024-04-10 | 0 |  |  | No
P90 13823 Bay Gardens - 13823 Bay Gardens Dr Sugar Land, TX 77498 | Normal | Internal |  | 1162-1 | Heater is not working. No hot air blowing from the heating unit. Currently 60 degrees and will be falling quickly due to the approaching cold front. | Heater is not working. No hot air blowing from the heating unit. Currently 60 degrees and will be falling quickly due to the approaching cold front. | Completed |  |  | Tell, David | 2022-12-23 | [9 empty] | 2022-12-31 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P95 3514 Cypress Landing - 3514 Cypress Landing Rosenberg, TX 77471
P95 3514 Cypress Landing - 3514 Cypress Landing Rosenberg, TX 77471 | Normal | Internal |  | 1087-1 | AC unit is not working. It's 85 inside a house |  | Completed |  |  | Cardona, Steven | 2022-07-14 | [9 empty] | 2022-07-14 | 0 |  |  | No
Total | [13 empty] | 0 | [7 empty] | 0