## Sheet1
Work Order
Exported On: 06/11/2026 01:36 PM
Properties: All
Units: All
Tenants: All
Vendors: All
Assigned User: All
Created By: All
Priority: All
From Inspection: All
Current Estimate Approval Status: All
Current Work Order Status: New, Estimate Requested, Estimated, Assigned, Scheduled, Waiting, Work Done, Ready to Bill, Completed, Canceled, and Completed No Need To Bill
Work Order Type: Unit Turn, Resident, and Internal
Unit Turn Category: All
Status Date: Created On 01/01/2025 - 12/31/2025
Property | Priority | Work Order Type | Home Warranty Expiration | Work Order Number | Job Description | Instructions | Status | Vendor | Unit | Primary Resident | Created At | Estimate Req On | Estimated On | Estimate Amount | Estimate Approval Status | Estimate Approved On | Estimate Approval Last Requested On | Scheduled Start | Scheduled End | Work Done On | Completed On | Amount | Invoice | Unit Turn ID | Recurring | Work Order Issue
P-1 5110 Fall Forest - 5110 Fall Forest Sugar Land, TX 77479
P-1 5110 Fall Forest - 5110 Fall Forest Sugar Land, TX 77479 | Normal | Internal |  | 1724-1 | 1. AC registers need cleaning :entrance x 2 , Master bedroom & bathroom AC filter in the living room - cover cleaning and AC filter replacement. (2 of them . look dirty) 2. Broken drawer in the kitchen 3. under sink need paint or paper Carpet cleaning: 1st floor room in the entrance 2. 2nd floor : family area red stained stairs worn out Hall has stains Left bedroom has stains (On the right side of the stairs) 2 smaller bedrooms has some stains One big bedroom need stretching carpet Tree brunches are not bandelet, so city did not take them. Front door need paint /stain it. entrance outside need some cleaning. (dark residue ) smoke alarm |  | Completed |  |  |  | 2025-02-10 | [8 empty] | 2025-02-27 | 2025-02-13 | 0 |  |  | No
P-1 5110 Fall Forest - 5110 Fall Forest Sugar Land, TX 77479 | Normal | Internal |  | 1727-1 | Automatic Garage door opener does not work. (I think it is relatively new) |  | Completed No Need To Bill |  |  | Reese, Inguird | 2025-02-19 | [9 empty] | 2025-10-20 | 0 |  |  | No
P-1 5110 Fall Forest - 5110 Fall Forest Sugar Land, TX 77479 | Normal | Internal |  | 1743-1 | Water heater is not working well . Breaker was flipped and after that it seem like the water do not get hot. (Tenant flipped the breaker back on) |  | Completed No Need To Bill |  |  | Reese, Inguird | 2025-03-27 | [9 empty] | 2025-07-02 | 0 |  |  | No
P-1 5110 Fall Forest - 5110 Fall Forest Sugar Land, TX 77479 | Normal | Internal |  | 1744-1 | A leak in the office room ceiling. Per plumber flooring upstairs might need repair and cause the leak |  | Completed No Need To Bill |  |  | Reese, Inguird | 2025-03-30 | [9 empty] | 2025-07-02 | 0 |  |  | No
P-1 5110 Fall Forest - 5110 Fall Forest Sugar Land, TX 77479 | Normal | Internal |  | 1752-1 | The kitchen sink is clogged. |  | Completed No Need To Bill |  |  | Reese, Inguird | 2025-04-07 | [9 empty] | 2025-07-02 | 0 |  |  | No
P-1 5110 Fall Forest - 5110 Fall Forest Sugar Land, TX 77479 | Urgent | Internal |  | 1778-1 | AC unit in is the rooms up stairs are not getting cold. |  | Completed No Need To Bill |  |  | Reese, Inguird | 2025-05-16 | [9 empty] | 2025-07-02 | 0 |  |  | No
P-1 5110 Fall Forest - 5110 Fall Forest Sugar Land, TX 77479 | Normal | Internal |  | 1797-1 | 1. AC keep running and does not stop even if tenant put it on 75 2. Few rooms in the house lost power. |  | Completed No Need To Bill |  |  | Reese, Inguird | 2025-06-13 | [9 empty] | 2025-07-02 | 0 |  |  | No
P-1 5110 Fall Forest - 5110 Fall Forest Sugar Land, TX 77479 | Normal | Internal |  | 1804-1 | Need to check foubdation |  | New |  |  | Reese, Inguird | 2025-06-27 | [10 empty] | 0 |  |  | No
P-1 5110 Fall Forest - 5110 Fall Forest Sugar Land, TX 77479 | Normal | Internal |  | 1823-1 | 1. AC not big enough to cool the house. 2. Fence starting to fall apart. |  | Completed No Need To Bill |  |  | Reese, Inguird | 2025-08-12 | [9 empty] | 2026-01-01 | 0 |  |  | No
P-1 5110 Fall Forest - 5110 Fall Forest Sugar Land, TX 77479 | Normal | Internal |  | 1841-1 | the fence it’s gettin pretty bad it’s that old rotten wood |  | Ready to Bill |  |  | Reese, Inguird | 2025-09-01 | [8 empty] | 2026-01-01 | 2026-01-01 | 0 |  |  | No | Fence/Gate
P-1 5110 Fall Forest - 5110 Fall Forest Sugar Land, TX 77479 | Normal | Internal |  | 1879-1 | Fence at left has deteriorated. Please rebuild fence per guidelines (same location, and height & width pickets)(HOA Request) |  | Completed No Need To Bill |  |  | Reese, Inguird | 2025-11-25 | [9 empty] | 2026-04-08 | 0 |  |  | No
P-1 5110 Fall Forest - 5110 Fall Forest Sugar Land, TX 77479 | Normal | Internal |  | 1890-1 | 1. I know someone was supposed to come fix the gate that still have not happened 2. There are still problems with the ac. 3. Once again we having the same leak plus more. At this rate I know it mildew in there dome where. A for what I’m paying to still be having problems with the house is not cool. the upstairs bedroom as a leak. Bathroom up stairs still leaking. That extra room where it was a leak before is leaking again. |  | Completed No Need To Bill |  |  | Reese, Inguird | 2025-12-03 | [9 empty] | 2026-01-01 | 0 |  |  | No
P-1 5110 Fall Forest - 5110 Fall Forest Sugar Land, TX 77479 | Normal | Internal |  | 1897-1 | 1. The AC unit is completely out. It is not cooling off the house at all yesterday all day. 2. The breaker has went off the breaker outside. I guess it has blown a few one of the rooms lights are totally off been off for today is day number three. I need someone to come and look at that situation ASAP |  | New |  |  | Reese, Inguird | 2025-12-26 | [10 empty] | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P0 2726 Crestbrook Ct - 2726 Crestbrook Sugar Land, TX 77479
P0 2726 Crestbrook Ct - 2726 Crestbrook Sugar Land, TX 77479 | Normal | Internal |  | 1718-1 | 1. the door frame that goes into the garage needs to be repaired. The wood is rotten and it won't hold a screw for the lock. 2. toilet upstairs is not working properly |  | Completed |  |  | Costello, Frank | 2025-01-16 | [9 empty] | 2025-03-10 | 0 |  |  | No
P0 2726 Crestbrook Ct - 2726 Crestbrook Sugar Land, TX 77479 | Normal | Internal |  | 1734-1 | Black mold in the upstairs bathroom. On the ceiling and it's coming down to the walls. |  | Completed |  |  | Costello, Frank | 2025-03-17 | [9 empty] | 2025-05-07 | 0 |  |  | No
P0 2726 Crestbrook Ct - 2726 Crestbrook Sugar Land, TX 77479 | Normal | Internal |  | 1742-1 | Hot water in the kitchen isn't working. No water comes out from the hot side. |  | Completed No Need To Bill |  |  | Costello, Frank | 2025-03-27 | [9 empty] | 2025-07-02 | 0 |  |  | No
P0 2726 Crestbrook Ct - 2726 Crestbrook Sugar Land, TX 77479 | Normal | Internal |  | 1773-1 | The ac upstairs broke . It's not working |  | Completed No Need To Bill |  |  | Costello, Frank | 2025-05-08 | [9 empty] | 2025-07-02 | 0 |  |  | No | Air Conditioner
P0 2726 Crestbrook Ct - 2726 Crestbrook Sugar Land, TX 77479 | Normal | Internal |  | 1811-1 | High water bills Tenant saying the shower is leaking and the hall toilet is continuedly running |  | Completed |  |  | Costello, Frank | 2025-07-11 | [9 empty] | 2025-10-07 | 0 |  |  | No
P0 2726 Crestbrook Ct - 2726 Crestbrook Sugar Land, TX 77479 | Normal | Internal |  | 1864-1 | Fence facing the street need repair. It has patched the tenant did. HOA request |  | Completed No Need To Bill |  |  | Costello, Frank | 2025-10-21 | [9 empty] | 2026-04-07 | 0 |  |  | No
P0 2726 Crestbrook Ct - 2726 Crestbrook Sugar Land, TX 77479 | Normal | Internal |  | 1878-1 | Fence at left has deteriorated. Please rebuild fence per guidelines (same location, and height & width pickets)(HOA Request) |  | Completed No Need To Bill |  |  | Costello, Frank | 2025-11-25 | [9 empty] | 2026-04-07 | 0 |  |  | No
P0 2726 Crestbrook Ct - 2726 Crestbrook Sugar Land, TX 77479 | Normal | Internal |  | 1901-1 | Mildew on ceiling in upstairs bathroom |  | Completed |  |  | Costello, Frank | 2025-12-30 | [8 empty] | 2025-12-31 | 2025-12-31 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P110 Teal Run Meadows - 3942 Teal Run Meadows Dr Fresno, TX 77545
P110 Teal Run Meadows - 3942 Teal Run Meadows Dr Fresno, TX 77545 | Normal | Internal |  | 1731-1 | leak under both sides of the sink |  | Completed |  |  | Dyson, Malcolm Cheve | 2025-03-10 | [9 empty] | 2025-04-29 | 0 |  |  | No
P110 Teal Run Meadows - 3942 Teal Run Meadows Dr Fresno, TX 77545 | Normal | Internal |  | 1751-1 | Master bedroom toilet stop working. |  | Completed No Need To Bill |  |  | Dyson, Malcolm Cheve | 2025-04-07 | [9 empty] | 2025-07-02 | 0 |  |  | No
P110 Teal Run Meadows - 3942 Teal Run Meadows Dr Fresno, TX 77545 | Normal | Internal |  | 1766-1 | A pipe bursted in the front yard by the main water valve, The city came and cut the water. |  | Completed |  |  | Dyson, Malcolm Cheve | 2025-04-27 | [9 empty] | 2025-07-02 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P111 8114 Vista Del Sol - 8114 Vista Del Sol Dr Houston, TX 77083
P111 8114 Vista Del Sol - 8114 Vista Del Sol Dr Houston, TX 77083 | Normal | Internal |  | 1789-1 | Pest Control Lawn is overgrown 1. Clean trash in the front of the house& Detail cleaning 2. Front door need repair 3. Side door does not lock, need new lock and a security bar 4. Replace damaged blinds 5,.Paint: Property need walls repair , Paint walls , doors & frames & some closets. and one area ceiling need paint 6. Faucets in bathroom are moving & sink is clogged 7. Remove couch from living room 8. Trees need trimming away from the house/roof 9. Fence is leaning and a picket need repair |  | New |  |  | Wood, Derik | 2025-06-04 | [10 empty] | 0 |  |  | No
P111 8114 Vista Del Sol - 8114 Vista Del Sol Dr Houston, TX 77083 | Normal | Internal |  | 1832-1 | AC not cooling |  | Completed No Need To Bill |  |  |  | 2025-08-20 | [8 empty] | 2025-11-07 | 2025-11-07 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P112 Kirkwood - 11674 S Kirkwood Rd Stafford, TX 77477
P112 Kirkwood - 11674 S Kirkwood Rd Stafford, TX 77477 | Normal | Internal |  | 1720-1 | during the snow storm we noticed the hot side of master shower is not closing properly. A little drip but last night it can't be closed anymore. I took out the handle and used vice grip to close it. It is still dripping. |  | Completed |  |  | Bella Chavez, Anna | 2025-01-25 | [9 empty] | 2025-03-10 | 0 |  |  | No
P112 Kirkwood - 11674 S Kirkwood Rd Stafford, TX 77477 | Normal | Internal |  | 1725-1 | HOA demand Termite inspection |  | Completed |  |  | Bella Chavez, Anna | 2025-02-14 | [9 empty] | 2025-03-02 | 0 |  |  | No
P112 Kirkwood - 11674 S Kirkwood Rd Stafford, TX 77477 | Urgent | Internal |  | 1776-1 | The air conditioner is not blowing cold air. |  | Completed No Need To Bill |  |  | Bella Chavez, Anna | 2025-05-15 | [9 empty] | 2025-07-02 | 0 |  |  | No
P112 Kirkwood - 11674 S Kirkwood Rd Stafford, TX 77477 | Normal | Internal |  | 1871-1 | we don't have hot water. It's too cold to take shower. |  | Completed No Need To Bill |  |  | Bella Chavez, Anna | 2025-11-05 | [9 empty] | 2025-11-12 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P116 15826 Bazelbriar - 15826 Bazelbriar Ln Missouri City, TX 77489
P116 15826 Bazelbriar - 15826 Bazelbriar Ln Missouri City, TX 77489 | Normal | Internal |  | 1759-1 | Make Ready: Heavey trash all over the house Sophist/facia is damaged Garage door off track need repair property need detail cleaning pest control Garage ceiling is moldy Property needs some touch up. Yard has high grass We got a call from a neighbor saying past tenant came with a hammer and broke a pipe in the front yard |  | Completed No Need To Bill |  |  | Simmons, Ann | 2025-04-14 | [9 empty] | 2025-07-02 | 0 |  |  | No
P116 15826 Bazelbriar - 15826 Bazelbriar Ln Missouri City, TX 77489 | Normal | Internal |  | 1763-1 | 1. Tenant trespassed and used a hammer to create a leak in the front yard. 2. remove all heavy trash to the street 3. Garage ceiling remove moldy sheetrock and repair 4. Garage door damaged 5. Grass very high6. Need cleaning service 6. Remove camera in the second floor facing the living room 7. Front door frame damaged (Tenant tried breaking in) |  | Completed No Need To Bill |  |  | Simmons, Ann | 2025-04-16 | [9 empty] | 2025-10-20 | 0 |  |  | No
P116 15826 Bazelbriar - 15826 Bazelbriar Ln Missouri City, TX 77489 | Normal | Internal |  | 1771-1 | Fix defects in the walls, fix holes in the walls in the bedrooms and the garage, touch up painting needs to be done, remove nails in the walls, clean and paint baseboards. and caulk around tubs. Pictures attached. Oven smokes when turned on, Top left stove burner not working. |  | Completed No Need To Bill |  |  | Simmons, Ann | 2025-05-02 | [9 empty] | 2025-07-02 | 0 |  |  | No
P116 15826 Bazelbriar - 15826 Bazelbriar Ln Missouri City, TX 77489 | Normal | Internal |  | 1787-1 | 1. Broken window in the dining room 2. Garage smell like dead animal can you check in the garage Attic? 3. Ckulking bathroom 4. Can you paint the tub? 5. Under sink in the kitchen the back of that cabinet is moldy 6. Replace smoke alarm battery 7. Several broken blinds at the property 8. Check the stairs Put missing light bulbs 2 |  | New |  |  |  | 2025-06-04 | [10 empty] | 0 |  |  | No
P116 15826 Bazelbriar - 15826 Bazelbriar Ln Missouri City, TX 77489 | Normal | Internal |  | 1792-1 | Asking to replace carpet in one bedroom |  | Completed No Need To Bill |  |  | Hawthorne, Gerald | 2025-06-06 | [9 empty] | 2025-07-02 | 0 |  |  | No
P116 15826 Bazelbriar - 15826 Bazelbriar Ln Missouri City, TX 77489 | Normal | Resident |  | 1795-1 | Master bedroom door does not shut properly; master bedrooms bathroom sink is stopped up; the floor leading to the bathroom in the master bedroom needs a runner; patio blinds need replacing; there is no shower head in the master bathroom; gap in the backyard fence. |  | Completed No Need To Bill |  |  | Hawthorne, Gerald | 2025-06-09 | [9 empty] | 2025-07-02 | 0 |  |  | No | Drain/Pipe Clog
P116 15826 Bazelbriar - 15826 Bazelbriar Ln Missouri City, TX 77489 | Normal | Resident |  | 1801-1 | There is a leak in the shared bathroom that is coming our of the garage ceiling; there is mold also. |  | Completed No Need To Bill |  |  | Hawthorne, Gerald | 2025-06-21 | [9 empty] | 2026-01-01 | 0 |  |  | No | Ceiling Leak
P116 15826 Bazelbriar - 15826 Bazelbriar Ln Missouri City, TX 77489 | Normal | Internal |  | 1824-1 | 1. Installation of tiles leading to master bathroom. 2. A piece of wood hanging from the side of home that may fall. |  | Completed No Need To Bill |  |  | Hawthorne, Gerald | 2025-08-12 | [9 empty] | 2026-01-01 | 0 |  |  | No
P116 15826 Bazelbriar - 15826 Bazelbriar Ln Missouri City, TX 77489 | Normal | Internal |  | 1845-1 | Air Conditioning is not blowing cold. |  | Completed No Need To Bill |  |  | Hawthorne, Gerald | 2025-09-15 | [9 empty] | 2025-10-20 | 0 |  |  | No
P116 15826 Bazelbriar - 15826 Bazelbriar Ln Missouri City, TX 77489 | Normal | Internal |  | 1900-1 | 1. leaking pipe in the front of the house 2. oven over heats extremely and only too eyes work | yekutiel repair leak We ordered a new oven | Completed |  |  | Hawthorne, Gerald | 2025-12-29 | [9 empty] | 2026-01-08 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P120 5911 Camron Point - 5911 Camron Point Katy, TX 77449
P120 5911 Camron Point - 5911 Camron Point Katy, TX 77449 | Normal | Internal |  | 1709-1 | heater is not working |  | Completed |  |  | Hou, Chenda | 2025-01-06 | [9 empty] | 2025-01-06 | 0 |  |  | No
P120 5911 Camron Point - 5911 Camron Point Katy, TX 77449 | Normal | Internal |  | 1747-1 | The AC thermostat setting is not working correctly. The AUTO setting is not turning off/on. |  | Completed No Need To Bill |  |  | Hou, Chenda | 2025-04-01 | [9 empty] | 2025-07-02 | 0 |  |  | No | Air Conditioner
P120 5911 Camron Point - 5911 Camron Point Katy, TX 77449 | Normal | Internal |  | 1748-1 | HOA requested to fix the front lawn grass |  | Completed No Need To Bill |  |  | Hou, Chenda | 2025-04-01 | [9 empty] | 2025-07-02 | 0 |  |  | No
P120 5911 Camron Point - 5911 Camron Point Katy, TX 77449 | Normal | Internal |  | 1753-1 | AC thermostat is not working well |  | Completed No Need To Bill |  |  | Hou, Chenda | 2025-04-07 | [9 empty] | 2025-07-02 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P122 16307 Edgemont - 16307 Edgemont Houston, TX 77053
P122 16307 Edgemont - 16307 Edgemont Houston, TX 77053 | Normal | Internal |  | 1756-1 | Clogged kitchen sink |  | Completed |  |  | Bellville, Marika | 2025-04-10 | [9 empty] | 2025-07-02 | 0 |  |  | No
P122 16307 Edgemont - 16307 Edgemont Houston, TX 77053 | Normal | Internal |  | 1791-1 | AC outside stopped working |  | Completed No Need To Bill |  |  | Bellville, Marika | 2025-06-06 | [9 empty] | 2025-07-02 | 0 |  |  | No
P122 16307 Edgemont - 16307 Edgemont Houston, TX 77053 | Normal | Internal |  | 1895-1 | The bathroom mirror Failed off the wall and the garbage disposal is not working and I have a light switch in the kitchen not working as well |  | New |  |  | Bellville, Marika | 2025-12-19 | [10 empty] | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P129 4606 Wheatstone - 4606 Wheatstone Ct Richmond, TX 77469
P129 4606 Wheatstone - 4606 Wheatstone Ct Richmond, TX 77469 | Normal | Internal |  | 1788-1 | 1. Grass is overgrown 2. Need detail cleaning 3. Carpet dirty 4. Walls dirty & holes 5. Powerwash green siding 6. Pest control 7. Smoke alarm batteries, AC filter and door stops |  | New |  |  | Guel, Danielle N. | 2025-06-04 | [10 empty] | 0 |  |  | No
P129 4606 Wheatstone - 4606 Wheatstone Ct Richmond, TX 77469 | Normal | Internal |  | 1851-1 | Tree need trimming No electricity in the garage One smoke alarm need a new battery Powerwash Touch up One register dirt around it One faucet need cleaning with lemon One toilet is clogged |  | Completed No Need To Bill |  |  |  | 2025-10-06 | [9 empty] | 2026-01-07 | 0 |  |  | No
P129 4606 Wheatstone - 4606 Wheatstone Ct Richmond, TX 77469 | Normal | Internal |  | 1860-1 | Move in repair request. 1.The garage door opener does not work and there is no opener to go with it. Would really like this fixed if possible. 2.There are two containers of car oil left in the garage that are overflowing. Would really like them to be disposed of. 3.The master bathroom toilet does not flush well. Have to flush two or three times for it to work. 4.The quest bathroom sink faucet has no water coming out of it. 5.The garbage disposal does not work. 6.The stove top has very large chips out of it. 7.There is a hole in the living room flooring. |  | Completed No Need To Bill |  |  | Hewatt, Justin | 2025-10-16 | [9 empty] | 2026-01-07 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P131 5110 Shadowridge - 5110 Shadowridge Houston, TX 77053
P131 5110 Shadowridge - 5110 Shadowridge Houston, TX 77053 | Normal | Internal |  | 1713-1 | The guest bathroom is not flushing properly and outside the sewage drain is filled up with water |  | Completed |  |  | Hawkins, Lucinda | 2025-01-13 | [9 empty] | 2025-04-29 | 0 |  |  | No
P133 2311 Edgedale - 2311 Edgedale Missouri City, TX 77489
P133 2311 Edgedale - 2311 Edgedale Missouri City, TX 77489 | Normal | Internal |  | 1798-1 | The living room ceiling is leaking. |  | Completed No Need To Bill |  |  | Rogers, Torah | 2025-06-16 | [9 empty] | 2025-07-02 | 0 |  |  | No
P133 2311 Edgedale - 2311 Edgedale Missouri City, TX 77489 | Normal | Internal |  | 1802-1 | Fasia/sophist damage and paint front metal door Chimini on the roof was removed , check about replacement |  | Completed No Need To Bill |  |  | Rogers, Torah | 2025-06-22 | [9 empty] | 2026-03-02 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P134 722 Stephanie - 722 Stephanie Dr Missouri City, TX 77489
P134 722 Stephanie - 722 Stephanie Dr Missouri City, TX 77489 | Normal | Internal |  | 1740-1 | AC not working |  | Completed No Need To Bill |  |  | Barrios, Gina | 2025-03-25 | [9 empty] | 2025-07-02 | 0 |  |  | No
P134 722 Stephanie - 722 Stephanie Dr Missouri City, TX 77489 | Normal | Internal |  | 1790-1 | 1. Lawn is overgrown 2. Trees need trimming 3. there is a smell of a dead animal in the property 4. Remove heavy trash (Dryer and a pool table& cups) & trash on the curb 5. Property smell very bad like a dead animal. Need to find it and remove it 6. Replace all broken blinds 7. Detail cleaning 8. Repair under sinks in bathroom & kitchen under oven 9. Clean AC registers 10. Repair sophist /Facia |  | New |  |  | Barrios, Gina | 2025-06-04 | [10 empty] | 0 |  |  | No
P134 722 Stephanie - 722 Stephanie Dr Missouri City, TX 77489 | Normal | Internal |  | 1854-1 | 1. Damaged soffit 2. Lawn (front?) 3. No Automatic garage opener 4. Garage sheetrock ? Missing sheetrock 5. oil stain on garage floor 6. Trash next to garage and in the back of it 7. damaged driveway & sidewalk to back door ** 8. Back door screen is torn, and door screw came out 9. door sealing need repair 10. Painting: walls by front door, entry closet ,living room, baseboards (cracked, not attached to wall) ,Breakfast area walls /holes and behind back door ,as well as back door need paint,paint laundry room, hallway by the front door& baseboards,bedroom 1 tile near front door scratched 11. Plugs cover dirty with paint or missing 12. Fireplaces need paint & to be secure? 13. Kitchen pantry need paint and repair door - it does not close all the way 14. Kitchen sink faucet when water is turned on , the water come out of the hose not the faucet? 15. Stove need replacement (tenant replaced the dripping pans) 16. Counter top bad need paint or replacement 17. tile under cabinets need replacement 18. two drawers off track 19. Double doors to laundry area are off track and need paint 20. Shelves in laundry area need securing and paint 21. Laundry room need new flooring 22. Floor next to kitchen cabinets |  | Completed No Need To Bill |  |  | Davis, Kevin | 2025-10-08 | [9 empty] | 2026-03-26 | 0 |  |  | No
P134 722 Stephanie - 722 Stephanie Dr Missouri City, TX 77489 | Normal | Internal |  | 1862-1 | Kitchen sink faucet when water is turned on , the water comes out of the hose not the faucet. |  | Completed No Need To Bill |  |  | Davis, Kevin | 2025-10-17 | [9 empty] | 2025-10-29 | 0 |  |  | No
P134 722 Stephanie - 722 Stephanie Dr Missouri City, TX 77489 | Normal | Internal |  | 1891-1 | water leak in the wall her water bill is too high you can hear water running in the wall you need to send someone too fix it thanks |  | Completed |  |  | Davis, Kevin | 2025-12-04 | [9 empty] | 2026-01-08 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P138 3110 Indians Wells Ct - 3110 Indian Wells Ct Missouri City, TX 77459
P138 3110 Indians Wells Ct - 3110 Indian Wells Ct Missouri City, TX 77459 | Normal | Internal |  | 1741-1 | Outlet at the backyard not working |  | Completed |  |  | Escobar, Alejandro | 2025-03-26 | [9 empty] | 2025-07-02 | 0 |  |  | No | Electrical Outlet
P138 3110 Indians Wells Ct - 3110 Indian Wells Ct Missouri City, TX 77459 | Urgent | Internal |  | 1808-1 | 1. AC unit is failing to keep the house cooled properly or efficiently. 2. Safety risk and sealing failure in the front and back door. |  | Completed No Need To Bill |  |  | Escobar, Alejandro | 2025-07-08 | [9 empty] | 2025-10-07 | 0 |  |  | No
P138 3110 Indians Wells Ct - 3110 Indian Wells Ct Missouri City, TX 77459 | Normal | Internal |  | 1873-1 | 1. Lawn and bushes are overgrown $140 2. Heavy trash $200 left in the house and back yard 3. Detal cleaning $200 4. Carpet cleaning $ 150 5. Install door 6. replace Light bulbs 7. Leak in master toilet , kids toilet and tub upstairs. 8. Outlet need cover in the living room (Island) 9. Back door glass is damaged 10. Toilet paper holder is off the wall 11. Upstirs in a closet replace the tape to the door to the attic with something that will close that door 12. Upstairs tub is peeling 12. Kitchen cabinet under sink and check lower cabinet for damaged paint 13. One drawer is damaged. 14. Power wash 15. Front and back door insulation 16. Master bedroom new bulbs |  | Completed No Need To Bill |  |  | Escobar, Alejandro | 2025-11-13 | [9 empty] | 2026-01-07 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P139 7611 Trexler - 7611 Trexler St Sugar Land, TX 77479
P139 7611 Trexler - 7611 Trexler St Sugar Land, TX 77479 | Normal | Internal |  | 1745-1 | A leak in the downstairs guest bathroom. Need sheetrock repair Replace AC filters Remove to clean AC registers upstairs Can you fix the floor in the formal dining room? Patio ceiling getting mold Hang hats hanger pictures in Edan's room? |  | Completed No Need To Bill |  |  |  | 2025-03-30 | [9 empty] | 2025-07-02 | 0 |  |  | No
P139 7611 Trexler - 7611 Trexler St Sugar Land, TX 77479 | Normal | Internal |  | 1855-1 | window unit repair half bathroom ceiling patio ceiling repair/clean/disinfect fence gate repair AC filters smoke alarms hand things |  | New |  |  |  | 2025-10-09 | [10 empty] | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P140 Tara (6834) - 6834 Tara Dr Richmond, TX 77469
P140 Tara (6834) - 6834 Tara Dr Richmond, TX 77469 | Normal | Resident |  | 1769-1 | It looks like water has dripped through master bedroom ceiling into the walls &amp; floor by entry |  | Completed |  |  | Medina, Cristina | 2025-05-02 | [9 empty] | 2025-11-14 | 0 |  |  | No | Ceiling Leak
P140 Tara (6834) - 6834 Tara Dr Richmond, TX 77469 | Normal | Resident |  | 1777-1 | Several bees in the back yard utility box. |  | Completed No Need To Bill |  |  | Medina, Cristina | 2025-05-15 | [9 empty] | 2025-07-02 | 0 |  |  | No | Bees
P140 Tara (6834) - 6834 Tara Dr Richmond, TX 77469 | Normal | Resident |  | 1898-1 | Ceiling leaking in master bedroom again |  | Completed No Need To Bill |  |  | Medina, Cristina | 2025-12-27 | [9 empty] | 2026-01-13 | 0 |  |  | No | Ceiling Leak
[14 empty] | 0 | [7 empty] | 0
P141 2526 Valley Forest - 2526 Valley Forest Missouri City, TX 77489
P141 2526 Valley Forest - 2526 Valley Forest Missouri City, TX 77489 | Normal | Internal |  | 1806-1 | Leak in the same restroom that was previosly repaired. It appears to be coming the insulation. |  | Completed No Need To Bill |  |  | Gomez Jr., Miguel | 2025-07-02 | [9 empty] | 2025-10-07 | 0 |  |  | No
P142 Rosebud Hollow - 7011 Rosebud Hollow Richmond, TX 77469
P142 Rosebud Hollow - 7011 Rosebud Hollow Richmond, TX 77469 | Normal | Resident |  | 1813-1 | Toilet in the guest bathroom is not working correctly. Tank is not refilling when flushed. Also floors in kitchen are peeling away/back from themselves near back door and under the stove |  | Completed No Need To Bill |  |  | Boldt, Brianna | 2025-07-21 | [9 empty] | 2025-10-07 | 0 |  |  | No | Other Maintenance - Not Listed
P142 Rosebud Hollow - 7011 Rosebud Hollow Richmond, TX 77469 | Normal | Resident |  | 1859-1 | The threshold at back door is peeling back. Causing air, water and bugs to be able to get in. This needs to be taken care of as I had already made a request previously. |  | Completed No Need To Bill |  |  | Boldt, Brianna | 2025-10-15 | [9 empty] | 2026-01-01 | 0 |  |  | No | Hard Floors
P142 Rosebud Hollow - 7011 Rosebud Hollow Richmond, TX 77469 | Normal | Resident |  | 1867-1 | Floors at the back door are lifting. Needs to be fixed and sealed to prevent bugs and weather from getting into house. This is my third time bringing up this issue |  | Completed No Need To Bill |  |  | Boldt, Brianna | 2025-10-28 | [8 empty] | 2026-01-01 | 2026-01-01 | 0 |  |  | No | Hard Floors
[14 empty] | 0 | [7 empty] | 0
P143 6009 Arthington - 6009 Arthington St Houston, TX 77053
P143 6009 Arthington - 6009 Arthington St Houston, TX 77053 | Normal | Internal |  | 1723-1 | Roof leaking in sun room ,living room and laundry room. Ceiling in laundry room collapsed. Front of small house facia repair, tree that fell off in the back yard was cut and removed to the curb. |  | Completed |  |  | Castilow, Tarshekia | 2025-02-03 | [9 empty] | 2025-07-02 | 0 |  |  | No
P143 6009 Arthington - 6009 Arthington St Houston, TX 77053 | Normal | Internal |  | 1738-1 | A possum climb inside of the cage around the ac unit and blew something out. The ac is not working. |  | Completed No Need To Bill |  |  | Castilow, Tarshekia | 2025-03-22 | [8 empty] | 2025-03-23 | 2025-07-02 | 0 |  |  | No
P143 6009 Arthington - 6009 Arthington St Houston, TX 77053 | Urgent | Internal |  | 1780-1 | Air conditioning stopped working again |  | Completed No Need To Bill |  |  | Castilow, Tarshekia | 2025-05-23 | [9 empty] | 2025-07-02 | 0 |  |  | No
P143 6009 Arthington - 6009 Arthington St Houston, TX 77053 | Normal | Internal |  | 1781-1 | Plumbing issues in the main restroom and the outside drainage. |  | Completed No Need To Bill |  |  | Castilow, Tarshekia | 2025-05-23 | [9 empty] | 2025-07-02 | 0 |  |  | No
P143 6009 Arthington - 6009 Arthington St Houston, TX 77053 | Normal | Internal |  | 1812-1 | water heater is not working |  | Completed No Need To Bill |  |  | Castilow, Tarshekia | 2025-07-21 | [9 empty] | 2025-10-07 | 0 |  |  | No
P143 6009 Arthington - 6009 Arthington St Houston, TX 77053 | Normal | Internal |  | 1830-1 | Hot water heater out. |  | Completed No Need To Bill |  |  | Castilow, Tarshekia | 2025-08-18 | [9 empty] | 2026-01-01 | 0 |  |  | No | Water Heater
[14 empty] | 0 | [7 empty] | 0
P144 Ridge Turn Dr - 5207 Ridge Turn Dr Houston, TX 77053
P144 Ridge Turn Dr - 5207 Ridge Turn Dr Houston, TX 77053 | Normal | Internal |  | 1729-1 | 1. Mice in the kitchen- need pest control and close entrance point for rodents. As well as trim trees that touch or to close to the property. 2. Range wire was chewed by a rodent |  | Completed No Need To Bill |  |  | Galvan, Jose Luis JR | 2025-03-04 | [9 empty] | 2025-10-07 | 0 |  |  | No
P147 Wallingford - 2315 Wallingford Dr Missouri City, TX 77459
P147 Wallingford - 2315 Wallingford Dr Missouri City, TX 77459 | Normal | Internal |  | 1762-1 | 1. primary bedroom leak 2. Second bathroom upstairs does not flash3. Need engineer to tell us what to do about the humidity |  | Completed No Need To Bill |  |  |  | 2025-04-15 | [9 empty] | 2025-07-02 | 0 |  |  | No
P148 15930 Willmore - 15930 Willmore Ln Missouri City, TX 77489
P148 15930 Willmore - 15930 Willmore Ln Missouri City, TX 77489 | Normal | Internal |  | 1719-1 | A leak from a few pipes after the freeze. Garage and dining room,kitchen |  | Completed |  |  | Daniel, Arsenio | 2025-01-23 | [9 empty] | 2025-03-10 | 0 |  |  | No
P148 15930 Willmore - 15930 Willmore Ln Missouri City, TX 77489 | Normal | Internal |  | 1726-1 | Rodent in the attic Facia /sophist damage |  | Completed |  |  | Daniel, Arsenio | 2025-02-17 | [8 empty] | 2025-03-05 | 2025-03-10 | 0 |  |  | No
P148 15930 Willmore - 15930 Willmore Ln Missouri City, TX 77489 | Normal | Internal |  | 1758-1 | The water faucet for the bathtub in the master bathroom is not working properly. It doesn’t twist all the way so only some water comes out the top but not full blast. |  | Completed |  |  | Daniel, Arsenio | 2025-04-14 | [9 empty] | 2025-07-02 | 0 |  |  | No
P148 15930 Willmore - 15930 Willmore Ln Missouri City, TX 77489 | Normal | Internal |  | 1829-1 | toilet is not flushing properly |  | Completed No Need To Bill |  |  | Daniel, Arsenio | 2025-08-18 | [9 empty] | 2025-11-12 | 0 |  |  | No | Toilet Clog
P148 15930 Willmore - 15930 Willmore Ln Missouri City, TX 77489 | Normal | Internal |  | 1882-1 | My roof is leaking water. Also the faucet in the bathtub in the master bathroom is leaking water. |  | Completed No Need To Bill |  |  | Daniel, Arsenio | 2025-12-01 | [9 empty] | 2026-01-01 | 0 |  |  | No
P148 15930 Willmore - 15930 Willmore Ln Missouri City, TX 77489 | Normal | Internal |  | 1894-1 | The ceiling around the light in the kitchen has been somewhat exposed for a while now but it has recently gotten much worse. I believe a repair will be needed asap to avoid it falling completely, and possibly hurting someone when it does. |  | Completed |  |  | Daniel, Arsenio | 2025-12-17 | [8 empty] | 2026-01-01 | 2026-01-01 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P149 6930 Tara - 6930 Tara Dr Richmond, TX 77469
P149 6930 Tara - 6930 Tara Dr Richmond, TX 77469 | Normal | Internal |  | 1768-1 | 1. Repair driveway 2. Repair Gutter/downspout (front side) |  | New |  |  | Ellegan, Johnny | 2025-04-28 | [10 empty] | 0 |  |  | No
P149 6930 Tara - 6930 Tara Dr Richmond, TX 77469 | Normal | Internal |  | 1772-1 | Bedrooms 2, 3 and the bathroom keep losing power. Breaker does not trip. The rest of the house is functioning with power. |  | Completed No Need To Bill |  |  | Ellegan, Johnny | 2025-05-07 | [9 empty] | 2025-07-02 | 0 |  |  | No
P149 6930 Tara - 6930 Tara Dr Richmond, TX 77469 | Normal | Internal |  | 1805-1 | 1. replace repair driveway 2. Repair gutter/downspout (front side) 3. repair soffit on the right hand side |  | New |  |  | Ellegan, Johnny | 2025-07-01 | [10 empty] | 0 |  |  | No
P149 6930 Tara - 6930 Tara Dr Richmond, TX 77469 | Normal | Internal |  | 1896-1 | Sheetrock fell in the garage on the garage doors | Jobany repaired the garage door and the ceiling sheetrock | Completed |  |  | Ellegan, Johnny | 2025-12-22 | [8 empty] | 2026-01-01 | 2026-03-31 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P150 16118 Lazy Ridge - 16118 Lazy Ridge Houston, TX 77053
P150 16118 Lazy Ridge - 16118 Lazy Ridge Houston, TX 77053 | Normal | Internal |  | 1820-1 | The garbage disposal causes the sink to clog. The water then slowly drains into the DishWasher. |  | Completed |  |  | Davis, Jacklyn | 2025-08-05 | [9 empty] | 2025-10-07 | 0 |  |  | No
P158 Sunflower Creek (4411) - 4411 Sunflower Creek Ln Richmond, TX 77469
P158 Sunflower Creek (4411) - 4411 Sunflower Creek Ln Richmond, TX 77469 | Normal | Internal |  | 1739-1 | Strong winds have caused more damage to the roof |  | Completed |  |  | Williams, Jaamal | 2025-03-25 | [9 empty] | 2025-07-02 | 0 |  |  | No
P158 Sunflower Creek (4411) - 4411 Sunflower Creek Ln Richmond, TX 77469 | Normal | Internal |  | 1757-1 | oven is not working | oven is not working | Completed |  |  | Williams, Jaamal | 2025-04-10 | [9 empty] | 2025-07-02 | 0 |  |  | No
P158 Sunflower Creek (4411) - 4411 Sunflower Creek Ln Richmond, TX 77469 | Normal | Internal |  | 1852-1 | Clogged disposal/drain |  | Completed |  |  | Williams, Jaamal | 2025-10-07 | [9 empty] | 2025-11-10 | 0 |  |  | No | Garbage Disposal
[14 empty] | 0 | [7 empty] | 0
P159 Calistoga (16314) - 16314 Calistoga Ct Houston, TX 77053
P159 Calistoga (16314) - 16314 Calistoga Ct Houston, TX 77053 | Normal | Internal |  | 1730-1 | electrical shortage in master bedroom |  | Completed No Need To Bill |  |  | Sharp, Loretta | 2025-03-10 | [9 empty] | 2025-07-02 | 0 |  |  | No
P159 Calistoga (16314) - 16314 Calistoga Ct Houston, TX 77053 | Normal | Internal |  | 1737-1 | The shower in the master restroom is leaking. |  | Completed |  |  | Sharp, Loretta | 2025-03-21 | [9 empty] | 2025-05-15 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P160 7827 Iris Glen - 7827 Iris Glen Ln Richmond, TX 77407
P160 7827 Iris Glen - 7827 Iris Glen Ln Richmond, TX 77407 | Normal | Resident |  | 1708-1 | The Alarm in the house won’t shut off! We lost power for a few minutes and the house alarm armed itself and now won’t stop going off every time we open a door. We don’t have a code for the alarm panel. I called the alarm company and they can’t help because it’s someone else’s. Maybe the owners? |  | Canceled |  |  | Oake, Amy Jane | 2025-01-05 | [10 empty] | 0 |  |  | No | Alarm
P160 7827 Iris Glen - 7827 Iris Glen Ln Richmond, TX 77407 | Normal | Resident |  | 1714-1 | We came home from work and the furnace isn’t working. We turned on the heat and nothing is happening. We checked the fuse box and everything seems to be fine. |  | Completed No Need To Bill |  |  | Oake, Amy Jane | 2025-01-14 | [9 empty] | 2025-03-28 | 0 |  |  | No | Heater
P160 7827 Iris Glen - 7827 Iris Glen Ln Richmond, TX 77407 | Normal | Internal |  | 1715-1 | Furness is not heating |  | Canceled |  |  | Oake, Amy Jane | 2025-01-14 | [10 empty] | 0 |  |  | No
P160 7827 Iris Glen - 7827 Iris Glen Ln Richmond, TX 77407 | Normal | Internal |  | 1716-1 | HOA requested to sod the lawn. Tree need trimming Then new seeds |  | Completed No Need To Bill |  |  | Oake, Amy Jane | 2025-01-15 | [9 empty] | 2025-07-02 | 0 |  |  | No
P160 7827 Iris Glen - 7827 Iris Glen Ln Richmond, TX 77407 | Normal | Resident |  | 1749-1 | The A/C isn’t working. It’s 80 degrees in the house. It’s going to be hot tomorrow so we need someone to look at it soon. My mother in law is at the house watching the cats for the week. So someone will be home. |  | Completed No Need To Bill |  |  | Oake, Amy Jane | 2025-04-02 | [9 empty] | 2025-07-02 | 0 |  |  | No | Air Conditioner
P160 7827 Iris Glen - 7827 Iris Glen Ln Richmond, TX 77407 | Normal | Internal |  | 1794-1 | AC not cooing |  | Completed No Need To Bill |  |  | Oake, Amy Jane | 2025-06-09 | [9 empty] | 2025-07-02 | 0 |  |  | No
P160 7827 Iris Glen - 7827 Iris Glen Ln Richmond, TX 77407 | Normal | Resident |  | 1816-1 | There is a leak in the ceiling in the office room. We go in this room every day and it wasn’t there yesterday. |  | New |  |  | Oake, Amy Jane | 2025-07-29 | [10 empty] | 0 |  |  | No | Ceiling Leak
P160 7827 Iris Glen - 7827 Iris Glen Ln Richmond, TX 77407 | Normal | Resident |  | 1893-1 | Today at 11:00 am the toilet in the master bathroom broke. We turned off the water and got a shop vacuum it flooded the closet part of the bathroom and the hall to the living room. We got it mostly cleaned up. The toilet needs to be fixed. The water was coming from the bottom of the tank. |  | Completed |  |  | Oake, Amy Jane | 2025-12-07 | [9 empty] | 2026-01-20 | 0 |  |  | No | Flooding
[14 empty] | 0 | [7 empty] | 0
P165 McCullum (7047) - 7047 McCullum Rd Missouri City, TX 77489
P165 McCullum (7047) - 7047 McCullum Rd Missouri City, TX 77489 | Normal | Resident |  | 1828-1 | Air conditioner is struggling to cool house. Fan motor is running too long. |  | Completed No Need To Bill |  |  | Rooker, Frank | 2025-08-17 | [9 empty] | 2025-10-07 | 0 |  |  | No | Air Conditioner
P168 Ridgestone - 4910 Ridgestone St Houston, TX 77053
P168 Ridgestone - 4910 Ridgestone St Houston, TX 77053 | Normal | Internal |  | 1774-1 | The toilet stopped collecting water in the tank and not flushing. |  | Completed |  |  | Cheeks, Briana | 2025-05-12 | [9 empty] | 2025-07-02 | 0 |  |  | No
P169 7410 Frostview - 7410 Frostview Ln Missouri City, TX 77489
P169 7410 Frostview - 7410 Frostview Ln Missouri City, TX 77489 | Normal | Internal |  | 1838-1 | The upstairs AC is not working. It was inspected by a technician hired and paid for by the tenant, who confirmed that the capacitor is faulty. |  | Completed No Need To Bill |  |  | Arline, Tanya Michelle | 2025-08-29 | [9 empty] | 2025-10-07 | 0 |  |  | No | Air Conditioner
P169 7410 Frostview - 7410 Frostview Ln Missouri City, TX 77489 | Normal | Internal |  | 1850-1 | Leaking ceiling |  | New |  |  | Arline, Tanya Michelle | 2025-10-01 | [10 empty] | 0 |  |  | No | Ceiling Leak
[14 empty] | 0 | [7 empty] | 0
P171 1400 Bridle Path - 1400 Bridle Path Rosenberg, TX 77471
P171 1400 Bridle Path - 1400 Bridle Path Rosenberg, TX 77471 | Normal | Internal |  | 1717-1 | A leak in a bedroom |  | Completed |  |  | Uvalle, Josefina | 2025-01-15 | [9 empty] | 2025-03-10 | 0 |  |  | No
P171 1400 Bridle Path - 1400 Bridle Path Rosenberg, TX 77471 | Normal | Internal |  | 1842-1 | The electricity dishwasher not working |  | Completed |  |  | Uvalle, Josefina | 2025-09-02 | [9 empty] | 2025-10-07 | 0 |  |  | No | Dishwasher
P171 1400 Bridle Path - 1400 Bridle Path Rosenberg, TX 77471 | Normal | Internal |  | 1869-1 | Ac won't turn off |  | Completed No Need To Bill |  |  | Uvalle, Josefina | 2025-10-31 | [9 empty] | 2025-11-04 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P172 16203 Camino Del Sol - 16203 Camino Del Sol Dr Houston, TX 77083
P172 16203 Camino Del Sol - 16203 Camino Del Sol Dr Houston, TX 77083 | Normal | Internal |  | 1733-1 | AC not blowing cold air |  | Completed No Need To Bill |  |  | Mason, Todd | 2025-03-13 | [9 empty] | 2025-07-02 | 0 |  |  | No
P172 16203 Camino Del Sol - 16203 Camino Del Sol Dr Houston, TX 77083 | Normal | Internal |  | 1881-1 | 1. we are in need of emergency maintenance for the outlet in the garage for the dryer, when the dryer wouldnt start i went to unplug and noticed the burned outlet and it crumbled. 2.we sre still in need of the shade being fixed as it is on the edge of collapsing. 3.the fence is falling onto the neighbors property and need the post to be repaired before the fence falls. |  | New |  |  | Mason, Todd | 2025-12-01 | [10 empty] | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P177 6715 Waterlilly View - 6715 Waterlily View Ln Richmond, TX 77469
P177 6715 Waterlilly View - 6715 Waterlily View Ln Richmond, TX 77469 | Normal | Internal |  | 1786-1 | AC is out |  | Completed No Need To Bill |  |  | Reeves, Jamie | 2025-05-31 | [9 empty] | 2025-07-02 | 0 |  |  | No
P177 6715 Waterlilly View - 6715 Waterlily View Ln Richmond, TX 77469 | Normal | Internal |  | 1800-1 | The water heater has gone out. water is pouring out of the cut off valve. |  | Completed No Need To Bill |  |  | Reeves, Jamie | 2025-06-20 | [9 empty] | 2025-07-02 | 0 |  |  | No
P177 6715 Waterlilly View - 6715 Waterlily View Ln Richmond, TX 77469 | Normal | Internal |  | 1843-1 | AC not cooling again. Freon line is hot to touch. |  | Completed No Need To Bill |  |  | Reeves, Jamie | 2025-09-02 | [9 empty] | 2025-10-07 | 0 |  |  | No
P177 6715 Waterlilly View - 6715 Waterlily View Ln Richmond, TX 77469 | Normal | Internal |  | 1849-1 | Our AC is out of freon again. |  | Completed No Need To Bill |  |  | Reeves, Jamie | 2025-09-29 | [9 empty] | 2025-10-30 | 0 |  |  | No | Air Conditioner
P177 6715 Waterlilly View - 6715 Waterlily View Ln Richmond, TX 77469 | Normal | Internal |  | 1856-1 | AC needs freon again |  | Completed No Need To Bill |  |  | Reeves, Jamie | 2025-10-14 | [9 empty] | 2025-10-29 | 0 |  |  | No | Air Conditioner
[14 empty] | 0 | [7 empty] | 0
P178 1322 Magnolia Dale Dr - 1322 Magnolia Dale Dr Fresno, TX 77545
P178 1322 Magnolia Dale Dr - 1322 Magnolia Dale Dr Fresno, TX 77545 | Normal | Internal |  | 1785-1 | 1. Heavey trash on the curb, cabinet, damaged fridge and microwave & washer & dryer inside the house, and some heavy trash in the back yard on the side of the house .2. AC thermostat need buttery replacement 3. Carpet is dirty, stained on the stairs, upstairs bedroom one has damaged carpet and smell bad. (3rd bedroom on the right.) 3. Cleaning: oven ,kitchen cabinets, trims around the house, doors , entrance to house need washing (bird poop) 4. Mold in upstairs bathroom, in big room upstairs closet. And master bathroom. Ceiling in family room need paint, property need some touch ups. 5. Toilet in the master bathroom is making noise 6. Some damage outside for the sidings. |  | Completed No Need To Bill |  |  | Doo, Anthony | 2025-05-29 | [9 empty] | 2025-07-02 | 0 |  |  | No
P178 1322 Magnolia Dale Dr - 1322 Magnolia Dale Dr Fresno, TX 77545 | Normal | Internal |  | 1822-1 | 1. Smelly carpet in the family area upstairs 2. Under the kitchen sink a leak? Or water damage or both (Did you see aleak or just water damage?) 3. Clean AC registers 4. Clean mildew in bathrooms 5. master tub faucet need replacement? 6. Bedroom window has a hole in glass 7. Touch up paint banister 8. Baseboard touch up upstairs |  | Completed No Need To Bill |  |  |  | 2025-08-08 | [9 empty] | 2025-10-07 | 0 |  |  | No
P178 1322 Magnolia Dale Dr - 1322 Magnolia Dale Dr Fresno, TX 77545 | Normal | Internal |  | 1835-1 | Wasp outside around the house, including the entrance |  | Completed No Need To Bill |  |  | Williams, Aisha | 2025-08-25 | [8 empty] | 2025-08-27 | 2025-10-07 | 0 |  |  | No
P178 1322 Magnolia Dale Dr - 1322 Magnolia Dale Dr Fresno, TX 77545 | Normal | Resident |  | 1840-1 | Here are some Urgent Issues I have just Finished Moving in On Thursday * A/C Hasn’t been working Downstairs very Warm * Behind the Fridge that waterline doesn’t work and not able to hook up my refrigerator * The light above the front door is out and very door at night can’t see to open door * Master shower door won’t close at all the bottom of the door bed to be replaced and there are not stoppers in (Master) tub and sinks |  | Completed No Need To Bill |  |  | Williams, Aisha | 2025-08-30 | [9 empty] | 2026-01-07 | 0 |  |  | No | Shower Tile/Surface Damage
P178 1322 Magnolia Dale Dr - 1322 Magnolia Dale Dr Fresno, TX 77545 | Normal | Resident |  | 1885-1 | Just realized that the Oven doesn’t work on Thanksgiving (first time using it)I believe the heating element is out | a leak under the sink | New |  |  | Williams, Aisha | 2025-12-03 | [10 empty] | 0 |  |  | No | Oven
P178 1322 Magnolia Dale Dr - 1322 Magnolia Dale Dr Fresno, TX 77545 | Normal | Resident |  | 1886-1 | Coming home last night and realized This hanging |  | Completed No Need To Bill |  |  | Williams, Aisha | 2025-12-03 | [8 empty] | 2026-01-01 | 2026-01-01 | 0 |  |  | No | Wall Damage
P178 1322 Magnolia Dale Dr - 1322 Magnolia Dale Dr Fresno, TX 77545 | Normal | Resident |  | 1887-1 | Just seen another mouse or could be the same me idk but this need to be handle cause now my kids are terrified as well |  | Completed No Need To Bill |  |  | Williams, Aisha | 2025-12-03 | [9 empty] | 2026-01-13 | 0 |  |  | No | Rats/Mice
P178 1322 Magnolia Dale Dr - 1322 Magnolia Dale Dr Fresno, TX 77545 | Normal | Resident |  | 1888-1 | Shower door in Master can’t close at all and All tubs and sinks don’t have stoppers in them |  | New |  |  | Williams, Aisha | 2025-12-03 | [10 empty] | 0 |  |  | No | Shower Glass
P178 1322 Magnolia Dale Dr - 1322 Magnolia Dale Dr Fresno, TX 77545 | Normal | Resident |  | 1889-1 | Centerpoint energy came out due to my water not getting hot and they said they had to RED Flag one off the heater cause no water is going to it. Which is all up stairs |  | Completed No Need To Bill |  |  | Williams, Aisha | 2025-12-03 | [9 empty] | 2026-01-07 | 0 |  |  | No | Water Heater
[14 empty] | 0 | [7 empty] | 0
P179 1114 Auburn View - 1114 Auburn View Ln Fresno, TX 77545
P179 1114 Auburn View - 1114 Auburn View Ln Fresno, TX 77545 | Normal | Resident |  | 1817-1 | Water heated pilot light went out and the igniter will not light it back again. This is the second time during this 1 year lease the pilot light has gone out and the igniter isn't sparking to reignite the pilot light. |  | Completed No Need To Bill |  |  | Gosch, Jacob | 2025-07-29 | [9 empty] | 2025-10-07 | 0 |  |  | No | Water Heater
P179 1114 Auburn View - 1114 Auburn View Ln Fresno, TX 77545 | Normal | Resident |  | 1833-1 | This is the 3rd time this month of August the pilot light has gone out on the water heater. However, unlike the last 2 times, I have been unsuccessful in getting the pilot lit again. There must be something wrong with the water heater that is causing the pilot to go out so much. |  | Completed No Need To Bill |  |  | Gosch, Jacob | 2025-08-21 | [9 empty] | 2025-10-07 | 0 |  |  | No | Water Heater
P179 1114 Auburn View - 1114 Auburn View Ln Fresno, TX 77545 | Normal | Resident |  | 1834-1 | The A/C does not work. It tries to come on and the inside unit makes a loud rumbling noise and shakes and then turns off. |  | Completed No Need To Bill |  |  | Gosch, Jacob | 2025-08-23 | [9 empty] | 2025-10-07 | 0 |  |  | No | Air Conditioner
[14 empty] | 0 | [7 empty] | 0
P181 7219 Gettysburg Dr - 7219 Gettysburg Dr Richmond, TX 77469
P181 7219 Gettysburg Dr - 7219 Gettysburg Dr Richmond, TX 77469 | Normal | Internal |  | 1764-1 | The light switch on the fixture above the sink is what's not working. |  | Completed |  |  | Garcia, Albert | 2025-04-18 | [9 empty] | 2025-10-30 | 0 |  |  | No
P181 7219 Gettysburg Dr - 7219 Gettysburg Dr Richmond, TX 77469 | Normal | Internal |  | 1767-1 | Missing slat on right side of home- fencing need to be in good condition HOA violation |  | Completed No Need To Bill |  |  | Garcia, Albert | 2025-04-28 | [9 empty] | 2025-07-02 | 0 |  |  | No
P181 7219 Gettysburg Dr - 7219 Gettysburg Dr Richmond, TX 77469 | Normal | Internal |  | 1815-1 | Repair gutter downspout Mildew on gutter Paint garage door |  | New |  |  | Garcia, Albert | 2025-07-28 | [10 empty] | 0 |  |  | No
P181 7219 Gettysburg Dr - 7219 Gettysburg Dr Richmond, TX 77469 | Normal | Internal |  | 1868-1 | One outlet needs to be replaced in the bedroom by the bathroom in the hallway. |  | Completed |  |  | Garcia, Albert | 2025-10-29 | [9 empty] | 2025-11-04 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P187 2510 Windy Vale Trl - 2510 Windy Vale Trl Fresno, TX 77545
P187 2510 Windy Vale Trl - 2510 Windy Vale Trl Fresno, TX 77545 | Normal | Internal |  | 1755-1 | A leak outside in the meter area. Water gets to the street |  | Completed |  |  | Roberts, Rosalind | 2025-04-09 | [9 empty] | 2025-07-02 | 0 |  |  | No
P187 2510 Windy Vale Trl - 2510 Windy Vale Trl Fresno, TX 77545 | Normal | Internal |  | 1853-1 | 1. Remove trash from the garage (Clear fridge and other trash) 2. Replace toilet cover 3. Fix rod in the cabinet 4. There is a wall that has an area with mildew, see why and clean & disinfect /paint 5. Repair walls hole and paint 6. Replace AC vents and smoke alarm batteries 7. Fix missing pickets in the yard 8. Pest Control 9. Fix damage on doors 10. Replace light bulbs 11. Repaint bedrooms |  | Completed No Need To Bill |  |  | Roberts, Rosalind | 2025-10-08 | [9 empty] | 2026-01-07 | 0 |  |  | No
P187 2510 Windy Vale Trl - 2510 Windy Vale Trl Fresno, TX 77545 | Normal | Resident |  | 1874-1 | The cold side knob or handle in the master bathroom tub does not start any water. It trickles out a very little teeny tiny bit, but that’s as much as that’ll happen. |  | Completed No Need To Bill |  |  | Gurley, Elizabeth | 2025-11-16 | [9 empty] | 2026-01-14 | 0 |  |  | No | No Water
P187 2510 Windy Vale Trl - 2510 Windy Vale Trl Fresno, TX 77545 | Normal | Resident |  | 1875-1 | the fire alarm that the lady gave us to put up in a place of the one that was malfunctioning does not fit that housing that is there nor does it have a plug going into the fire alarm |  | Completed No Need To Bill |  |  | Gurley, Elizabeth | 2025-11-16 | [9 empty] | 2026-01-13 | 0 |  |  | No | Smoke Detector
P187 2510 Windy Vale Trl - 2510 Windy Vale Trl Fresno, TX 77545 | Normal | Resident |  | 1880-1 | I am following up on the garbage disposal issue, as it is still not working and is making a humming noise after attempting the suggested troubleshooting steps. Additionally, I need to report a new, possibly related, plumbing issue: - The dishwasher appears to be draining into the counter overflow drain by the sink. - This may be the source of water pooling under the sink. We initially cleaned up the water, but it reappeared, indicating a leak or overflow is occurring. I do not see an active leak but rather the aftermath of one. Please advise on the next steps for repair. |  | Completed No Need To Bill |  |  | Gurley, Elizabeth | 2025-11-28 | [9 empty] | 2026-01-01 | 0 |  |  | No | Garbage Disposal
P187 2510 Windy Vale Trl - 2510 Windy Vale Trl Fresno, TX 77545 | Normal | Resident |  | 1884-1 | The dishwasher is still emptying into the sink through the overflow beside the faucet. We made sure and ran the garbage disposal and it still did it through the overflow. |  | Completed No Need To Bill |  |  | Gurley, Elizabeth | 2025-12-02 | [9 empty] | 2026-01-01 | 0 |  |  | No | Dishwasher
P187 2510 Windy Vale Trl - 2510 Windy Vale Trl Fresno, TX 77545 | Normal | Resident |  | 1892-1 | The cold water knob in the master bathroom on the tub is not working again. It is just spinning again. |  | Completed No Need To Bill |  |  | Gurley, Elizabeth | 2025-12-04 | [9 empty] | 2026-01-14 | 0 |  |  | No | Bathtub Damage
P187 2510 Windy Vale Trl - 2510 Windy Vale Trl Fresno, TX 77545 | Normal | Resident |  | 1899-1 | Checking to see what is going on with the master bathroom tub faucet, haven’t heard anything or missed any responses? |  | Completed No Need To Bill |  |  | Gurley, Elizabeth | 2025-12-28 | [8 empty] | 2026-01-13 | 2026-01-14 | 0 |  |  | No | Bathtub Damage
[14 empty] | 0 | [7 empty] | 0
P29-1 1907 Avenue C #1 - 1907 Avenue C #1 Rosenberg, TX 77471
P29-1 1907 Avenue C #1 - 1907 Avenue C #1 Rosenberg, TX 77471 | Normal | Internal |  | 1754-1 | High water bills $178 |  | Completed No Need To Bill |  |  | Chery, Pelto | 2025-04-07 | [9 empty] | 2025-07-02 | 0 |  |  | No
P29-1 1907 Avenue C #1 - 1907 Avenue C #1 Rosenberg, TX 77471 | Normal | Internal |  | 1837-1 | Ceiling damage between the kitchen and the dining room |  | New |  |  | Chery, Pelto | 2025-08-29 | [10 empty] | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P29-2 1907 Avenue C #2 - 1907 Avenue C #2 Rosenberg, TX 77471
P29-2 1907 Avenue C #2 - 1907 Avenue C #2 Rosenberg, TX 77471 | Normal | Internal |  | 1676-2 |  | Garbage disposal leaking Missing a knob in the shower | Canceled |  |  | Harper, Cleotha | 2025-01-09 | [10 empty] | 0 |  |  | No
P29-2 1907 Avenue C #2 - 1907 Avenue C #2 Rosenberg, TX 77471 | Normal | Internal |  | 1728-1 | Window Repair |  | Completed |  |  | Harper, Cleotha | 2025-02-19 | [8 empty] | 2025-02-19 | 2025-02-19 | 0 |  |  | No | Window Blind/Coverings
P29-2 1907 Avenue C #2 - 1907 Avenue C #2 Rosenberg, TX 77471 | Normal | Internal |  | 1750-1 | 1. Pest control 2. Remove heavy trash 3. Repair plumbing issues :bathroom sink faucet, check leak under sink in the kitchen, tub faucet is leaking 4. damaged doors x 3 5. window sill in the living room is damaged need replacement 6. Need blinds for all windows 7. Damaged outlets, check all outlets in the apartment 8. Repair wood under sink 9. Ceiling sheetrock locks bend 10. Exhaust fan does not have a cover/ replace or cover it 11. New oven not working |  | Completed No Need To Bill |  |  | Harper, Cleotha | 2025-04-03 | [9 empty] | 2025-07-02 | 0 |  |  | No
P29-2 1907 Avenue C #2 - 1907 Avenue C #2 Rosenberg, TX 77471 | Normal | Internal |  | 1760-1 | Oven is not working, you click bottoms and its not doing anything. Also Cook top high. |  | Completed No Need To Bill |  |  | Deljuan, Conner Philip | 2025-04-14 | [9 empty] | 2025-07-02 | 0 |  |  | No | Oven
P29-2 1907 Avenue C #2 - 1907 Avenue C #2 Rosenberg, TX 77471 | Normal | Internal |  | 1870-1 | Bad leak under the toilet |  | Completed No Need To Bill |  |  | Gray, Randy | 2025-11-01 | [9 empty] | 2025-11-06 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P29-3 1907 Avenue C #3 - 1907 Avenue C #3 Rosenberg, TX 77471
P29-3 1907 Avenue C #3 - 1907 Avenue C #3 Rosenberg, TX 77471 | Normal | Internal |  | 1712-1 | In my parking the concrete driveway was broken and there is metal sticking out. |  | Completed |  |  | Salinas, Dora | 2025-01-09 | [9 empty] | 2025-07-02 | 0 |  |  | No | Parking Issues
P29-3 1907 Avenue C #3 - 1907 Avenue C #3 Rosenberg, TX 77471 | Normal | Internal |  | 1722-1 | 1. : ALL Potholes will need to be properly repaired. Rebar sticking out of concrete is a hazard. 2. Stairs need to be properly repaired. Just painting them will not suffice. you must replace any broken bracing, rusted out beams and missing/ rusted out rails or newels in which the minimum space between is to be no more than 4". |  | Completed |  |  | Salinas, Dora | 2025-01-27 | [9 empty] | 2025-04-29 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P41 16131 Samoa Way - 16131 Samoa Way Houston, TX 77053
P41 16131 Samoa Way - 16131 Samoa Way Houston, TX 77053 | Normal | Resident |  | 1809-1 | The water keeps flushing/running in the hallway bathroom. My husband had to shut the water off on the toilet and he believes the water manifold needs to be replaced. If possible, it would be great if this can be fixed before Saturday as we will have an out of town guest this weekend. My husband or I can be available to let the repairman in as soon as someone is available. Thank you. |  | Completed No Need To Bill |  |  | Smith, Lesley | 2025-07-09 | [9 empty] | 2025-11-14 | 0 |  |  | No | Toilet Is Running Continuously
P41 16131 Samoa Way - 16131 Samoa Way Houston, TX 77053 | Normal | Resident |  | 1810-1 | There is a leak under our kitchen sink. I have put a bucket under there and it needs to be emptied almost every few days or it will spill over. There is also, what I believe to be mold, under the sink. The water collecting in the bucket is very dirty. This is an older home and we have been here for years so I'm sure the pipes are very old. Please have this addressed ASAP as there seems to also be a musty/stale odor with the water. This is not the first time we had an issue with this sink. A repairman has worked on this sink before a few years back. My husband or I can be available as soon as a repairman is able to come out. Thank you. |  | Completed |  |  | Smith, Lesley | 2025-07-09 | [9 empty] | 2025-11-14 | 0 |  |  | No | Sink Leaking
[14 empty] | 0 | [7 empty] | 0
P42 18603 N Lyford - 18603 N Lyford Katy, TX 77449
P42 18603 N Lyford - 18603 N Lyford Katy, TX 77449 | Normal | Internal |  | 1877-1 | There is a water leak in the garage coming from the ceiling. I walked into the garage and noticed water spots on the floor and ceiling. When I went up into the attic to see where the leak may become from, I noticed the water heater dropped pan was filled with water and not draining. When looking around the water heater, I noticed where the vent exit the roof there's leaking. |  | Completed No Need To Bill |  |  | Salazar, Jacob Andrew | 2025-11-24 | [8 empty] | 2026-01-28 | 2026-02-04 | 0 |  |  | No
P48 Lazy Ln - 2015 Lazy Lane Missouri City, TX 77489
P48 Lazy Ln - 2015 Lazy Lane Missouri City, TX 77489 | Normal | Resident |  | 1711-1 | Ac heater not working |  | Completed No Need To Bill |  |  | Saravia, Maira | 2025-01-08 | [9 empty] | 2025-03-28 | 0 |  |  | No | Heater
P48 Lazy Ln - 2015 Lazy Lane Missouri City, TX 77489 | Normal | Internal |  | 1736-1 | A few outlets did not work, tenant saying the main outlet need to be replace. (Not all the outlets). |  | Completed No Need To Bill |  |  | Saravia, Maira | 2025-03-17 | [8 empty] | 2025-03-21 | 2025-07-02 | 0 |  |  | No | Electrical Outlet
P48 Lazy Ln - 2015 Lazy Lane Missouri City, TX 77489 | Normal | Internal |  | 1783-1 | 1. Need lawn care and weed work 2. Shingles on the ground 3. Heavey trash in the garage & back yard (Some of it a fence we lest) 4. back door has damage in its bottom 5. Kitchen faucet is taped , broken? 6. Gate to back yard is not closing 7. Washing machine and Drayer were left are they working? 8. Clean all AC registers |  | Completed No Need To Bill |  |  | Saravia, Maira | 2025-05-26 | [9 empty] | 2025-10-07 | 0 |  |  | No
P48 Lazy Ln - 2015 Lazy Lane Missouri City, TX 77489 | Normal | Internal |  | 1819-1 | AC blowing hot air |  | Completed No Need To Bill |  |  |  | 2025-08-03 | [9 empty] | 2025-10-07 | 0 |  |  | No
P48 Lazy Ln - 2015 Lazy Lane Missouri City, TX 77489 | Normal | Internal |  | 1863-1 | Garage door spring broke |  | Completed No Need To Bill |  |  | Deljuan, Conner Philip | 2025-10-21 | [9 empty] | 2025-10-29 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P53 21918 Pearl Lake - 21918 Pearl Lake Dr Katy, TX 77449
P53 21918 Pearl Lake - 21918 Pearl Lake Dr Katy, TX 77449 | Normal | Internal |  | 1710-1 | The sink backing up. Water all over. The dishwasher backs up too |  | Completed No Need To Bill |  |  | Williams, James | 2025-01-08 | [9 empty] | 2025-10-06 | 0 |  |  | No
P53 21918 Pearl Lake - 21918 Pearl Lake Dr Katy, TX 77449 | Normal | Internal |  | 1844-1 | 21918 Pearl Lake Dr, Katy, TX 77449 1 staircase, carpet, and upstairs carpet needs replacing 2 sliding door doesn’t lock 3 lightbulbs 4 cleaning and pest control needed 5 we need to make a copy of the key. We only have one key. 6 mildew in downstairs bathroom wall above window and ceiling very covered in mildew 7. Property need painting 8. Bedroom door second bedroom next to bathroom when you walk through the hallway closet doors need to be either put back in place or replaced because they fell out. 9. Light fixture missing in master bedroom only next to one closet. 10. Bedroom downstairs across from bathroom has damage on wall random wear and tear needs touchups or repainting. 11. House smells a little bit like cat urine if I had to give a gas. 12. Blinds need to be replaced. 13. Siding for part of house needs fixing. 14. Doorbell doesn’t work. |  | Completed |  |  | Williams, James | 2025-09-03 | [9 empty] | 2026-01-01 | 0 |  |  | No
P53 21918 Pearl Lake - 21918 Pearl Lake Dr Katy, TX 77449 | Normal | Internal |  | 1858-1 | Trim front tree |  | Completed No Need To Bill |  |  |  | 2025-10-14 | [9 empty] | 2025-10-29 | 0 |  |  | No
P53 21918 Pearl Lake - 21918 Pearl Lake Dr Katy, TX 77449 | Normal | Internal |  | 1876-1 | The AC was on at 69 but was incredibly hot, thermostat reading at 81 and it would not stop running even after trying to turn it off. Also, the switch for the ceiling fan in the living room is not functioning at all. |  | Completed No Need To Bill |  |  |  | 2025-11-24 | [9 empty] | 2026-01-01 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P57 2126 Winged Foot - 2126 Winged Foot Missouri City, TX 77459
P57 2126 Winged Foot - 2126 Winged Foot Missouri City, TX 77459 | Normal | Internal |  | 1770-1 | 1. Pest control -property has roaches 2. rekey all the house -try same lock including the garage 3. paint the house mostly walls and kitchen cabinets and other stained cabinets and the rails (stairs and in the 2nd floor) 4. Clean all AC registers 5. one broken glass in the door upstairs from the area next to the stairs to the patio 6. Replace AC filter and smoke alarm batteries as needed, and door stops if needed. 7. Replace toilet cover that is stained 8. 1st floor door frame from next to utility room is damaged (See why maybe we need a new trash hold?) 9. Bathrooms need caulking |  | Completed No Need To Bill |  |  | Chery, Joanise | 2025-05-02 | [9 empty] | 2025-07-02 | 0 |  |  | No
P57 2126 Winged Foot - 2126 Winged Foot Missouri City, TX 77459 | Normal | Internal |  | 1793-1 | - Cleaning the AC registers - Replacing the damaged blinds - Painting the walls - Addressing the missing tile in the kitchen Adding another coat of paint on the ceiling upstairs (I believe it was AC leak ) cleaning the gutters from leaves Kitchen under the sink? Bathroom upstairs the tile look's bad need grout /clucking |  | New |  |  |  | 2025-06-07 | [10 empty] | 0 |  |  | No
P57 2126 Winged Foot - 2126 Winged Foot Missouri City, TX 77459 | Normal | Internal |  | 1825-1 | 1. Wasp treatment 2. Ceiling fan upstairs need replacement 3. Regular garage door is not aligned 4. one fence area is missing a picket and need support (Leanning) 5. The cabinets / drawers in living room and kitchen both didn't open and seemed like they might have been painted shut. 6. Stove - Areas near the burners are rusted 7. light fixture outside loose - entrance 8. Vent Hood (vent on top of the stove switch between different modes but was not able to shut it off) 8. door to the attic does not seal properly/ string for attic door too short) 9. one of the boards in the rooms is warped not allowing for rods to be used) 10. Primary bedroom need a door stop and repair the hole in the wall 11. Front door dragging on the floor. 12. Outlet in upstairs restroom does not work. And slight water drip in upstairs shower |  | Completed No Need To Bill |  |  | Turcios, Abraham | 2025-08-12 | [9 empty] | 2025-10-20 | 0 |  |  | No
P57 2126 Winged Foot - 2126 Winged Foot Missouri City, TX 77459 | Normal | Resident |  | 1827-1 | No hot water in showers. (Calling center point because it might be a gas issue with water heater Outlet in upstairs restroom does not work. And slight water drip in upstairs shower. Front door scraping against tile floor while opening. Ac for house is barely cooling, set to 70 but house has not been cooler than 75 degrees |  | Completed No Need To Bill |  |  | Turcios, Abraham | 2025-08-15 | [9 empty] | 2025-10-07 | 0 |  |  | No | Water Heater
P57 2126 Winged Foot - 2126 Winged Foot Missouri City, TX 77459 | Normal | Resident |  | 1836-1 | Hooked up our washer and dryer and turned it on, put hose to the drain. water started leaking and water started backing up from the sinks in the kitchen |  | Completed No Need To Bill |  |  | Turcios, Abraham | 2025-08-26 | [9 empty] | 2025-10-07 | 0 |  |  | No | Drain/Pipe Clog
[14 empty] | 0 | [7 empty] | 0
P58 Beckley (7701) - 7701 Beckley St Houston, TX 77088
P58 Beckley (7701) - 7701 Beckley St Houston, TX 77088 | Normal | Internal |  | 1735-1 | Toilet is leaking |  | Completed No Need To Bill |  |  | Hogg, Joslyn | 2025-03-17 | [9 empty] | 2025-07-02 | 0 |  |  | No
P58 Beckley (7701) - 7701 Beckley St Houston, TX 77088 | Urgent | Internal |  | 1775-1 | The thermostat is on, but the A/C isn't coming on. |  | Completed No Need To Bill |  |  | Hogg, Joslyn | 2025-05-14 | [9 empty] | 2025-07-02 | 0 |  |  | No | Air Conditioner
P58 Beckley (7701) - 7701 Beckley St Houston, TX 77088 | Normal | Internal |  | 1826-1 | A visible leak in the wall |  | New |  |  | Hogg, Joslyn | 2025-08-14 | [10 empty] | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P58 Beckley (7705) - 7705 Beckley St Houston, TX 77088
P58 Beckley (7705) - 7705 Beckley St Houston, TX 77088 | Normal | Internal |  | 1814-1 | Ceiling damage |  | Completed No Need To Bill |  |  | Epps, Robert | 2025-07-25 | [9 empty] | 2025-10-07 | 0 |  |  | No | Ceiling Damage
P58 Beckley (7709) - 7709 Beckley St Houston, TX 77088
P58 Beckley (7709) - 7709 Beckley St Houston, TX 77088 | Normal | Internal |  | 1732-1 | the air conditioner is not blowing at all |  | Completed No Need To Bill |  |  | Kioutas, Theodosesis | 2025-03-13 | [9 empty] | 2025-07-02 | 0 |  |  | No | Air Conditioner
P58 Beckley (7709) - 7709 Beckley St Houston, TX 77088 | Urgent | Internal |  | 1782-1 | The same leak since we moved in is continuously leaking. |  | Completed No Need To Bill |  |  | Kioutas, Theodosesis | 2025-05-26 | [9 empty] | 2025-07-02 | 0 |  |  | No
P58 Beckley (7709) - 7709 Beckley St Houston, TX 77088 | Normal | Internal |  | 1847-1 | AC leaking in the attic |  | Completed No Need To Bill |  |  | Kioutas, Theodosesis | 2025-09-22 | [9 empty] | 2025-10-20 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P61 Hickory Glen - 2010 Hickory Glen Missouri City, TX 77489
P61 Hickory Glen - 2010 Hickory Glen Missouri City, TX 77489 | Normal | Internal |  | 1779-1 | HOA violation need to put new grass in the front of the house |  | Completed No Need To Bill |  |  | Manwaring, Shawn | 2025-05-22 | [9 empty] | 2025-07-02 | 0 |  |  | No
P62 3215 Becker Glen - 3215 Becker Glen St. Fresno, TX 77545
P62 3215 Becker Glen - 3215 Becker Glen St. Fresno, TX 77545 | Normal | Internal |  | 1839-1 | The AC is not cooling, and the temperature inside the house has reached 91 degrees. The tenant has already replaced the batteries, and while the unit powers on and makes sound, it is still not producing any cooling. |  | Completed No Need To Bill |  |  | Walker, Andrea | 2025-08-29 | [9 empty] | 2025-10-07 | 0 |  |  | No | Air Conditioner
P65 15802 Kenbrook - 15802 Kenbrook Missouri City, TX 77489
P65 15802 Kenbrook - 15802 Kenbrook Missouri City, TX 77489 | Normal | Internal |  | 1796-1 | Bath tub in main bathroom and kitchen sink needs replacement. |  | Completed No Need To Bill |  |  | Scarbrough, Jimmie Ray | 2025-06-12 | [9 empty] | 2025-11-07 | 0 |  |  | No
P65 15802 Kenbrook - 15802 Kenbrook Missouri City, TX 77489 | Normal | Internal |  | 1848-1 | 1. Heavey trash front & back 2. Gate to back yard fell off 3. AC make noise 4. Kitchen cabinets under sink and other cabinets the lower board need repair/paint 5. Both tubs need resurface 6. Paint: hall bathroom & its vanity, & shelves . Living room touch up, dining room need wall repair, kitchen need some paint repair, Master bedroom need one wall paint,master bathroom shelves, bedroom 2 need paint , bedroom 3 repair & paint, Kitchen counter/sink need repair Interior doors need paint One door need knobs door to back yard threshold need repair, closets doors missing in 2 bedrooms Blinds in living room do not open, master bedroom, bedroom 2 Broken window in master bedroom Clean AC registers Gate to back yard need repair Amok larm batteries, door stops, AC filter |  | Completed No Need To Bill |  |  | Scarbrough, Jimmie Ray | 2025-09-25 | [9 empty] | 2026-01-07 | 0 |  |  | No
P65 15802 Kenbrook - 15802 Kenbrook Missouri City, TX 77489 | Normal | Internal |  | 1857-1 | AC makes a loud noise and there are 2 AC filters areas one next to the other in the entrance , not sure what is going on there and can we close one of them with sheetrock or not. |  | Completed No Need To Bill |  |  | Scarbrough, Jimmie Ray | 2025-10-14 | [9 empty] | 2025-10-20 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P68 2414 Ashmont Dr - 2414 Ashmont Dr Missouri City, TX 77489
P68 2414 Ashmont Dr - 2414 Ashmont Dr Missouri City, TX 77489 | Urgent | Internal |  | 1807-1 | The ceiling has caved in. It seems related to the air conditioning as we noticed it wasn’t cooling properly. |  | Completed No Need To Bill |  |  | Kimble, Brion Elizabeth | 2025-07-02 | [9 empty] | 2025-10-07 | 0 |  |  | No
P68 2414 Ashmont Dr - 2414 Ashmont Dr Missouri City, TX 77489 | Normal | Internal |  | 1865-1 | The dishwasher cycles don't work and the racks are also out of order. |  | Completed |  |  | Kimble, Brion Elizabeth | 2025-10-22 | [9 empty] | 2025-11-04 | 0 |  |  | No | Dishwasher
P68 2414 Ashmont Dr - 2414 Ashmont Dr Missouri City, TX 77489 | Normal | Internal |  | 1866-1 | the main bathroom seems to flood when using the shower. |  | Completed |  |  | Kimble, Brion Elizabeth | 2025-10-23 | [9 empty] | 2025-10-31 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P70 2719 Spring Place - 2719 Spring Place Dr Missouri City, TX 77489
P70 2719 Spring Place - 2719 Spring Place Dr Missouri City, TX 77489 | Normal | Resident |  | 1765-1 | Title is cracked |  | New |  |  | Hobbs, Jalacia Lashanna | 2025-04-25 | [10 empty] | 0 |  |  | No | Roof Shingles/Tiles
P70 2719 Spring Place - 2719 Spring Place Dr Missouri City, TX 77489 | Normal | Resident |  | 1883-1 | There is leak in the ceiling in the guest bathroom above the cabinets |  | New |  |  | Hobbs, Jalacia Lashanna | 2025-12-01 | [10 empty] | 0 |  |  | No | Ceiling Leak
[14 empty] | 0 | [7 empty] | 0
P73 S. Meadow Bird Cir - 8310 S. Meadow Bird Cir Missouri City, TX 77489
P73 S. Meadow Bird Cir - 8310 S. Meadow Bird Cir Missouri City, TX 77489 | Normal | Internal |  | 1721-1 | 1. Ceiling in bathroom has mildew |  | Completed |  |  | Mouton, Mia | 2025-01-26 | [8 empty] | 2025-03-05 | 2025-03-10 | 0 |  |  | No
P73 S. Meadow Bird Cir - 8310 S. Meadow Bird Cir Missouri City, TX 77489 | Normal | Internal |  | 1784-1 | leak in the garage in the closet where the AC unit is |  | Completed No Need To Bill |  |  | Mouton, Mia | 2025-05-27 | [9 empty] | 2025-07-02 | 0 |  |  | No
P73 S. Meadow Bird Cir - 8310 S. Meadow Bird Cir Missouri City, TX 77489 | Normal | Internal |  | 1831-1 | AC leak. |  | Completed No Need To Bill |  |  | Mouton, Mia | 2025-08-19 | [9 empty] | 2026-01-01 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P74 16303 Calistoga Ct - 16303 Calistoga Court Houston, TX 77053
P74 16303 Calistoga Ct - 16303 Calistoga Court Houston, TX 77053 | Normal | Internal |  | 1746-1 | 1. Hood over stove fan isn't working, its really old and needs to be replaced. 2. Hall bathroom has a leaking tub faucet causing water |  | Completed |  |  | Payne, Shirley | 2025-03-31 | [9 empty] | 2025-07-02 | 0 |  |  | No
P74 16303 Calistoga Ct - 16303 Calistoga Court Houston, TX 77053 | Normal | Internal |  | 1761-1 | The toilet runs over when it's flushed. |  | Completed |  |  | Payne, Shirley | 2025-04-14 | [9 empty] | 2025-05-16 | 0 |  |  | No | Toilet Clog
P74 16303 Calistoga Ct - 16303 Calistoga Court Houston, TX 77053 | Normal | Internal |  | 1799-1 | Water continues to backup in the dishwasher whenever we use the disposal. |  | Completed |  |  | Payne, Shirley | 2025-06-17 | [9 empty] | 2026-01-21 | 0 |  |  | No
P74 16303 Calistoga Ct - 16303 Calistoga Court Houston, TX 77053 | Normal | Internal |  | 1846-1 | We have been having extremely expensive water bills for the last 7 or 8 months. I reached out to the water department in May because the lid on the outside of the water meter was cracked as if it was run over. I asked them to come out and check it out. They hadn't sent anyone until today. That's been about 4 months ago that I asked them. so when he did come out today he discovered that there is a leak. The water line from our side needs to be repaired. Also they will replace the box attached. |  | Completed |  |  | Payne, Shirley | 2025-09-16 | [9 empty] | 2026-01-21 | 0 |  |  | No
P74 16303 Calistoga Ct - 16303 Calistoga Court Houston, TX 77053 | Normal | Internal |  | 1872-1 | Water heater is not working |  | Completed No Need To Bill |  |  | Payne, Shirley | 2025-11-08 | [9 empty] | 2025-11-12 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P77 233 Shenandoah - 233 Shenandoah Drive Richmond, TX 77469
P77 233 Shenandoah - 233 Shenandoah Drive Richmond, TX 77469 | Normal | Internal |  | 1818-1 | The dishwasher is not working. The front panel lights up but the motor doesn't engage. |  | Completed No Need To Bill |  |  | Harrison, John | 2025-08-01 | [9 empty] | 2025-10-07 | 0 |  |  | No
P90 13823 Bay Gardens - 13823 Bay Gardens Dr Sugar Land, TX 77498
P90 13823 Bay Gardens - 13823 Bay Gardens Dr Sugar Land, TX 77498 | Normal | Internal |  | 1861-1 | Leak in the backyard |  | Completed |  |  | Cantu, Jazmin | 2025-10-16 | [9 empty] | 2025-11-06 | 0 |  |  | No
P95 3514 Cypress Landing - 3514 Cypress Landing Rosenberg, TX 77471
P95 3514 Cypress Landing - 3514 Cypress Landing Rosenberg, TX 77471 | Normal | Internal |  | 1803-1 | 1, Need some paint except one blue room , front door need paint 2. broken drawer in kitchen 3. Need cleaning 4. Need plug cover 5, ceiling light in the laundry room is not working, need bulbs or fixture replacement 6. Lock was replaced 7. consider carpet replacement with vinyl : Living room 322sqft Bathroom 1 35sqft /bathroom 2 102 sqft |  | Completed No Need To Bill |  |  | Cardona, Steven | 2025-06-26 | [9 empty] | 2025-10-07 | 0 |  |  | No
P95 3514 Cypress Landing - 3514 Cypress Landing Rosenberg, TX 77471 | Normal | Internal |  | 1821-1 | 1. Toilet handle does not flush 2. Garbage disposal is jammed 3. Dishwasher is not working (Can you just check ) |  | Completed No Need To Bill |  |  | Carbonell, Jonathan | 2025-08-06 | [9 empty] | 2025-10-07 | 0 |  |  | No
P95 3514 Cypress Landing - 3514 Cypress Landing Rosenberg, TX 77471 | Normal | Internal |  | 1902-1 | The water heater is leaking | Yekutiel will replace the waterheater | Completed No Need To Bill |  |  | Carbonell, Jonathan | 2025-12-31 | [9 empty] | 2026-01-13 | 0 |  |  | No | Water Heater
[14 empty] | 0 | [7 empty] | 0
Total | [13 empty] | 0 | [7 empty] | 0