## Sheet1
Work Order
Exported On: 06/11/2026 01:37 PM
Properties: All
Units: All
Tenants: All
Vendors: All
Assigned User: All
Created By: All
Priority: All
From Inspection: All
Current Estimate Approval Status: All
Current Work Order Status: New, Estimate Requested, Estimated, Assigned, Scheduled, Waiting, Work Done, Ready to Bill, Completed, Canceled, and Completed No Need To Bill
Work Order Type: Unit Turn, Resident, and Internal
Unit Turn Category: All
Status Date: Created On 01/01/2026 - 06/11/2026
Property | Priority | Work Order Type | Home Warranty Expiration | Work Order Number | Job Description | Instructions | Status | Vendor | Unit | Primary Resident | Created At | Estimate Req On | Estimated On | Estimate Amount | Estimate Approval Status | Estimate Approved On | Estimate Approval Last Requested On | Scheduled Start | Scheduled End | Work Done On | Completed On | Amount | Invoice | Unit Turn ID | Recurring | Work Order Issue
P-1 5110 Fall Forest - 5110 Fall Forest Sugar Land, TX 77479
P-1 5110 Fall Forest - 5110 Fall Forest Sugar Land, TX 77479 | Normal | Internal |  | 1951-1 | I called a few days ago when I noticed a bathroom leak. I have noticed today the leak is worse it’s coming from the toilet in the master bathroom the carpet is starting to get wet. I have clean up water a few times since last night. Here are pictures below. I have already turn the water off from the toilet it is not being used but it’s still leaking over the floor. |  | Completed No Need To Bill |  |  | Reese, Inguird | 2026-04-23 | [9 empty] | 2026-05-08 | 0 |  |  | No
P0 2726 Crestbrook Ct - 2726 Crestbrook Sugar Land, TX 77479
P0 2726 Crestbrook Ct - 2726 Crestbrook Sugar Land, TX 77479 | Normal | Internal |  | 1907-1 | garage door opener is not working and door need tune up |  | Completed |  |  | Costello, Frank | 2026-01-15 | [9 empty] | 2026-01-20 | 0 |  |  | No
P0 2726 Crestbrook Ct - 2726 Crestbrook Sugar Land, TX 77479 | Normal | Internal |  | 1939-1 | upstairs AC is not working; it does not blow any air. |  | Completed No Need To Bill |  |  | Costello, Frank | 2026-03-28 | [9 empty] | 2026-04-01 | 0 |  |  | No
P0 2726 Crestbrook Ct - 2726 Crestbrook Sugar Land, TX 77479 | Normal | Internal |  | 1955-1 | The rain gutter on the front left side of the house just fell off the house. |  | New |  |  | Costello, Frank | 2026-05-04 | [10 empty] | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P110 Teal Run Meadows - 3942 Teal Run Meadows Dr Fresno, TX 77545
P110 Teal Run Meadows - 3942 Teal Run Meadows Dr Fresno, TX 77545 | Normal | Internal |  | 1911-1 | 1. Leak from our shower. We just notice that it started to leak again. 2. The microwave went out last night. I tried the breaker box but it still won’t come on. |  | Completed No Need To Bill |  |  | Dyson, Malcolm Cheve | 2026-01-22 | [9 empty] | 2026-05-04 | 0 |  |  | No
P111 8114 Vista Del Sol - 8114 Vista Del Sol Dr Houston, TX 77083
P111 8114 Vista Del Sol - 8114 Vista Del Sol Dr Houston, TX 77083 | Normal | Internal |  | 1915-1 | Fence loosing pickets |  | Completed No Need To Bill |  |  | Trujillo, Ernesto | 2026-01-23 | [9 empty] | 2026-04-07 | 0 |  |  | No
P116 15826 Bazelbriar - 15826 Bazelbriar Ln Missouri City, TX 77489
P116 15826 Bazelbriar - 15826 Bazelbriar Ln Missouri City, TX 77489 | Normal | Resident |  | 1964-1 | Air-conditioning unit is not coming on. |  | Completed No Need To Bill |  |  | Hawthorne, Gerald | 2026-05-19 | [9 empty] | 2026-05-26 | 0 |  |  | No | Thermostat
P116 15826 Bazelbriar - 15826 Bazelbriar Ln Missouri City, TX 77489 | Normal | Internal |  | 1983-1 | Air-conditioning vent is leaking, the floor is soaked, ceiling is leaking in multiple places, and mold is forming |  | New |  |  | Hawthorne, Gerald | 2026-06-08 | [10 empty] | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P120 5911 Camron Point - 5911 Camron Point Katy, TX 77449
P120 5911 Camron Point - 5911 Camron Point Katy, TX 77449 | Normal | Internal |  | 1932-1 | 1. Heavey trash removal home & garage 2. Paint all walls around the house and one stain in the living room ceiling 3. Gate's post is not secure 4. hole in front door & door knob damage around the house 5. Damaged blinds around the house (back door, middle window in the living room,family room) 6. One outlet in the entrance needs a cover 7. stove need dripping pans 8.lights fixtures /ceiling fans need to put back the covers 9. Replace smoke alarm batteries, AC filter and damaged door stops if any. Caulking/ reseal bathrooms /vanities as needed |  | Completed No Need To Bill |  |  | Hou, Chenda | 2026-03-13 | [9 empty] | 2026-03-24 | 0 |  |  | No
P122 16307 Edgemont - 16307 Edgemont Houston, TX 77053
P122 16307 Edgemont - 16307 Edgemont Houston, TX 77053 | Normal | Internal |  | 1946-1 | 1. The attic ladder is coming down 2. We had to get a possum out my son’s room so some needs to check to see on top of the roof or around the house to see how it got in the attic. |  | New |  |  | Bellville, Marika | 2026-04-17 | [10 empty] | 0 |  |  | No
P122 16307 Edgemont - 16307 Edgemont Houston, TX 77053 | Normal | Internal |  | 1957-1 | Dishwasher is not working |  | New |  |  | Bellville, Marika | 2026-05-06 | [10 empty] | 0 |  |  | No
P122 16307 Edgemont - 16307 Edgemont Houston, TX 77053 | Normal | Internal |  | 1968-1 | Leak in the bathroom |  | New |  |  | Bellville, Marika | 2026-05-25 | [10 empty] | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P131 5110 Shadowridge - 5110 Shadowridge Houston, TX 77053
P131 5110 Shadowridge - 5110 Shadowridge Houston, TX 77053 | Normal | Internal |  | 1904-1 | One side of the fence has fallen due to the last strong wind we had recently. |  | New |  |  | Hawkins, Lucinda | 2026-01-07 | [10 empty] | 0 |  |  | No
P133 2311 Edgedale - 2311 Edgedale Missouri City, TX 77489
P133 2311 Edgedale - 2311 Edgedale Missouri City, TX 77489 | Normal | Internal |  | 1906-1 | The paint on the trim above the garage and on the left side of the home is peeling and needs to be repainted. Remove the dark residue from the driveway; and Remove the rust from the front screen door. |  | Completed No Need To Bill |  |  | Rogers, Torah | 2026-01-14 | [9 empty] | 2026-03-02 | 0 |  |  | No
P133 2311 Edgedale - 2311 Edgedale Missouri City, TX 77489 | Normal | Internal |  | 1936-1 | Microwave stopped working |  | Ready to Bill |  |  | Rogers, Torah | 2026-03-25 | [8 empty] | 2026-04-02 | 2026-04-07 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P134 722 Stephanie - 722 Stephanie Dr Missouri City, TX 77489
P134 722 Stephanie - 722 Stephanie Dr Missouri City, TX 77489 | Normal | Internal |  | 1905-1 | The toilet is leaking from the bottom water is running out into bathroom bedroom it need fixed. |  | Ready to Bill |  |  | Davis, Kevin | 2026-01-09 | [8 empty] | 2026-01-13 | 2025-12-04 | 0 |  |  | No
P134 722 Stephanie - 722 Stephanie Dr Missouri City, TX 77489 | Normal | Internal |  | 1921-1 | 722 Stephanie Dr Missouri City, TX 77489 1Paintings in living room or touchups 2Master bedroom door needs door knob 3 shelves need replacing in some closets. Some are missing and one or two are broken. 4 needs cleaning 5 repainting under sinks in joint bathroom for bedroom 6 smoke alarms need to be installed they were removed 7 siding needs to be fixed 8 figure out how to get rid of smell 9 handles for stove top need to be replaced 10 hatch up holes in garage garage door need repair again mildew under sink in master bathroom front door need paint kitchen shelves some need paint Stove control pannel need paint in high heat paint |  | New |  |  | Davis, Kevin | 2026-02-23 | [10 empty] | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P138 3110 Indians Wells Ct - 3110 Indian Wells Ct Missouri City, TX 77459
P138 3110 Indians Wells Ct - 3110 Indian Wells Ct Missouri City, TX 77459 | Normal | Internal |  | 1912-1 | 1. Detached garage contains items that would need to be removed 2. Front door has difficulty opening and locking (door drags when opening/closing; possibly foundation-related) 3. Confirmation needed on whether door locks will be changed or upgraded to digital locks 4. Smoke detector battery is chirping and needs replacement 5. Deep cleaning needed throughout the home (dead bugs present; overall cleaning required) 6. Windows need cleaning 7. Appliances appear dated; would it be acceptable for me to purchase my own microwave? 8. Laundry room is missing shelving/cabinet door — will this be repaired or replaced? 9. Backyard is nice but contains items that need to be removed; lawn care is also needed 10. Lighting throughout the home is dim; bulbs need replacing and some fixtures are not working 11. Master bedroom needs repainting 12. Carpet needs professional cleaning 13. Pest control treatment is needed 14. Upstairs bathroom requires repainting and deep cleaning 15. Baseboards throughout the home need repainting 16. Ceiling décor needs to be removed in both upstairs bedrooms 17. Blinds need replacing 18. Light switch plates need replacing 19. Noticeable odor of urine in the home 20. Vents need replacing 21. Lock on the back gate needs to be repaired |  | Completed No Need To Bill |  |  |  | 2026-01-22 | [9 empty] | 2026-03-02 | 0 |  |  | No
P138 3110 Indians Wells Ct - 3110 Indian Wells Ct Missouri City, TX 77459 | Normal | Internal |  | 1928-1 | 1. Hot water not working 2. the light in garage is not working anymore | One door knob upstairs is broken Garage need a key/new lock ceiling fan in the master bedroom shakes Shower head is leaking in the master bathroom | New |  |  | Conner, Helen | 2026-03-06 | [10 empty] | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P140 Tara (6834) - 6834 Tara Dr Richmond, TX 77469
P140 Tara (6834) - 6834 Tara Dr Richmond, TX 77469 | Normal | Resident |  | 1940-1 | Water debris coming up bath tub when water is ran in the house. Outflow pipe outside has water coming up. |  | Completed No Need To Bill |  |  | Medina, Cristina | 2026-04-05 | [9 empty] | 2026-05-08 | 0 |  |  | No | Sewer
P140 Tara (6834) - 6834 Tara Dr Richmond, TX 77469 | Normal | Resident |  | 1982-1 | AC is not blowing cold. Checked the unit in the backyard &amp; a pipe to the unit is frozen. |  | New |  |  | Medina, Cristina | 2026-06-06 | [10 empty] | 0 |  |  | No | Air Conditioner
[14 empty] | 0 | [7 empty] | 0
P142 Rosebud Hollow - 7011 Rosebud Hollow Richmond, TX 77469
P142 Rosebud Hollow - 7011 Rosebud Hollow Richmond, TX 77469 | Normal | Resident |  | 1942-1 | Good morning, The hot water heater is leaking. This was noticed because after I took a shower this morning, water leaked from the garage to the back bedroom closet and onto the floor in actual room. The hot water heater needs to be fixed or replaced, and the carpet in the closet and bedroom need to be replaced. This is the same water heater and carpet that has been there since I moved in 13 years ago, so I would prefer everything be replaced. |  | New |  |  | Boldt, Brianna | 2026-04-14 | [10 empty] | 0 |  |  | No | Water Heater
P143 6009 Arthington - 6009 Arthington St Houston, TX 77053
P143 6009 Arthington - 6009 Arthington St Houston, TX 77053 | Normal | Internal |  | 1923-1 | Guest bathroom and outside kitchen drain won’t drain. |  | Completed |  |  | Castilow, Tarshekia | 2026-02-26 | [9 empty] | 2026-03-26 | 0 |  |  | No
P143 6009 Arthington - 6009 Arthington St Houston, TX 77053 | Normal | Internal |  | 1938-1 | I don’t know if this is a plumbing issue or what but the ceiling in the back house in the living room just started leaking. Dripping water. And it didn’t rain. |  | New |  |  | Castilow, Tarshekia | 2026-03-26 | [10 empty] | 0 |  |  | No
P143 6009 Arthington - 6009 Arthington St Houston, TX 77053 | Normal | Internal |  | 1953-1 | Air conditioning not working. Think the fan or capacitor on outside unit is out. |  | Completed No Need To Bill |  |  | Castilow, Tarshekia | 2026-04-27 | [9 empty] | 2026-05-04 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P147 Wallingford - 2315 Wallingford Dr Missouri City, TX 77459
P147 Wallingford - 2315 Wallingford Dr Missouri City, TX 77459 | Normal | Internal |  | 1935-1 | Damaged roof need replacement |  | New |  |  |  | 2026-03-24 | [10 empty] | 0 |  |  | No
P148 15930 Willmore - 15930 Willmore Ln Missouri City, TX 77489
P148 15930 Willmore - 15930 Willmore Ln Missouri City, TX 77489 | Normal | Internal |  | 1903-1 | The faucet in the bathtub in the master bathroom is leaking water. |  | Completed No Need To Bill |  |  | Daniel, Arsenio | 2026-01-01 | [9 empty] | 2026-01-06 | 0 |  |  | No
P148 15930 Willmore - 15930 Willmore Ln Missouri City, TX 77489 | Normal | Internal |  | 1967-1 | a huge brunch fell on the new roof, damaged the garage roof and ceiling collapsed. |  | New |  |  | Daniel, Arsenio | 2026-05-23 | [10 empty] | 0 |  |  | No
P148 15930 Willmore - 15930 Willmore Ln Missouri City, TX 77489 | Normal | Internal |  | 1972-1 | garage door lock is not working |  | New |  |  | Daniel, Arsenio | 2026-05-26 | [10 empty] | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P149 6930 Tara - 6930 Tara Dr Richmond, TX 77469
P149 6930 Tara - 6930 Tara Dr Richmond, TX 77469 | Normal | Internal |  | 1944-1 | Back Fence Repair (Reimburse receipt) |  | Completed No Need To Bill |  |  | Ellegan, Johnny | 2026-04-14 | [9 empty] | 2026-04-14 | 0 |  |  | No
P150 16118 Lazy Ridge - 16118 Lazy Ridge Houston, TX 77053
P150 16118 Lazy Ridge - 16118 Lazy Ridge Houston, TX 77053 | Normal | Internal |  | 1908-1 | 1. Heavy trash beds and trash in the yard 2. pest control 3. treash holder or insulation under back door, garage 3. Replace AC filter and smoke alarm batteries 1 missing outlet cover in the 4. Hall Bathroom put a few missing tile (black narrow) 5. Fence in the back has a gap 6. Front sophist need repair |  | Completed No Need To Bill |  |  | Davis, Jacklyn | 2026-01-18 | [9 empty] | 2026-02-09 | 0 |  |  | No
P150 16118 Lazy Ridge - 16118 Lazy Ridge Houston, TX 77053 | Normal | Internal |  | 1927-1 | 1. The air conditioning in the home is not working 2. The house clearly was not properly cleaned or prepared. 3. There is a significant roach problem 4. Holes in the closet 5. Holes in the roof. 6. Cracks in the flooring. |  | New |  |  | Johnson, Terrell | 2026-03-06 | [10 empty] | 0 |  |  | No
P150 16118 Lazy Ridge - 16118 Lazy Ridge Houston, TX 77053 | Normal | Resident |  | 1930-1 | Hello, I wanted to report a few more maintenance issues in the house that need to be fixed as soon as possible. One side of my stove does not get hot, and the other burner is not working at all. The knob on my bathtub will not turn—it looks like it has been stripped or ripped off. Also, I need a whole new door frame. When I was trying to come into the house, a whole piece of the frame came off. Please have someone come out to repair these issues as soon as possible. Thank you. | 1. Holes in the closet- Which room? Is it in the laundry area? baseboards and next to kitchen cabinet need ckulking 2. hole in ceiling , garage? 3. One side of my stove does not get hot, and the other burner is not working at all.- Will check (When we inspected it seemed like all burners worked) 4. The knob on my bathtub will not turn—it looks like it has been stripped or ripped off.- Do you mean the tub faucet? Or the door knob? 5. When I was trying to come into the house, a whole piece of the door frame came off.- will check 6. Mildew next to back door (and damage floor) | New |  |  | Johnson, Terrell | 2026-03-11 | [10 empty] | 0 |  |  | No | Door
P150 16118 Lazy Ridge - 16118 Lazy Ridge Houston, TX 77053 | Normal | Resident |  | 1969-1 | Garbage disposal not working |  | New |  |  | Johnson, Terrell | 2026-05-25 | [10 empty] | 0 |  |  | No | Garbage Disposal
[14 empty] | 0 | [7 empty] | 0
P152 6927 Blue Ridge - 6927 Blue Ridge Dr Richmond, TX 77469
P152 6927 Blue Ridge - 6927 Blue Ridge Dr Richmond, TX 77469 | Normal | Internal |  | 1950-1 | I heard dripping, upon inspection, i noticed there is a leak in the ceiling |  | New |  |  | Lee, Ricky | 2026-04-21 | [10 empty] | 0 |  |  | No
P152 6927 Blue Ridge - 6927 Blue Ridge Dr Richmond, TX 77469 | Normal | Internal |  | 1977-1 | AC not cooling |  | Completed No Need To Bill |  |  | Lee, Ricky | 2026-05-31 | [9 empty] | 2026-06-04 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P158 Sunflower Creek (4411) - 4411 Sunflower Creek Ln Richmond, TX 77469
P158 Sunflower Creek (4411) - 4411 Sunflower Creek Ln Richmond, TX 77469 | Normal | Internal |  | 1925-1 | A fuse has blown in the circuit breaker. The switch for the dryer will not remain in the 'ON' position. Even with the dryer being unplugged from the outlet, the breaker switch will still flip to the off position when trying to turn it on. |  | Completed No Need To Bill |  |  | Williams, Jaamal | 2026-03-04 | [9 empty] | 2026-03-19 | 0 |  |  | No
P160 7827 Iris Glen - 7827 Iris Glen Ln Richmond, TX 77407
P160 7827 Iris Glen - 7827 Iris Glen Ln Richmond, TX 77407 | Normal | Internal |  | 1933-1 | 1. Roof need inspection 2. Garage & storage room has heavy trash 3. Countertop granite is damaged & need caulking 4. Kitchen cabinet under sink & cabinet side need repair /paint 5. damaged blinds need replacement: master bedroom 1 5. Missing 3 bulbs in the master 6. Finish sheetrock repair in the office room ceiling, living room and do touch up where needed (Master bedroom & bathroom, & bedroom 3 Bedroom 4 need door stop for the closet 7. Toilet upstairs is not working |  | New |  |  | Oake, Amy Jane | 2026-03-18 | [10 empty] | 0 |  |  | No
P160 7827 Iris Glen - 7827 Iris Glen Ln Richmond, TX 77407 | Normal | Internal |  | 1975-1 | Leaks in the house: the water bill show a leak. Leak under the sink, toilet upstairs is not functional, check all house for leaks |  | Work Done |  |  | Oake, Amy Jane | 2026-05-29 | [8 empty] | 2026-06-10 |  | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P168 Ridgestone - 4910 Ridgestone St Houston, TX 77053
P168 Ridgestone - 4910 Ridgestone St Houston, TX 77053 | Normal | Internal |  | 1924-1 | Tub and toilets are holding water and overflowing. |  | Completed No Need To Bill |  |  | Cheeks, Briana | 2026-02-26 | [9 empty] | 2026-03-31 | 0 |  |  | No
P168 Ridgestone - 4910 Ridgestone St Houston, TX 77053 | Normal | Internal |  | 1970-1 | The AC is not working in the home |  | Completed No Need To Bill |  |  | Cheeks, Briana | 2026-05-26 | [9 empty] | 2026-06-04 | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P169 7410 Frostview - 7410 Frostview Ln Missouri City, TX 77489
P169 7410 Frostview - 7410 Frostview Ln Missouri City, TX 77489 | Normal | Internal |  | 1958-1 | 1. Heavy trash-remove all tenant personal belonging &furniture house, garage, back yard & storage 2. Garage door damaged 3. Jacuzy one need repair the other one need to check if repairable 4. 1.Faucet in kitchen is broken 5.. drawer broken in kitchen 3.several holes throughout the house 6.lock dousn’t work 7.toilet doesn’t flush in first bedroom & the downstairs & in the master bathroom 8.two missing planks in the fence. 9.missing handles for door in house and a few doors has damage remove dead bird the back door Broken tile in the entrance and damaged floor upstairs. Also stairs carpet looks worn out Broken blinds need replacement One bathroom vanity paint is chipping Few ceiling /wall patches need paint, 1st floor one room need paint, other need some touch up replace smoke alarm batteries /check door stops (Repair behind doors) AC filter replace and clean the cover |  | New |  |  | Arline, Tanya Michelle | 2026-05-07 | [10 empty] | 0 |  |  | No
P169 7410 Frostview - 7410 Frostview Ln Missouri City, TX 77489 | Normal | Internal |  | 1976-1 | AC makes strange noise when put cool on |  | New |  |  | Arline, Tanya Michelle | 2026-05-29 | [10 empty] | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P172 16203 Camino Del Sol - 16203 Camino Del Sol Dr Houston, TX 77083
P172 16203 Camino Del Sol - 16203 Camino Del Sol Dr Houston, TX 77083 | Normal | Internal |  | 1948-1 | We are still experiencing the shade issue in the rear, its just getting worse. One of the panels fell today maiking a hole bigger than a beachball. It needs to be replaced unfortunately now that it is beyond repairing since it was not addressed in time, same as the fence. The fence in the rear also has broken more and fallen into both trees, the trees are the only thing holding it up. The neighbor in the rear is not replacing the fence or making any attemps to but putting out flowers bird baths/feeders and using the old wooden fence panels to make her flower/garden beds. |  | New |  |  | Mason, Todd | 2026-04-20 | [10 empty] | 0 |  |  | No
P177 6715 Waterlilly View - 6715 Waterlily View Ln Richmond, TX 77469
P177 6715 Waterlilly View - 6715 Waterlily View Ln Richmond, TX 77469 | Normal | Internal |  | 1959-1 | 1. Tree need trimming 2. Need power wash outside 3. Mildew in garage & kitchen fridge connection leaking need repair and treatment 4. Paint all walls & Front door 5. Few damaged doors need repair 6.kitchen cabinet off its hinge underneath sink left door needs to be repaired 7. Check door stops,AC filter replace, light bulbs and smoke alarms batteries 8. Oven need cleaning |  | Completed No Need To Bill |  |  | Reeves, Jamie | 2026-05-12 | [9 empty] | 2026-05-26 | 0 |  |  | No
P178 1322 Magnolia Dale Dr - 1322 Magnolia Dale Dr Fresno, TX 77545
P178 1322 Magnolia Dale Dr - 1322 Magnolia Dale Dr Fresno, TX 77545 | Normal | Internal |  | 1919-1 | My kitchen sink is leaking again and the guest toilet won't stop running. I was told the vowel needs to be replaced from the wall. |  | Completed |  |  | Williams, Aisha | 2026-02-13 | [9 empty] | 2026-02-27 | 0 |  |  | No
P178 1322 Magnolia Dale Dr - 1322 Magnolia Dale Dr Fresno, TX 77545 | Normal | Internal |  | 1920-1 | water leak from upstairs restroom to downstairs - dispatch immediately |  | Completed No Need To Bill |  |  | Williams, Aisha | 2026-02-15 | [9 empty] | 2026-02-27 | 0 |  |  | No
P178 1322 Magnolia Dale Dr - 1322 Magnolia Dale Dr Fresno, TX 77545 | Normal | Internal |  | 1966-1 | no hot water |  | Completed No Need To Bill |  |  | Williams, Aisha | 2026-05-21 | [9 empty] | 2026-06-04 | 0 |  |  | No
P178 1322 Magnolia Dale Dr - 1322 Magnolia Dale Dr Fresno, TX 77545 | Normal | Internal |  | 1978-1 | Hole in the back of the house in the bottom- hardy board need repair |  | New |  |  | Williams, Aisha | 2026-06-02 | [10 empty] | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P179 1114 Auburn View - 1114 Auburn View Ln Fresno, TX 77545
P179 1114 Auburn View - 1114 Auburn View Ln Fresno, TX 77545 | Normal | Internal |  | 1945-1 | Power wash exterior walls of the home. |  | Completed No Need To Bill |  |  | Gosch, Jacob | 2026-04-14 | [9 empty] | 2026-05-04 | 0 |  |  | No
P179 1114 Auburn View - 1114 Auburn View Ln Fresno, TX 77545 | Normal | Resident |  | 1962-1 | The A/C is not blowing cold air. |  | Completed No Need To Bill |  |  | Gosch, Jacob | 2026-05-15 | [9 empty] | 2026-05-20 | 0 |  |  | No | Air Conditioner
[14 empty] | 0 | [7 empty] | 0
P187 2510 Windy Vale Trl - 2510 Windy Vale Trl Fresno, TX 77545
P187 2510 Windy Vale Trl - 2510 Windy Vale Trl Fresno, TX 77545 | Normal | Resident |  | 1916-1 | The heater is not running |  | Completed No Need To Bill |  |  | Gurley, Elizabeth | 2026-01-27 | [9 empty] | 2026-02-03 | 0 |  |  | No | Heater
P187 2510 Windy Vale Trl - 2510 Windy Vale Trl Fresno, TX 77545 | Normal | Resident |  | 1934-1 | The sink is leaking at the junction where the pipe connects to the bottom of the sink. |  | Completed |  |  | Gurley, Elizabeth | 2026-03-19 | [8 empty] | 2026-03-23 | 2026-03-26 | 0 |  |  | No | Sink Leaking
P187 2510 Windy Vale Trl - 2510 Windy Vale Trl Fresno, TX 77545 | Normal | Resident |  | 1952-1 | Ac is not working not blowing cold are |  | Completed No Need To Bill |  |  | Gurley, Elizabeth | 2026-04-26 | [9 empty] | 2026-05-04 | 0 |  |  | No | Air Conditioner
[14 empty] | 0 | [7 empty] | 0
P29-1 1907 Avenue C #1 - 1907 Avenue C #1 Rosenberg, TX 77471
P29-1 1907 Avenue C #1 - 1907 Avenue C #1 Rosenberg, TX 77471 | Normal | Internal |  | 1971-1 | please have someone come down to check the electrical system in my apartment please. Because all the walls plates stop working suddenly. |  | New |  |  | Chery, Pelto | 2026-05-26 | [10 empty] | 0 |  |  | No
P29-3 1907 Avenue C #3 - 1907 Avenue C #3 Rosenberg, TX 77471
P29-3 1907 Avenue C #3 - 1907 Avenue C #3 Rosenberg, TX 77471 | Normal | Internal |  | 1918-1 | Put water back on Pest Control Carpet cleaning smoke alarm batteries clean AC filter close open outlet next to the AC Paint baseboard |  | Completed |  |  |  | 2026-02-10 | [9 empty] | 2026-02-27 | 0 |  |  | No
P29-3 1907 Avenue C #3 - 1907 Avenue C #3 Rosenberg, TX 77471 | Normal | Internal |  | 1931-1 | 1. Shower valve is not working . Water comes from both shower and tub faucet on the same time 2. Windows don’t stay open |  | Completed No Need To Bill |  |  | Rangel, Luis | 2026-03-12 | [9 empty] | 2026-04-14 | 0 |  |  | No
P29-3 1907 Avenue C #3 - 1907 Avenue C #3 Rosenberg, TX 77471 | Normal | Internal |  | 1954-1 | There's a tree branch wrapped in a power/phone Line. |  | New |  |  | Rangel, Luis | 2026-04-29 | [10 empty] | 0 |  |  | No
P29-3 1907 Avenue C #3 - 1907 Avenue C #3 Rosenberg, TX 77471 | Normal | Internal |  | 1973-1 | There's water leaking through the roof. |  | New |  |  | Rangel, Luis | 2026-05-28 | [10 empty] | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P29-4 1907 Avenue C #4 - 1907 Avenue C #4 Rosenberg, TX 77471
P29-4 1907 Avenue C #4 - 1907 Avenue C #4 Rosenberg, TX 77471 | Normal | Internal |  | 1956-1 | After flushing the toilet, water would still run, continuously trying to fill up the toilet |  | Completed No Need To Bill |  |  | Nguyen, Toan | 2026-05-05 | [9 empty] | 2026-05-08 | 0 |  |  | No
P42 18603 N Lyford - 18603 N Lyford Katy, TX 77449
P42 18603 N Lyford - 18603 N Lyford Katy, TX 77449 | Normal | Internal |  | 1947-1 | AC stopped working, no cold air is coming from it. |  | Completed No Need To Bill |  |  | Salazar, Jacob Andrew | 2026-04-20 | [9 empty] | 2026-04-24 | 0 |  |  | No
P42 18603 N Lyford - 18603 N Lyford Katy, TX 77449 | Normal | Internal |  | 1981-1 | The ceiling in the kitchen area is leaking water. |  | New |  |  | Salazar, Jacob Andrew | 2026-06-04 | [10 empty] | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P48 Lazy Ln - 2015 Lazy Lane Missouri City, TX 77489
P48 Lazy Ln - 2015 Lazy Lane Missouri City, TX 77489 | Normal | Internal |  | 1909-1 | 1. Heavy trash need removal 2. Baseboard on kitchen cabinet in one side. 3. AC registers need cleaning 4. Kitchen cabinets inside a few shelves need paint or replacement 5. Property need detail cleaning. Garage under the washer & dryer connection need repair Burn light bulbs Few gutters in the back are damaged & in entrance sophist need a little repair Garage ceiling need some repair Roof has missing shingles Living room there is a visible repair |  | Completed No Need To Bill |  |  | Deljuan, Conner Philip | 2026-01-18 | [9 empty] | 2026-04-09 | 0 |  |  | No
P48 Lazy Ln - 2015 Lazy Lane Missouri City, TX 77489 | Normal | Internal |  | 1937-1 | Roof shingles keep flying off. A few roofers were there saying to much damage to repair need replacement |  | Completed No Need To Bill |  |  |  | 2026-03-25 | [9 empty] | 2026-03-30 | 0 |  |  | No
P48 Lazy Ln - 2015 Lazy Lane Missouri City, TX 77489 | Normal | Internal |  | 1965-1 | 1. removal of one of the refrigerators that was left in the garage, along with the wooden cabinet/storage unit. 2. we were able to activate our gas service; however, the gas company informed us that the connection from the heater to the roof still needs to be properly secured if we have someone come take a look. |  | New |  |  | Bedon, Edwin | 2026-05-20 | [10 empty] | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
P53 21918 Pearl Lake - 21918 Pearl Lake Dr Katy, TX 77449
P53 21918 Pearl Lake - 21918 Pearl Lake Dr Katy, TX 77449 | Normal | Internal |  | 1914-1 | 1. The built-in dishwasher is currently non-operational.- Bought and installed a new one 2. Exposed Sewer / Drain Access (Backyard) 3. The gas line serving the living room fireplace does not have a visible or accessible shut-off valve.- tech showed 4. The lock on the sliding glass door is broken and non-functional, and the door is currently being held closed with a damaged metal rod rather than a proper locking mechanism.- fixed 5. The large ceiling fan is partially detached, hanging and does not operate. Full removal and proper capping of wiring. 6. The toilet is unstable and shifts when weight is applied, indicating improper installation or a compromised seal. Replacement of the toilet to ensure proper stability, prevent leaks or subfloor damage, and ensure tenant safety. 7. The bypass closet door is hanging off and cannot be restored through adjustment alone. The track and hardware appear heavily painted over and worn, preventing proper operation and is unsafe to continue to suspend. 8. 1st Floor Bathtub Surround & Sealant sanitation and water intrusion concern: Bathtub perimeter shows failed and deteriorated sealant, visible gaps, and material breakdown along the tub apron and adjoining floor and walls prevents proper sanitation and presents moisture intrusion concern. Repair and resealing are requested. 9. Interior door that leads to the garage has a large hole where it looks like a bolt lock was installed 10. Exterior siding, trim, fascia, and eaves showing excessive rot or exposure 11. Loose or improperly secured exterior wiring and cables that suspend around the perimeter of home and across bedroom and bathroom windows - Can these please be removed? 12. Large ant infestation around the home perimeter. Needs a exterminator ASAP 13. HVAC closet framing and wall conditions need inspection 14. Fence deterioration (cosmetic — tenant willing to assist after safety items are resolved) 15. Front doorbell does not operate 16. 1st Floor secondary bedroom's door - Safety Issue: Door will not close properly, and a large nail is protruding from the door frame, indicating an improper prior repair. The exposed nail presents an injury risk, and the door's inability to close affects privacy and normal function. 17. 2nd Floor Bathroom Vanity Light Fixture – Fixture has missing or mismatched glass shades, leaving at least one bulb exposed. The fixture and shade hardware show signs of age and deterioration. Exposed bulbs and unsecured shades present a minor safety concern and affect proper lighting function. Please replace or repair the vanity light fixture to ensure all bulbs are properly covered and the fixture is safely secured. 18. Vanity need repair |  | New |  |  | McDaniel, Victoria | 2026-01-23 | [10 empty] | 0 |  |  | No
P57 2126 Winged Foot - 2126 Winged Foot Missouri City, TX 77459
P57 2126 Winged Foot - 2126 Winged Foot Missouri City, TX 77459 | Normal | Resident |  | 1913-1 | Heater in house not really working. We have the heater set in the house to '70s but the house will get no colder then mid to high 50s |  | Completed No Need To Bill |  |  | Turcios, Abraham | 2026-01-22 | [9 empty] | 2026-03-24 | 0 |  |  | No | Heater
P57 2126 Winged Foot - 2126 Winged Foot Missouri City, TX 77459 | Normal | Resident |  | 1917-1 | Some one came to work on the heater and I believe they said it was fixed but it is still under 60 degrees in the house while heater is set to 80. |  | Completed No Need To Bill |  |  | Turcios, Abraham | 2026-01-28 | [9 empty] | 2026-03-24 | 0 |  |  | No | Heater
P57 2126 Winged Foot - 2126 Winged Foot Missouri City, TX 77459 | Normal | Internal |  | 1941-1 | Repair/replace broken/leaning or missing fence pickets at right. |  | New |  |  | Turcios, Abraham | 2026-04-07 | [10 empty] | 0 |  |  | No
P57 2126 Winged Foot - 2126 Winged Foot Missouri City, TX 77459 | Normal | Resident |  | 1943-1 | Water leak on ceiling above the downstairs restroom. Water damage and possible mold on ceiling. Only leaks when upstairs shower is being used. Will be leaving for work so will not be home until the 21st but can have someone let technician in if made aware prior. If any information please one technician could come before the 21st call or text 281-387-4884 so I can have someone available to let them in | Tenant updated that its from the washing machine not the waterheater | New |  |  | Turcios, Abraham | 2026-04-14 | [10 empty] | 0 |  |  | No | Ceiling Leak
P57 2126 Winged Foot - 2126 Winged Foot Missouri City, TX 77459 | Normal | Resident |  | 1979-1 | Bottom parts of back door has come loose so when door is open the metal frame will be pulled back exposing the inside of the house allowing bugs to crawl in. |  | New |  |  | Turcios, Abraham | 2026-06-03 | [10 empty] | 0 |  |  | No | Door
[14 empty] | 0 | [7 empty] | 0
P58 Beckley (7701) - 7701 Beckley St Houston, TX 77088
P58 Beckley (7701) - 7701 Beckley St Houston, TX 77088 | Normal | Internal |  | 1974-1 | These walls are doing the same thing again. Now there's water on the ceiling dripping down onto the stairs. |  | New |  |  | Hogg, Joslyn | 2026-05-29 | [10 empty] | 0 |  |  | No
P58 Beckley (7709) - 7709 Beckley St Houston, TX 77088
P58 Beckley (7709) - 7709 Beckley St Houston, TX 77088 | Normal | Internal |  | 1926-1 | The ac is not cooling. |  | Completed No Need To Bill |  |  | Kioutas, Theodosesis | 2026-03-05 | [8 empty] | 2026-03-12 | 2026-03-12 | 0 |  |  | No
P65 15802 Kenbrook - 15802 Kenbrook Missouri City, TX 77489
P65 15802 Kenbrook - 15802 Kenbrook Missouri City, TX 77489 | Normal | Internal |  | 1910-1 | 1. Trash outside 2. Closets doors 3. outside repair sophist and siding next to back door and on the side of the house can you fix the floor next to back door? |  | Completed No Need To Bill |  |  |  | 2026-01-18 | [9 empty] | 2026-03-19 | 0 |  |  | No
P65 15802 Kenbrook - 15802 Kenbrook Missouri City, TX 77489 | Normal | Internal |  | 1922-1 | 1.cracked window in one of the rooms 2. Closets doors 3. outside repair sophist and siding next to back door |  | Completed No Need To Bill |  |  |  | 2026-02-24 | [9 empty] | 2026-03-02 | 0 |  |  | No
P65 15802 Kenbrook - 15802 Kenbrook Missouri City, TX 77489 | Normal | Resident |  | 1961-1 | The kitchen sink is leaking water when you let the water out of the sink. The bathroom in the hallway shower no one has came to fix it |  | Completed No Need To Bill |  |  | Smith, Tanya | 2026-05-14 | [9 empty] | 2026-06-04 | 0 |  |  | No | Sink Leaking
P65 15802 Kenbrook - 15802 Kenbrook Missouri City, TX 77489 | Normal | Resident |  | 1963-1 | The stove will not come on |  | Completed |  |  | Smith, Tanya | 2026-05-19 | [8 empty] | 2026-05-19 | 2026-05-15 | 0 |  |  | No | Stove
[14 empty] | 0 | [7 empty] | 0
P70 2719 Spring Place - 2719 Spring Place Dr Missouri City, TX 77489
P70 2719 Spring Place - 2719 Spring Place Dr Missouri City, TX 77489 | Normal | Resident |  | 1980-1 | Toilet won’t flush |  | New |  |  | Hobbs, Jalacia Lashanna | 2026-06-03 | [10 empty] | 0 |  |  | No | Toilet Clog
P73 S. Meadow Bird Cir - 8310 S. Meadow Bird Cir Missouri City, TX 77489
P73 S. Meadow Bird Cir - 8310 S. Meadow Bird Cir Missouri City, TX 77489 | Normal | Internal |  | 1929-1 | The ceiling is leaking again in the same place as last time. |  | New |  |  | Mouton, Mia | 2026-03-10 | [10 empty] | 0 |  |  | No
P95 3514 Cypress Landing - 3514 Cypress Landing Rosenberg, TX 77471
P95 3514 Cypress Landing - 3514 Cypress Landing Rosenberg, TX 77471 | Normal | Internal |  | 1949-1 | The fire in the water heater went out. The water heater was just replaced , it just appears the fire inside went out. |  | Completed No Need To Bill |  |  | Carbonell, Jonathan | 2026-04-20 | [9 empty] | 2026-04-24 | 0 |  |  | No
P95 3514 Cypress Landing - 3514 Cypress Landing Rosenberg, TX 77471 | Normal | Internal |  | 1960-1 | Oven is not working |  | New |  |  | Carbonell, Jonathan | 2026-05-14 | [10 empty] | 0 |  |  | No
[14 empty] | 0 | [7 empty] | 0
Total | [13 empty] | 0 | [7 empty] | 0